## Bid Form
BRE Phase 1, 16 Inch Water Main |  |  | BID FORM
Date of Preparation: 8/06/25
ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | AMOUNT
1 | GENERAL ONSITE IMPROVEMENTS |  |  | SUBTOTAL: | 0
2 | Mobilization | LS | 1 |  | 0
3 | Site Preperation, Clearing & Grubbing (Easements) | AC | 6.9 |  | 0
4 | Excavation (C2.00) | CY | 4130 |  | 0
6 | Haul-off & Stockpile on adjacent unit (C2.00) | CY | 4130 |  | 0
7 | TPDES | LS | 1 |  | 0
8 | PUBLIC POTABLE WATER IMPROVEMENTS |  |  | SUBTOTAL: | 0
9 | 16"C-900 (Class 235) PVC (DR 18) Pipe (Normal Depth) | LF | 9902 |  | 0
10 | 16"C-900 (Class 235) PVC (DR 18) Pipe (Extra Depth) | LF | 2442 |  | 0
11 | 16" Gate Vavle, MJ w/ Valve Box | EA | 25 |  | 0
12 | 12" Gate Valve, MJ w/ Valve Box | EA | 5 |  | 0
13 | 8" Gate Valve, MJ w/ Valve Box | EA | 4 |  | 0
14 | 2" Blowoff (Temporary) | EA | 2 |  | 0
15 | Standard Fire Hydrant Assembly | EA | 13 |  | 0
16 | Ductile Iron Fittings | TON | 17.8 |  | 0
17 | Concrete Encasement | TON | 140 |  | 0
18 | Joint Restraints | LS | 1 |  | 0
19 | 2" Combination Air Release Valve Assembly, Complete | EA | 2 |  | 0
20 | Hydrostatic Testing | LS | 1 |  | 0
21 | Trench Excavation Protection | LF | 12344 |  | 0
22 | Chlorination | LF | 12344 |  | 0
23 | Water Tie-in to 16" Main | EA | 2 |  | 0
23 | 1" Irrigation Service (1" Meter) | EA | 3 |  | 0
25 | Plastic Meter Box with Lid | EA | 3 |  | 0
26 | GRAND TOTAL |  |  |  | 0
| Notes: |  |  | NO DESIGN COMPLETED
| 1. Topsoil shall be provided for all revegation areas meeting or exceeding Native soil Specifications as required to grow and maintain vegetation to a stand of 85% coverage. |  |  | PRELIMINARY DESIGN
FINAL DESIGN
| 2. Bids for walls must include type of wall proposed and are design build by the contractor, including any stability analysis required. |  |  | OTHER
3. Finished grades to be +/-0.10' per plans.