## Bid Form
BRE Phase 1, Unit 1 |  |  | BID FORM
Date of Preparation: 6/10/24
ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | AMOUNT
| GENERAL ONSITE IMPROVEMENTS |  |  | SUBTOTAL: | 0
| Mobilization | LS | 1 |  | 0
| Site Preperation, Clearing & Grubbing (Lots & Streets) | AC | 75.77 |  | 0
| Excavation (Lots) | CY | 50000 |  | 0
| Embankment (Lots) | CY | 64500 |  | 0
| Haul-off & Stockpile on adjacent unit (Lots, Streets, & Spoils) | CY | 12836 |  | 0
| Remove Header Curb and Barricade Post | LF | 44 |  | 0
| TPDES | LS | 1 |  | 0
| Tree Protection | LS | 1 |  | 0
| Revegataion (open space areas - includes drains - 85% Established) | SY | 68994 |  | 0
| Retaining Wall for Lots | FF | 1075 |  | 0
| Mailbox Pad (8'x8') | EA | 4 |  | 0
| RUSTLERS TRAIL & BRIGGS RANCH INTERSECTION DEMO |  |  | SUBTOTAL: | 0
| Demolish Existing Pavement | SF | 1295 |  | 0
| Demolish Existing Sidewalk and Wheel Chair Ramps | SY | 55 |  | 0
| Demolish Existing Striping | LS | 1 |  | 0
| Demolish Existing 7" Curb | SF | 215 |  | 0
| Concrete Curb (7") | LF | 225 |  | 0
| Concrete Sidewalks (Developer Responsibility) | SY | 85 |  | 0
| ONSITE STREET IMPROVEMENTS |  |  | SUBTOTAL: | 0
| Excavation (Streets) | CY | 37985 |  | 0
| Embankment (Streets) | CY | 17236 |  | 0
| Sidewalk Wall along Briggs Ranch Road | FF | 1085 |  | 0
| Lime Stabilized Subgrade (8", Application Rate: 48.5 lbs/sy) | SY | 56964 |  | 0
| Lime | TON | 1382 |  | 0
| Flexible Base (10.0" Compacted Depth)(Local A)* | SY | 31875 |  | 0
| Flexible Base (18.5" Compacted Depth)(Local B)* | SY | 8328 |  | 0
| Flexible Base (21.0" Compacted Depth)(Collector)* | SY | 16761 |  | 0
| Prime Coat | GAL | 14968 |  | 0
| Tack Coat | GAL | 7484 |  | 0
| Hot Mix Asphaltic Pavement, TYPE D (2.0" Comp. Depth)(Local A) | SY | 28875 |  | 0
| Hot Mix Asphaltic Pavement, TYPE D (1.5" Comp. Depth)(Local B) | SY | 7554 |  | 0
| Hot Mix Asphaltic Pavement, TYPE C (2.5" Comp. Depth)(Local B) | SY | 7554 |  | 0
| Hot Mix Asphaltic Pavement, TYPE D (1.5" Comp. Depth)(Collector) | SY | 15429 |  | 0
| Hot Mix Asphaltic Pavement, TYPE C (2.5" Comp. Depth)(Collector) | SY | 15429 |  | 0
| Concrete Curb (7") | LF | 25290 |  | 0
| Header Curb | LF | 98 |  | 0
| Barricade Post | EA | 20 |  | 0
| Concrete Sidewalks (Developer Responsibility) | SY | 6642 |  | 0
| Signage & Striping | LS | 1 |  | 0
| ONSITE STORM DRAINAGE IMPROVEMENTS |  |  | SUBTOTAL: | 0
| Drain A1 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 46 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 2 |  | 0
| Concrete Collars | CY | 0.196 |  | 0
| Drain A2 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 635 |  | 0
| Concrete Structure (Baffle Blocks) | CY | 0.9 |  | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 46 |  | 0
| Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 68 |  | 0
| Reinforced Concrete Pipe (Class III)(42" DIA) | LF | 102 |  | 0
| Inlet Extensions (10') | EA | 2 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 1 |  | 0
| Inlet (Complete)(Type II) 10' | EA | 2 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 23.33 |  | 0
| 12" Rock Rubble | SY | 11.67 |  | 0
| Concrete Collars | CY | 0.734 |  | 0
| Drain C3 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 795 |  | 0
| Concrete Structure (Baffle Blocks) | CY | 0.648 |  | 0
| Reinforced Concrete Pipe (Class III)(36" DIA) | LF | 174 |  | 0
| Inlet (Complete)(Type I) 20' | EA | 1 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 125.5 |  | 0
| 12" Rock Rubble | SY | 26.1111 |  | 0
| Concrete Collars | CY | 0.194 |  | 0
| Drain C4 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 950 |  | 0
| Embankment (FINAL)(ORD COMP)(TY A) | CY | 135 |  | 0
| Concrete Structure (Baffle Blocks) | CY | 0.34 |  | 0
| 5' Sidewalk Box | EA | 3 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 21.1111 |  | 0
| Sidewalk Pipe Railing | LF | 17 |  | 0
| 12" Rock Rubble | SY | 10.5556 |  | 0
| Drain C5 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | CY | 19 |  | 0
| Inlet (Complete)(Type I) 10' | CY | 1 |  | 0
| Concrete Collars | CY | 0.196 |  | 0
| Drain C6-1 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 9 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 1 |  | 0
| Concrete Collars | CY | 0.196 |  | 0
| Drain C6-2 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 32 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 1 |  | 0
| Concrete Collars | CY | 0.196 |  | 0
| Drain C9 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 320 |  | 0
| Reinforced Concrete Pipe (Class III)(48" DIA) | LF | 459 |  | 0
| Reinforced Concrete Pipe (Class III)(42" DIA) | LF | 11 |  | 0
| Reinforced Concrete Pipe (Class III)(36" DIA) | LF | 782 |  | 0
| Inlet (Complete)(Type II) 10' | EA | 1 |  | 0
| 4-Way Inlet (Complete) 6'x6'x6' | EA | 1 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 134.3333 |  | 0
| Junction Box (Complete) 6'x6'x6' | EA | 1 |  | 0
| Junction Box (Complete) 5'x5'x5' | EA | 2 |  | 0
| Concrete Collars | CY | 1.99 |  | 0
| Drain D2 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 30 |  | 0
| Embankment (FINAL)(ORD COMP)(TY A) | CY | 20 |  | 0
| Concrete Structure (Baffle Blocks) | CY | 0.898 |  | 0
| Reinforced Concrete Pipe (Class III)(36" DIA) | LF | 66 |  | 0
| Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 46 |  | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 168 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 4 |  | 0
| Inlet Extensions (10') | EA | 2 |  | 0
| Junction Box (Complete) 4'x4'x4' | EA | 1 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 304 |  | 0
| 12" Rock Rubble | SY | 95 |  | 0
| Concrete Collars | CY | 1.07 |  | 0
| Drain F6 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY) | CY | 18 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 76.5556 |  | 0
| 5' Sidewalk Box | EA | 5 |  | 0
| Sidewalk Pipe Railing | LF | 27.5 |  | 0
| Drain F7 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY < 5,000 CY) | CY | 4150 |  | 0
| Embankment (FINAL)(ORD COMP)(TY A) | CY | 126 |  | 0
| Concrete Structure (Baffle Blocks) | CY | 1.574 |  | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 66 |  | 0
| Reinforced Concrete Pipe (Class III)(48" DIA) | LF | 74 |  | 0
| Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 264 |  | 0
| Inlet Extensions (10') | EA | 1 |  | 0
| Inlet (Complete)(Type I) 15' | EA | 1 |  | 0
| Inlet (Complete)(Type I) 25' | EA | 1 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 2431.6456 |  | 0
| Junction Box (Complete) 5'x5'x5' | EA | 2 |  | 0
| Junction Box (Complete) 7'x7'x7' | EA | 1 |  | 0
| 12" Rock Rubble | SY | 42.2222 |  | 0
| Concrete Collars | CY | 1.281 |  | 0
| Drain F8 |  |  | SUBTOTAL: | 0
| Channel Excavation (150 < CY) | CY | 5 |  | 0
| Embankment (FINAL)(ORD COMP)(TY A) | CY | 35 |  | 0
| 5' Sidewalk Box | EA | 1 |  | 0
| Concrete Rip-rap (6" Thick) | SY | 4 |  | 0
| Sidewalk Pipe Railing | LF | 5 |  | 0
| Drain F9 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 20 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 1 |  | 0
| Concrete Collars | CY | 0.198 |  | 0
| Drain F10 |  |  | SUBTOTAL: | 0
| Reinforced Concrete Pipe (Class III)(36" DIA) | LF | 6 |  | 0
| Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 32 |  | 0
| Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 147 |  | 0
| Reinforced Concrete Pipe (Class III)(42" DIA) | LF | 90 |  | 0
| Junction Box (Complete) 6'x6'x6' | EA | 1 |  | 0
| Inlet (Complete)(Type II) 10' | EA | 1 |  | 0
| Inlet (Complete)(Type I) 10' | EA | 1 |  | 0
| Inlet Extensions (10') | EA | 2 |  | 0
| PUBLIC POTABLE WATER IMPROVEMENTS |  |  | SUBTOTAL: | 0
| 2" HDPE Class 200 (DR9) Pipe | LF | 946 |  | 0
| 8" C-900 Class 235 PVC (DR18) Pipe | LF | 8491 |  | 0
| 12" C-900 Class 235 PVC (DR18) Pipe | LF | 867 |  | 0
| 3/4" Single Service, Short w/ 5/8" Meter | EA | 144 |  | 0
| 3/4" Single Service, Long w/ 5/8" Meter | EA | 84 |  | 0
| 1" Irrigation w/ 1" Meter | EA | 2 |  | 0
| 1" Service w/ Standard Box (Amenity Center) | EA | 1 |  | 0
| Standard Fire Hydrant Assembly | EA | 13 |  | 0
| 8" Gate Valve, MJ w/ Valve Box | EA | 26 |  | 0
| 12" Gate Valve, MJ w/ Valve Box | EA | 3 |  | 0
| 2" Blowoff (Temporary) | EA | 3 |  | 0
| 2" Blowoff (Permanent) | EA | 3 |  | 0
| Ductile Iron Fittings | TON | 8.2 |  | 0
| Joint Restraints | LS | 1 |  | 0
| Hydrostatic Testing | LS | 1 |  | 0
| Trench Excavation Protection | LF | 10304 |  | 0
| Chlorination | LF | 10304 |  | 0
| Meter Box | EA | 231 |  | 0
| PUBLIC SANITARY SEWER IMPROVEMENTS |  |  | SUBTOTAL: | 0
| 8" Sanitary Sewer Pipe (SDR-26) (6-10 Feet) | LF | 5852 |  | 0
| 8" Sanitary Sewer Pipe (SDR-26) (10-14 Feet) | LF | 3648 |  | 0
| 8" Sanitary Sewer Pipe (SDR-26) (14-16 Feet) | LF | 488 |  | 0
| 8" Sanitary Sewer Pipe (160 PSI) (SDR-26) (6-10 Feet) | LF | 200 |  | 0
| 8" Sanitary Sewer Pipe (160 PSI) (SDR-26) (10-14 Feet) | LF | 100 |  | 0
| 8" Sanitary Sewer Pipe (160 PSI) (SDR-26) (14-16 Feet) | LF | 20 |  | 0
| Vertical Stacks (SDR-26) | VF | 131.5 |  | 0
| Standard Manhole | EA | 42 |  | 0
| Dog House Manhole | EA | 1 |  | 0
| Drop Manhole | EA | 1 |  | 0
| Manhole Ring Encasement | EA | 44 |  | 0
| Manhole Extra Depth | VF | 179.5 |  | 0
| 8" x 6" Wye | EA | 211 |  | 0
| 6" Sanitary Sewer Lateral (SDR-26) | LF | 8086 |  | 0
| Adjust Existing Manhole | EA | 2 |  | 0
| Tie into Existing Manhole | EA | 2 |  | 0
| Trench Excavation Protection | LF | 18374 |  | 0
| TV Video Sewer Line | LF | 10288 |  | 0
| OFFSITE STREET IMPROVEMENTS - SH 211 TRAFFIC SIGNAL |  |  | SUBTOTAL: | 0
| PREPARING ROW | AC | 1 |  | 0
| DRILL SHAFT (TRF SIG POLE) (30 IN) | LF | 11 |  | 0
| DRILL SHAFT (TRF SIG POLE) (36 IN) | LF | 26 |  | 0
| MOBILIZATION | LS | 1 |  | 0
| BARRICADES, SIGNS AND TRAFFIC HANDLING | MO | 2 |  | 0
| CURB RAMPS (TY 1) | SY | 15 |  | 0
| CURB RAMPS (TY 2) | SY | 11 |  | 0
| CONDT (PVC) (SCH 80) (2") | LF | 600 |  | 0
| CONDT (PVC) (SCH 80) (2") (BORE) | LF | 260 |  | 0
| CONDT (PVC) (SCH 80) (3") | LF | 345 |  | 0
| CONDT (PVC) (SCH 80) (3") (BORE) | LF | 520 |  | 0
| ELEC CONDR (NO.6) BARE | LF | 1950 |  | 0
| ELEC CONDR (NO.6) INSULATED | LF | 340 |  | 0
| TRAY CABLE (4 CONDR) (12 AWG) | LF | 1200 |  | 0
| GROUND BOX TY D (162922)W/APRON | EA | 5 |  | 0
| ELC SRV TY D 120/240 070(NS)AL(E)TP(O) | EA | 1 |  | 0
| IN SM RD SN SUP&AM TYS80(1)SA(T) | EA | 1 |  | 0
| REFL PAV MRK TY I (W)4"(SLD)(100MIL) | LF | 50 |  | 0
| REFL PAV MRK TY I (W)24"(SLD)(100MIL) | LF | 150 |  | 0
| REFL PAV MRK TY I (W)(ARROW)(100MIL) | EA | 2 |  | 0
| REFL PAV MRK TY I (W)(WORD)(100MIL) | EA | 2 |  | 0
| PAVEMENT SEALER 4" | LF | 50 |  | 0
| PAVEMENT SEALER 24" | LF | 150 |  | 0
| PAVEMENT SEALER (ARROW) | EA | 2 |  | 0
| PAVEMENT SEALER (WORD) | EA | 2 |  | 0
| ELIM EXT PAV MRK & MRKS (4") | LF | 219 |  | 0
| ELIM EXT PAV MRK & MRKS (24") | LF | 22 |  | 0
| PAV SURF PREP FOR MRK (4") | LF | 50 |  | 0
| PAV SURF PREP FOR MRK (24") | LF | 150 |  | 0
| PAV SURF PREP FOR MRK (ARROW) | EA | 2 |  | 0
| PAV SURF PREP FOR MRK (WORD) | EA | 2 |  | 0
| INSTALL HWY TRF SIG (SYSTEM) | EA | 1 |  | 0
| **TXDOT COMMUNICATION PACKAGE | EA | 1 |  | 0
| **TRAFFIC SIGNAL CONTROLLER (ECONOLITE COBALT) | EA | 1 |  | 0
| VEH SIG SEC (12")LED(GRN) | EA | 8 |  | 0
| VEH SIG SEC (12")LED(GRN ARW) | EA | 2 |  | 0
| VEH SIG SEC (12")LED(YEL) | EA | 8 |  | 0
| VEH SIG SEC (12")LED(YEL ARW) | EA | 2 |  | 0
| VEH SIG SEC (12")LED(RED) | EA | 8 |  | 0
| VEH SIG SEC (12")LED(RED ARW) | EA | 1 |  | 0
| BACKPLATE W/REFL BRDR(3 SEC)(VENT)ALUM | EA | 7 |  | 0
| BACKPLATE W/REFL BRDR(4 SEC)(VENT)ALUM | EA | 2 |  | 0
| TRF SIG CBL (TY A)(12 AWG)(4 CONDR) | LF | 255 |  | 0
| TRF SIG CBL (TY A)(12 AWG)(7 CONDR) | LF | 2008 |  | 0
| TRF SIG CBL (TY C)(14 AWG)(2 CONDR) | LF | 230 |  | 0
| INS TRF SIG PL AM(S)1 ARM(32')LUM | EA | 1 |  | 0
| INS TRF SIG PL AM(S)1 ARM(44')LUM | EA | 2 |  | 0
| PED POLE ASSEMBLY | EA | 2 |  | 0
| PED DETECT PUSH BUTTON (APS) | EA | 2 |  | 0
| PED DETECTOR CONTROLLER UNIT | EA | 1 |  | 0
| PORTABLE CHANGEABLE MESSAGE SIGN | DAY | 28 |  | 0
| ITS COM CBL (ETHERNET) | LF | 70 |  | 0
| CCTV FIELD EQUIPMENT (ANALOG) | EA | 1 |  | 0
| CCTV FIELD CONTROLLER | EA | 1 |  | 0
| CCTV MOUNT (POLE) | EA | 1 |  | 0
| TMA (STATIONARY) | DAY | 5 |  | 0
| RVDS(PRESENCE DETECTION ONLY) | EA | 3 |  | 0
| RVDS(ADVANCE DETECTION ONLY) | EA | 2 |  | 0
| **RVDS(PRESENCE DETECTION ONLY) COMM CABLE | LF | 765 |  | 0
| **RVDS(ADVANCE DETECTION ONLY) COMM CABLE | LF | 516 |  | 0
| OFFSITE STREET IMPROVEMENTS - SH 211 TURN LANE |  |  | SUBTOTAL: | 0
| PREPARING ROW | AC | 1 |  | 0
| 2" D-GR HMA TY-C PG 64-22 | SY | 1300 |  | 0
| 3.5" D-GR HMA TY-B PG 64-22 | SY | 1300 |  | 0
| 12" FL BS (CIP) (TY A GR 1-2) (FNAL POS) | SY | 1300 |  | 0
| 6" LIME TREATED SUBGRADE | SY | 1300 |  | 0
| 1 CST OVERLAY | SY | 5332 |  | 0
| STRIPING | LS | 1 |  | 0
| BARRICADES, SIGNS AND TRAFFIC HANDLING | MO | 3 |  | 0
| EXCAVATION | CY | 1000 |  | 0
| EMBANKMENT | CY | 1000 |  | 0
| FURNISHING AND PLACING TOPSOIL (4") | SY | 2200 |  | 0
| TXDOT ROW TPDES | LS | 1 |  | 0
| CELL FBR MLCH SEED (PERM)(RURAL)(CLAY) | SY | 2200 |  | 0
| VEGETATIVE WATERING | MG | 140 |  | 0
| ONSITE CONDUIT CROSSINGS |  |  | SUBTOTAL: | 0
| Major Crossing (2x6" Electric, 2x4" Telecom) Bundle A | LF | 30 |  | 0
| Major Crossing (1x 6" Gas, 1x6" Electric, 2x4" Telecom) Bundle B | LF | 65 |  | 0
| Minor Crossing (1x10" - Gas, 2x6" Electric, 2x4" - Telecom) Bundle C | LF | 335 |  | 0
| Minor Crossing (1x10" Gas) Bundle D | LF | 50 |  | 0
| Irrigation Conduits (2x4"Conduits) Bundle E | LF | 470 |  | 0
| GRAND TOTAL |  |  |  | 0
| Notes: |  |  | NO DESIGN COMPLETED
| 1. Topsoil shall be provided for all revegation areas meeting or exceeding Native soil Specifications as required to grow and maintain vegetation to a stand of 85% coverage. |  |  | PRELIMINARY DESIGN
FINAL DESIGN
| 2. Bids for walls must include type of wall proposed and are design build by the contractor, including any stability analysis required. |  |  | OTHER
3. Finished grades to be +/-0.10' per plans.