## Bid Form
BRE Phase 2, Collector |  |  | BID FORM
Date of Preparation: 8/14/25
ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | AMOUNT
1 | GENERAL ONSITE IMPROVEMENTS |  |  | SUBTOTAL: | 0
2 | Mobilization | LS | 1 |  | 0
3 | Site Preperation, Clearing, & Grubbing (Streets & Easements) | AC | 15.18 |  | 0
4 | Import from adjacent unit (Offsite Grading, Streets, & Spoils) | CY | 15695 |  | 0
5 | TPDES | LS | 1 |  | 0
6 | Revegetation (Open Space Areas/Easements - 85% Established Excludes Drains) | SY | 31304 |  | 0
7 | TPDES | LS | 1 |  | 0
8 | GENERAL OFFSITE IMPROVEMENTS |  |  | SUBTOTAL: | 0
9 | Site Preperation, Clearing, & Grubbing (Offsite Grading) | AC | 4.6 |  | 0
10 | Embankment (Offsite Grading - Future Lot) | CY | 21000 |  | 0
11 | Revegetation (Open Space Areas/Easements - 85% Established Excludes Drains) | SY | 22266 |  | 0
12 | WT Montgomery Road Demolition |  |  | SUBTOTAL: | 0
13 | Demolish Existing Pavement | SF | 357 |  | 0
14 | Demolish Existing Sidewalk | SY | 2275 |  | 0
15 | Demolish Existing Striping | LS | 310 |  | 0
16 | Demolish Existing 7" Curb | LF | 1114 |  | 0
17 | ONSITE STREET IMPROVEMENTS |  |  | SUBTOTAL: | 0
18 | Excavation (Streets) | CY | 12000 |  | 0
19 | Embankment (Streets) | CY | 11730 |  | 0
20 | Lime Stabilized Subgrade (8", Application Rate: 42.0 lbs/sy) | SY | 19658 |  | 0
21 | Lime | TON | 413 |  | 0
22 | Flexible Base (21.0" Compacted Depth)(Collector)* | SY | 18173 |  | 0
23 | Flexible Base (22.5" Compacted Depth)(Arterial)* | SY | 1485 |  | 0
24 | Prime Coat | GAL | 3932 |  | 0
25 | Tack Coat | GAL | 1966 |  | 0
26 | Hot Mix Asphaltic Pavement, TYPE C (2.0" Comp. Depth)(Arterial) | SY | 1369 |  | 0
27 | Hot Mix Asphaltic Pavement, TYPE D (3.0" Comp. Depth)(Arterial) | SY | 1369 |  | 0
28 | Hot Mix Asphaltic Pavement, TYPE D (1.5" Comp. Depth)(Collector) | SY | 16425 |  | 0
29 | Hot Mix Asphaltic Pavement, TYPE C (2.5" Comp. Depth)(Collector) | SY | 16425 |  | 0
30 | Concrete Curb (7") | LF | 10940 |  | 0
31 | Header Curb | LF | 123 |  | 0
32 | Barricade Post | EA | 25 |  | 0
33 | Concrete Sidewalks (1,000 SY < X <10,000 SY | SY | 8647 |  | 0
34 | Concrete Riprap (5" Thick) (100 < X < 4,000 SY) | SY | 230 |  | 0
35 | Portland Cement Concrete Driveway (100 SY < X < 10,000 SY) | SY | 190 |  | 0
36 | Metal Beam Guard Fence, Complete | LF | 200 |  | 0
37 | Single Guard Terminal (SGT), Complete | EA | 2 |  | 0
38 | Downstream Anchor Terminal (DAT), Complete | EA | 2 |  | 0
39 | Tempory Turnaround
40 | 2" Type "D" HMAC | SY | 956 |  | 0
41 | 8.5" Flexible Base | SY | 1018 |  | 0
42 | ONSITE STORM DRAINAGE IMPROVEMENTS |  |  | SUBTOTAL: | 0
43 | Drain A |  |  | SUBTOTAL: | 0
44 | Embankment (FINAL)(ORD COMP)(TY A) | CY | 1200 |  | 0
45 | Channel Excavation | CY | 545 |  | 0
46 | Concrete Structure (Headwalls) | CY | 87 |  | 0
47 | Sidewalk Pipe Railing | LF | 189 |  | 0
48 | Concrete Rip-rap (6" Thick) | SY | 239 |  | 0
49 | Hydromulching (Residential or Commercial) | SY | 1700 |  | 0
50 | Concrete Structure (Baffle Blocks) | CY | 8.48 |  | 0
51 | Rock Rubble | SY | 74 |  | 0
52 | 6'x4' Concrete Box Culvert | LF | 1080 |  | 0
53 | Drain B |  |  | SUBTOTAL: | 0
54 | Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 58 |  | 0
55 | Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 137 |  | 0
56 | Inlet (Complete)(Type I) 10' | EA | 2 |  | 0
57 | Concrete Collars | CY | 3.17 |  | 0
58 | Junction Box (Complete) 4'x4'x4' | EA | 2 |  | 0
59 | Concrete Rip-rap (6" Thick) | SY | 34 |  | 0
60 | Concrete Structure (Headwalls) | CY | 1.67 |  | 0
61 | Concrete Structure (Baffle Blocks) | CY | 0.73 |  | 0
62 | Rock Rubble | SY | 15 |  | 0
63 | Drain C |  |  | SUBTOTAL: | 0
64 | 30" UFCMP | LF | 71 |  | 0
65 | Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 62 |  | 0
66 | Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 142 |  | 0
67 | Inlet (Complete)(Type I) 10' | EA | 2 |  | 0
68 | Concrete Collars | CY | 3.27 |  | 0
69 | Junction Box (Complete) 4'x4'x4' | EA | 2 |  | 0
70 | Concrete Structure (Headwalls) | CY | 2 |  | 0
71 | Concrete Rip-rap (6" Thick) | SY | 34 |  | 0
72 | Concrete Structure (Baffle Blocks) | CY | 0.32 |  | 0
73 | Rock Rubble | SY | 25 |  | 0
74 | Drain D |  |  | SUBTOTAL: | 0
75 | Inlet (Complete)(Type I) 10' | EA | 2 |  | 0
76 | Reinforced Concrete Pipe (Class III)(24" DIA) | LF | 64 |  | 0
77 | Reinforced Concrete Pipe (Class III)(30" DIA) | LF | 58 |  | 0
78 | Concrete Collars | CY | 1.33 |  | 0
79 | Channel Excavation | CY | 325 |  | 0
80 | Embankment (FINAL)(ORD COMP)(TY A) | CY | 310 |  | 0
81 | Concrete Rip-rap (6" Thick) | SY | 38 |  | 0
82 | Hydromulching (Residential or Commercial) | SY | 1100 |  | 0
83 | Concrete Structure (Baffle Blocks) | CY | 0.321 |  | 0
84 | Concrete Structure (Headwalls) | CY | 1.5 |  | 0
85 | Rock Rubble | SY | 24 |  | 0
86 | Drain E |  |  | SUBTOTAL: | 0
87 | Hydromulching (Residential or Commercial) | SY | 173 |  | 0
88 | Channel Excavation | CY | 170 |  | 0
89 | 5'x5' Grate Inlet | EA | 1 |  | 0
90 | Inlet (Complete)(Type I) 10' | EA | 2 |  | 0
91 | 36" UFCMP | LF | 44 |  | 0
92 | Reinforced Concrete Pipe (Class III)(42" DIA) | LF | 36 |  | 0
93 | 48" UFCMP | LF | 84 |  | 0
94 | Concrete Collars | CY | 3.86 |  | 0
95 | Concrete Rip-rap (6" Thick) | SY | 77 |  | 0
96 | Concrete Structure (Baffle Blocks) | CY | 0.948 |  | 0
97 | Rock Rubble | SY | 37 |  | 0
98 | Concrete Structure (Headwalls) | CY | 3.7 |  | 0
99 | Interceptor Channel F |  |  | SUBTOTAL: | 0
100 | Channel Excavation | CY | 2980 |  | 0
101 | Embankment (FINAL)(ORD COMP)(TY A) | CY | 135 |  | 0
102 | Hydromulching (Residential or Commercial) | SY | 6080 |  | 0
103 | Interceptor Channel G |  |  | SUBTOTAL: | 0
104 | Channel Excavation | CY | 1810 |  | 0
105 | Hydromulching (Residential or Commercial) | SY | 3500 |  | 0
106 | PUBLIC POTABLE WATER IMPROVEMENTS |  |  | SUBTOTAL: | 0
107 | 6" DI Pipe | LF | 30 |  | 0
108 | 6" Gate Valve, MJ | EA | 1 |  | 0
109 | Relocation of Fire Hydrant | EA | 1 |  | 0
110 | Trench Excavation Protection | LF | 30 |  | 0
111 | PUBLIC SANITARY SEWER IMPROVEMENTS |  |  | SUBTOTAL: | 0
112 | 8" Sanitary Sewer Pipe (SDR-26) (6-10 Feet) | LF | 951 |  | 0
113 | 8" Sanitary Sewer Pipe (SDR-26) (10-14 Feet) | LF | 445 |  | 0
114 | 8" Sanitary Sewer Pipe (SDR-26) (14-18 Feet) | LF | 12 |  | 0
115 | Concrete Encasement | CY | 21 |  | 0
116 | Standard Manhole | EA | 6 |  | 0
117 | Drop Manhole | EA | 1 |  | 0
118 | Manhole Ring Encasement | EA | 7 |  | 0
119 | Manhole Extra Depth | VF | 27.3 |  | 0
120 | Tie into Existing Manhole | EA | 1 |  | 0
121 | Trench Excavation Protection | LF | 1408 |  | 0
122 | TV Video Sewer Line | LF | 1408 |  | 0
123 | SIGNAGE & STRIPING STREET IMPROVEMENTS |  |  | SUBTOTAL: | 0
124 | R3-8LR Only (30" x 30") | EA | 2 |  | 0
125 | R2-1 Speed Limit (24" X 30") (High Intensity) | EA | 2 |  | 0
126 | R3-7 Right Lane Must Turn Right (30" x 30")(High Intensity) | EA | 3 |  | 0
127 | R3-7 Left Lane Must Turn Left (30" x 30")(High Intensity) | EA | 2 |  | 0
128 | R4-7 Keep Right (24"x30") | EA | 3 |  | 0
129 | Relocate R4-7 Keep Right (24"x30") | EA | 1 |  | 0
130 | R1-1 Stop (36"x36")(High Intensity) | EA | 2 |  | 0
131 | OM4-3 End of Road Marker (18"x18") (High Intensity) | EA | 6 |  | 0
132 | 9" Street Name, Block Number (Varies X 9")(High Intensity) | EA | 4 |  | 0
133 | W14-1T (Road Ends) (36"x36") | EA | 2 |  | 0
134 | W16-2AP 500 FT (plaque) | EA | 2 |  | 0
135 | 6 Inch Wide Solid Yellow Line (< 100,000 LF) | LF | 2383 |  | 0
136 | R4-4 Begin Right Turn Lane Arrow Yield to Biker (High Intensity) | EA | 1 |  | 0
137 | Straight White Arrow Bicycle Facility (White Thermoplastic) | EA | 3 |  | 0
138 | Bicycle Rider Symbol (White Thermoplastic) | EA | 3 |  | 0
139 | 6 Inch Wide Broken Yellow Line (< 100,000 LF) | LF | 2383 |  | 0
140 | Word "ONLY" | EA | 8 |  | 0
141 | 8" Wide White Line | LF | 1315 |  | 0
142 | Remove Existing 8" Wide White Line | LF | 210 |  | 0
143 | 8" Wide Broken White Line | LF | 200 |  | 0
144 | 6 Inch Wide Broken White Line | LF | 3672 |  | 0
145 | 24 Inch Wide White Line (< 1500 LF) | LF | 44 |  | 0
146 | Right White Arrow | EA | 9 |  | 0
147 | Left White Arrow | EA | 19 |  | 0
148 | Traffic Button (TYPE II A-A) | EA | 64 |  | 0
149 | Pavement Marker (Type II-C-R) | EA | 133 |  | 0
150 | Pavement Marker (Type II BB Blue) | EA | 3 |  | 0
151 | ONSITE CONDUIT CROSSINGS |  |  | SUBTOTAL: | 0
152 | Irrigation Conduits (2x4"Conduits) Bundle A | LF | 430 |  | 0
153 | GRAND TOTAL |  |  |  | 0
| Notes: |  |  | NO DESIGN COMPLETED
| 1. Topsoil shall be provided for all revegation areas meeting or exceeding Native soil Specifications as required to grow and maintain vegetation to a stand of 85% coverage. |  |  | PRELIMINARY DESIGN
FINAL DESIGN
| 2. Bids for walls must include type of wall proposed and are design build by the contractor, including any stability analysis required. |  |  | OTHER
3. Finished grades to be +/-0.10' per plans.