## SUMMARY
BLACKWELL BID PROPOSAL
| PROJECT: | BLACKWELL
| DATE: |  | 2026-04-06
| BID DUE DATE: |  | 2026-04-24
| PROJECT START DATE: |  | 2026-05-15
ATT, SPECTRUM, GVEC, GVSUD, GRBA, NEW BRAUNFELS, & GUADALUPE COUNTY
BLACKWELL UNIT 1 INFRASTRUCTURE IMPROVEMENTS
| SWPPP |  |  | 0
| LOT GRADING |  |  | 0
| STREET IMPROVEMENTS |  |  | 0
| DRAINAGE IMPROVEMENTS |  |  | 0
| WATER IMPROVEMENTS |  |  | 0
| SEWER IMPROVEMENTS |  |  | 0
| DRY UTILITY IMPROVEMENTS |  |  | 0
| MISCELLANEOUS IMPROVEMENTS |  |  | 0
|  |  | TOTAL BASE BID | 0
| ADDITIVE ALTERNTE #1 |  |  | 0

## SWPPP
STORMWATER POLLUTION PREVENTION PLAN
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | STABALIZED CONSTRUCTION ENTRANCE | EA | 1 |  | 0
2 | CONCRETE WASHOUT PIT | EA | 1 |  | 0
3 | SILT FENCE | LF | 4582 |  | 0
4 | INLET PROTECTION | LF | 85 |  | 0
5 | ROCK BERM W/ GABION BASKET | LF | 240 |  | 0
6 | ONSITE RE-ESTABLISH VEGETATION (INCLUDES DETENTION BASIN, DRAINS, & OPEN AREAS) | SY | 28441 |  | 0
7(ADD) | SILT SOCKS (BASIN OUTFALL) | LF | 160 |  | 0
|  |  |  | TOTAL | 0
NOTES:
1 | THE SILT FENCE QUANTITY ONLY ACCOUNTS FOR PHASE I GENERAL CONSTRUCTION
2 | REFERENCE SHEET 8.0 & 8.1 FOR REVEGETATED AREAS

## LOT GRADING
LOT GRADING
BLACKWELL UNIT 1
ITEM NO. |  | UNIT | QUANTITY | UNIT PRICE | PRICE | EXCAVATION | EMBANKMENT
1 | DEMO EXISTING HOME | LS | 1 |  | 0 | 17709 | 24687
2 | ONSITE & OFFSITE CLEARING & GRUBBING | ACRE | 18.6 |  | 0 | 5875 | 3943
3 | LOT EXCAVATION | CY | 17709 |  | 0 | 6258 | 4285
4 | LOT EMBANKMENT | CY | 24687 |  | 0
5 | ONSITE UTILITY SPOILS EMBANKMENT | CY | 3073 |  | 0 | 29842 | 32915
6 | WALLS | FACE SQFT | 904 |  | 0
|  |  |  | TOTAL | 0
NOTES:
1 | CONTRACTOR TO DETERMINE ONSITE UTILITY SPOILS CUBIC YARD | [5 empty] | 3073

## STREET
STREET IMPROVEMENTS
BLACKWELL UNIT 1 ONSITE
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | MOBILIZATION, RIGHT OF WAY PREP, & INSURANCE | LS | 1 |  | 0
2 | STREET EXCAVATION | CY | 4605 |  | 0
3 | STREET EMBANKMENT | CY | 3357 |  | 0
4 | 2" HMAC TYPE "D" (RESIDENTIAL COLLECTOR+TEMP TURNAROUND) | SY | 2147 |  | 0
5 | 2" HMAC TYPE "C" (RESIDENTIAL COLLECTOR) | SY | 416 |  | 0
6 | 3" HMAC TYPE "D" (LOCAL) | SY | 7181 |  | 0
7 | 16" GRANULAR BASE COURSE (AGGREGATE BASE)(COLLECTOR) | SY | 456 |  | 0
8 | 12" GRANULAR BASE COURSE (AGGREGATE BASE)(LOCAL) | SY | 7964 |  | 0
9 | 8" GRANULAR BASE COURSE (AGGREGATE BASE)(TEMP TURNAROUND) | SY | 1731 |  | 0
10 | 6" LIME STABILIZED SUBGRADE | SY | 9695 |  | 0
11 | 8" LIME STABILIZED SUBGRADE | SY | 456 |  | 0
12 | 6' SIDEWALK | SY | 484 |  | 0
13 | 4' SIDEWALK | SY | 256 |  | 0
14 | ADA RAMPS | EA | 16 |  | 0
15 | HEADER CURB | LF | 60 |  | 0
16 | CONCRETE CURB | LF | 4238 |  | 0
17 | SAW TOOTH CURB | LF | 30 |  | 0
18 | TIMBER GUARD POSTS (OM4-3) | EA | 15 |  | 0
19 | BI-DIRECTIONAL PAVEMENT MARKERS | EA | 4 |  | 0
20 | SIGNAGE | LS | 1 |  | 0
|  |  |  | Subtotal | 0
DECELERATION LANE IMPROVEMENTS
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | STREET EXCAVATION | CY | 407 |  | 0
2 | STREET EMBANKMENT | CY | 3 |  | 0
3 | 2" HMAC TYPE "D" | SY | 748 |  | 0
4 | 10.0" HMAC TYPE "B" | SY | 748 |  | 0
5(REV) | MOISTURE CONTROLLED SUBGRADE | SY | 748 |  | 0
6 | HEADER CURB | LF | 553 |  | 0
7 | TRAFFIC CONTROL | LS | 1 |  | 0
8 | SIGNAGE | LS | 1 |  | 0
9 | PAVEMENT STRIPING + REFLECTORS | LS | 1 |  | 0
|  |  |  | Subtotal | 0
ACCELERATION LANE IMPROVEMENTS
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | STREET EXCAVATION | CY | 137 |  | 0
2 | STREET EMBANKMENT | CY | 226 |  | 0
3 | 2" HMAC TYPE "D" | SY | 836 |  | 0
4 | 10.0" HMAC TYPE "B" | SY | 836 |  | 0
5(REV) | MOISTURE CONTROLLED SUBGRADE | SY | 836 |  | 0
6 | HEADER CURB | LF | 617 |  | 0
7 | TRAFFIC CONTROL | LS | 1 |  | 0
8 | SIGNAGE | LS | 1 |  | 0
9 | PAVEMENT STRIPING + REFLECTORS | LS | 1 |  | 0
|  |  |  | Subtotal | 0
FIRE ACCESS ROAD IMPROVEMENTS
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | STREET EXCAVATION | CY | 726 |  | 0
2 | STREET EMBANKMENT | CY | 357 |  | 0
3 | PRIME COAT | SY | 2794 |  | 0
4 | 10" GRANULAR BASE COURSE (AGGREGATE BASE) | SY | 2794 |  | 0
5(ADD) | SINGLE ARM DRIVEWAY GATE FOR FIRE ACCESS | EA | 4 |  | 0
|  |  |  | Subtotal | 0
|  |  |  | TOTAL | 0
NOTES:
1

## DRAINAGE
ONSITE DRAINAGE IMPROVMENTS
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
DRAIN A
CHANNEL
1 | CHANNEL EXCAVATION | CY | 1130 |  | 0
2 | CHANNEL EMBANKMENT | CY | 874 |  | 0
3 | CONCRETE COLLAR | EA | 4 |  | 0
UPSTREAM STRUCTURE 1 SHEET 4.1
4 | TXDOT CONCRETE HEADWALL | CY | 4.7 |  | 0
5 | 5" CONCRETE RIP RAP (UPSTREAM DRAIN A & DRAIN B CONNECTION) | SY | 148 |  | 0
6 | 5" CONCRETE RIP RAP (UPSTREAM HEADWALL)) |  | 36 |  | 0
7 | PIPE HANDRAIL | LF | 44 |  | 0
NORTHERN DRAIN A CULVERT SHEET 4.1
8 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 82 |  | 0
9 | 5' X 2' PRECAST BOX CULVERT | LF | 82 |  | 0
DOWNSTREAM STRUCTURE 1 SHEET 4.1
10 | TXDOT CONCRETE HEADWALL | CY | 4.7 |  | 0
11 | 5" CONCRETE RIP RAP (DOWNSTREAM) | SY | 18 |  | 0
12 | 8"-10" ROCK RUBBLE | SY | 21 |  | 0
13 | PIPE HANDRAIL | LF | 34 |  | 0
UPSTREAM STRUCTURE 2 SHEET 4.0
14 | TXDOT CONCRETE HEADWALL | CY | 4.1 |  | 0
15 | 5" CONCRETE RIP RAP (UPSTREAM) | SY | 35 |  | 0
16 | PIPE HANDRAIL | LF | 44 |  | 0
SOUTHERN DRAIN A CULVERT SHEET 4.0
17 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 82 |  | 0
18 | 5' X 2' PRECAST BOX CULVERT | LF | 82 |  | 0
DOWNSTREAM STRUCTURE 2 SHEET 4.0
19 | TXDOT CONCRETE HEADWALL | CY | 4.7 |  | 0
20 | 5" CONCRETE RIP RAP (DOWNSTREAM) | SY | 18 |  | 0
21 | 8"-10" ROCK RUBBLE | SY | 21 |  | 0
22 | PIPE HANDRAIL | LF | 34 |  | 0
|  |  |  | Subtotal | 0
DRAIN B
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 603 |  | 0
2 | CHANNEL EMBANKMENT | CY | 17 |  | 0
3 | 5" CONCRETE RIP RAP (INCLUDED WITH DRAIN A) | SY | 0 |  | 0
|  |  |  | Subtotal | 0
DRAIN C
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 530 |  | 0
2 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 80
3 | 4'x4' JUNCTION BOX W/ DROP STRUCTURE | EA | 1 |  | 0
4 | 18" RCP CLASS III | LF | 80 |  | 0
5 | CONCRETE COLLAR | EA | 1 |  | 0
6 | 5" CONCRETE RIP RAP | SY | 23 |  | 0
7 | SLOPED HEADWALL | SY | 5 |  | 0
|  |  |  | Subtotal | 0
DRAIN D
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 323 |  | 0
2 | CHANNEL EMBANKMENT | CY | 27 |  | 0
3 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 135 |  | 0
4 | 5" CONCRETE RIP RAP | SY | 24 |  | 0
5 | 4'X4' JUNCTION BOX WITH 4-WAY DROP STRUCTURE | LF | 1 |  | 0
6 | 24" RCP CLASS III | EA | 135 |  | 0
7 | CONCRETE COLLAR | EA | 1 |  | 0
8 | SLOPED HEADWALL | SY | 22 |  | 0
9 | 6"-8" ROCK RUBBLE | SY | 7 |  | 0
|  |  |  | Subtotal | 0
DRAIN E
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 50 |  | 0
2 | 25' TYPE C INLET | EA | 1 |  | 0
3 | 36" RCP CLASS III | LF | 50 |  | 0
4 | CONCRETE COLLAR | EA | 1 |  | 0
5 | SLOPED HEADWALL | SY | 10 |  | 0
6(ADD) | PIPE HANDRAIL | LF | 56 |  | 0
|  |  |  | Subtotal | 0
DRAIN F
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 387 |  | 0
2 | CHANNEL EMBANKMENT | CY | 31 |  | 0
|  |  |  | Subtotal | 0
DRAIN G
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 489 |  | 0
2 | CHANNEL EMBANKMENT | CY | 15 |  | 0
|  |  |  | Subtotal | 0
DRAIN H
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CHANNEL EXCAVATION | CY | 281 |  | 0
|  |  |  | Subtotal | 0
DETENTION POND
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | POND EXCAVATION | CY | 2515 |  | 0
2 | POND EMBANKMENT | CY | 3321 |  | 0
3 | 4'X4' JUNCTION BOX (BASIN OUTFALL) | EA | 1 |  | 0
4 | 2'X2' PRECAST BOX CULVERT | LF | 28 |  | 0
5 | 36" RCP CLASS III | LF | 42 |  | 0
6 | SLOPED HEADWALL | SY | 11 |  | 0
7 | CONCRETE COLLAR | EA | 1 |  | 0
8 | 6' WIDE CONCRETE PILOT CHANNEL (5" CONCRETE RIP RAP) | SY | 302 |  | 0
9 | BASIN TRASH RACK W. PERF PIPE | EA | 1 |  | 0
10(ADD) | PIPE HANDRAIL BASIN OUTFALL | LF | 57 |  | 0
11(ADD) | PARALLEL WINGWALL | CY | 3.4 |  | 0
|  |  |  | Subtotal | 0
|  |  |  | TOTAL | 0
NOTES:

## WATER
OFFSITE WATER IMPROVEMENTS
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 1252 |  | 0
2 | CONTRACTOR TO TIE TO EXISTING WATER MAIN | EA | 4 |  | 0
3 | CONTRACTOR TO JACK BORE FM 1044 | LF | 106 |  | 0
4 | 30" STEEL CASING AWWA C-200 | LF | 106 |  | 0
5 | 18" STEEL CASING AWWA C-200 | LF | 9 |  | 0
6 | 30" PVC CASING | LF | 60 |  | 0
7 | 6" C-900 DR18 | LF | 82 |  | 0
8 | 16" C-900 DR18 | LF | 1170 |  | 0
9 | DUCTILE IRON FITTINGS | TON | 2.8 |  | 0
10 | 4" GATE VALVES MJ AND BOXES | EA | 1 |  | 0
11 | 6" GATE VALVES MJ AND BOXES | EA | 1 |  | 0
12 | 12" GATE VALVES MJ AND BOXES | EA | 1 |  | 0
13 | 16" GATE VALVES MJ AND BOXES | EA | 6 |  | 0
14 | JOINT RESTRAINT | LS | 1 |  | 0
15(REV) | 2" BLOW OFF (TEMP.) | EA | 4 |  | 0
16 | FIRE HYDRANT ASSEMBLY | EA | 1 |  | 0
17 | MACHINE CHORLOINATION | LF | 1252 |  | 0
18 | HYDROSTATIC TESTING | LF | 1252 |  | 0
19 | ADJACENT FENCE REPAIR | LS | 1 |  | 0
20 | NEW SERVICE & METER REPAIR (NEIGHBORS) | EA | 2 |  | 0
21 | DRIVEWAY DEMO / REBUILD | EA | 1 |  | 0
22 (ADD) | RE-ESTABLISH VEGETATION | SY | 1646 |  | 0
|  |  |  | Offsite Total Unit 1 | 0
ONSITE WATER IMPROVEMENTS
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 2173 |  | 0
2 | 8" C-900 CLASS 235 DR 18 PVC PIPE | LF | 993 |  | 0
3 | 12" C-900 CLASS 235 DR 18 PVC PIPE | LF | 1180 |  | 0
4 | DUCTILE IRON FITTINGS | TON | 2.7 |  | 0
5 | 24" PVC CASING | LF | 177 |  | 0
6 | 8" GATE VALVES MJ AND BOXES | EA | 4 |  | 0
7 | 12" GATE VALVES MJ AND BOXES | EA | 5 |  | 0
8 | JOINT RESTRAINT | LS | 1 |  | 0
9 | 3/4" LONG SINGLE SERVICE W/ 5/8" METER | EA | 26 |  | 0
10 | 3/4" SHORT SINGLE SERVICE W/ 5/8" METER | EA | 29 |  | 0
11 | 3/4" IRRIGATION SERVICE W/ 5/8 METER | EA | 5 |  | 0
12 | FIRE HYDRANT ASSEMBLY | EA | 4 |  | 0
13 | 24" STEEL CASING AWWA C-200 | LF | 32 |  | 0
14 | MACHINE CHORLOINATION | LF | 2173 |  | 0
15 | HYDROSTATIC TESTING | LF | 2173 |  | 0
16 | 2" BLOW OFF (TEMP.) | EA | 3 |  | 0
17 | CAST IRON METER BOXES | EA | 60 |  | 0
|  |  |  | Onsite Total Unit 1 | 0
|  |  |  | TOTAL | 0

## SEWER
OFFSITE SANITARY SEWER | [5 empty] | OFFSITE EXTRA DEPTH | 31.38 | ONSITE EXTRA DEPTH | 14.12
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE | DEPTH | EXTRA | DEPTH | EXTRA
1 | CONSTRUCTION STAGING AREA | EA | 1 |  | 0 | 20.17 | 12.17 | 14.49 | 6.49
2 | INLET PROTECTION TXDOT CULVERT | LF | 50 |  | 0 | 18.84 | 10.84 | 8.6 | 0.6
3(REV) | CONTRACTOR TO INSTALL NEW MANHOLE AT EXISTING STUBOUT | EA | 1 |  | 0 | 11.55 | 3.55 | 9.93 | 1.93
4 | CONTRACTOR TO JACK BORE FM 1044 | LF | 80 |  | 0 | 12.82 | 4.82 | 8.55 | 0.55
5 | 24" STEEL CASING AWWA C-200 | LF | 90 |  | 0 |  |  | 8.02 | 0.02
6 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 744 |  | 0 |  |  | 12 | 4
7 | 15" SANITARY SEWER SDR 26 | [6 empty] | 8.3 | 0.3
| A. 10' - 12' | LF | 391 |  | 0 |  |  | 8.23 | 0.23
| B. 12' - 14' | LF | 108 |  | 0
| C. 14' - 16' | LF | 53 |  | 0
| D. 16'- 18' | LF | 46 |  | 0
| E. 18' - 20' | LF | 74 |  | 0
| F. 20' - 22' | LF | 72 |  | 0
8 | STANDARD MANHOLE | EA | 4 |  | 0
9 | MANHOLE RING ENCASEMENTS | EA | 4 |  | 0
10 | TYPE 1 PIPELINE MARKER | EA | 4 |  | 0
11(REV) | EXTRA DEPTH MANHOLE | VF | 39 |  | 0
12 | TV VIDEO SEWER LINE + TESTING | LF | 744 |  | 0
13(ADD) | RE-ESTABLISH VEGETATION | SY | 1634 |  | 0
|  |  |  | Subtotal | 0
ONSITE SANITARY SEWER
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 2805 |  | 0
2 | 8" SANITARY SEWER SDR 26
| A. 0' - 6' | LF | 206 |  | 0
| B. 6' - 8' | LF | 1324 |  | 0
| C. 6' - 8' (160 PSI) | LF | 60 |  | 0
| D. 8' - 10' | LF | 958 |  | 0
| E. 8' - 10' (160 PSI) | LF | 20 |  | 0
| F. 10' - 12' | LF | 237 |  | 0
3 | 18" C900 PIPE CASING | LF | 48 |  | 0
4 | FLOWABLE FILL OVER PIPE AT CULVERT CROSSING | LF | 48 |  | 0
5 | STANDARD MANHOLE | EA | 12 |  | 0
6 | DROP MANHOLE | EA | 2 |  | 0
7 | MANHOLE RING ENCASEMENTS | EA | 14 |  | 0
8 | SANITARY SEWER CAP | EA | 2 |  | 0
9 (REV) | TYPE 1 PIPELINE MARKER | EA | 4 |  | 0
10(REV) | EXTRA DEPTH MANHOLE | VF | 36 |  | 0
11 | 6" SANITARY SEWER LATEREALS (ALL APPURANTENCES) | EA | 55 |  | 0
12 | TV VIDEO SEWER LINE + TESTING | LF | 2805 |  | 0
|  |  |  | Subtotal | 0
|  |  |  | TOTAL UNIT 1 | 0

## DRY UTILITY
DRY UTILITY INSTALLATION
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | GVEC (2.5" SCH 40 PVC) | LF | 3610 |  | 0
2(REV) | ATT / SPECTRUM (4" SCH 40. PVC) | LF | 1378 |  | 0
3 | STREETLIGHTS | EA | 9 |  | 0
|  |  |  | TOTAL | 0
NOTES:

## MISC.
MISCELLANEOUS IMPROVEMENTS
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | CONSTRUCTION STAKING | LS | 1 |  | 0
2 | GEOTECH, MATERIALS, & LAB TESTING | LS | 1 |  | 0
3(ADD) | 6" CONDUIT IRRIGATION | LF | 150 |  | 0
|  |  |  | Subtotal | 0

## ADD ALT
ADDITIVE ALTERNATE #1
BLACKWELL UNIT 1
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | PRICE
1 | IMPORT MATERIAL | CY | 1 |  | 0
2 | BASIN TURF REINFORCEMENT MATTING | SY | 70 |  | 0
3(ADD) | 5'X2' PRECAST BOX CULVERT | LF | 184 |  | 0
4(ADD) | 2'X2' PRECAST BOX CULVERTS | LF | 28 |  | 0
|  |  |  | Subtotal | 0