Addendum No. 1

to

Briggs Ranch Offsite Utilities

Specifications and Plans

# February 29, 2023

This addendum, applicable to work designed above, is an amendment to the bidding documents and as such shall be a part of and included in the Contract. Acknowledge receipt of this addendum by entering the addendum number and issue date in the spaces provided on all submitted copies of the proposals.

- Addendum Purpose

The purpose of this addendum is to make clarifications regarding the construction plans and specifications.

- Bid Quantity Revision

Changes in the bid quantities have been highlighted on the bid sheet included with this addendum. Please use the attached bid quantities in lieu of the bid quantities provided with the initial bid package. A summary of the quantity revisions is as follows:

Briggs Ranch North Offsite Water Improvements

- Revised 12” C-900 PVC (DR 18) Pipe CL 235 quantity from 493 to 497.

- Revised 16” C-900 PVC (DR 18) Pipe CL 235 quantity from 2,698 LF to 3,552 LF

- Added 509 LF of 8” C-900 PVC (DR-18) Pipe CL 235

- Revised 16” Gate Valve, MJ w/ Valve Box quantity from 4 to 5.

- Added 1 8” Gate Valve, MJ w/ Valve Box

- Revised 2” Blowoff (Temporary) quantity from 1 to 2.

- Revised Fittings quantity from 2.78 TON to 4.87 TON

- Added 1 Tie Into Existing 8” Water Main.

- Revised Trench Excavation Protection quantity from 3,191 LF to 4,588 LF

- Revised Chlorination quantity from 3,191 LF to 4,588 LF

- Revised Silt Fence quantity from 4,738 LF to 5,738 LF

- Revised Clearing quantity from 25.41 AC to 32.15 AC.

- Revised Revegetation of Easement (w/ Hydromulch) quantity from 119,102 SF to 140,386 SF.

- Revised Revegetation of Easement (w/ 4” Top Soil & Block Sod) quantity, from 119,102 SF to 140,386 SF.

- Added 40,000 CY for Water Line Excavation.

- Added 35,000 CY for Water Line Embankment.

- Added 5,000 CY to stockpile with water line improvements.

- Revised Jack and Bore (Under Existing Structures) from 244 LF to 224 LF.

If there are any questions about the bid quantities from this point forward, please make an assumption and list that assumption in the bid documents.

END OF ADDENDUM NO. 1

/tmp/in/input.doc