## Sheet1
CANYON RANCH UNIT 5 BID
COMAL COUNTY, TEXAS
BID FORM - April 1, 2026 - Addendum 01
SECTION I: WATER IMPROVEMENTS
BID ITEM | DESCRIPTION | QTY | UNIT | UNIT PRICE | AMOUNT
1-01 | 8-INCH C-909, POTABLE (BLUE) WATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 4587 | LF |  | 0
1-02 | 8-INCH, CLASS 350, DUCTILE IRON WATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 260 | LF |  | 0
1-03 | 16-INCH, CLASS 350, DUCTILE IRON WATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 1918 | LF |  | 0
1-04 | 20-INCH STEEL ENCASEMENT, PER LINEAR FOOT, CIP | 41 | LF |  | 0
1-05 | SINGLE WATER SERVICE, PER EACH, CIP | 57 | EA |  | 0
1-06 | DOUBLE WATER SERVICE, PER EACH, CIP | 58 | EA |  | 0
1-07 | 8-INCH X 8-INCH WET CONNECTION, PER EACH, CIP | 3 | EA |  | 0
1-08 | 16-INCH X 8-INCH WET CONNECTION, PER EACH, CIP | 2 | EA |  | 0
1-09 | FIRE HYDRANT, INCLUDING 6-INCH LEAD AND 6-INCH VALVE, PER EACH, CIP | 12 | EA |  | 0
1-10 | 8" GATE VALVE, PER EACH, CIP | 25 | EA |  | 0
1-11 | 16" GATE VALVE, PER EACH, CIP | 9 | EA |  | 0
1-12 | 1-INCH AIR RELEASE VALVE, PER EACH, CIP | 1 | EA |  | 0
1-13 | 2-INCH AIR RELEASE VALVE, PER EACH, CIP | 5 | EA |  | 0
1-14 | TEMPORARY BLOWOFF VALVE, PER EACH, CIP | 4 | EA |  | 0
1-15 | CAST IRON FITTINGS | 6.4 | TON |  | 0
1-16 | TRENCH SAFETY, PER LINEAR FOOT, CIP | 6988.4 | LF |  | 0
SUBTOTAL WATER IMPROVEMENTS |  |  |  |  | 0
SECTION II: WASTEWATER IMPROVEMENTS
BID ITEM | DESCRIPTION | QTY | UNIT | UNIT PRICE | AMOUNT
2-01 | 4-INCH PVC SDR-21 (GREEN) WASTEWATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 3706 | LF |  | 0
2-02 | 6-INCH PVC SDR-21 (GREEN) WASTEWATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 2059 | LF |  | 0
2-03 | 8-INCH PVC SDR-21 (GREEN) WASTEWATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 759 | LF |  | 0
2-04 | 6-INCH HDPE SDR-21 WASTEWATER LINE AND APPURTENANCES, ALL DEPTHS, PER LINEAR FOOT, CIP | 4863 | LF
2-05 | SINGLE WASTEWATER SERVICE, PER EACH, CIP | 17 | EA |  | 0
2-06 | DOUBLE WASTEWATER SERVICE, PER EACH, CIP | 68 | EA |  | 0
2-07 | FLOWABLE BACKFILL, PER LINEAR FOOT, CIP | 6497 | LF |  | 0
2-08 | TRENCH SAFETY SYSTEMS (ALL DEPTHS), PER LINEAR FOOT, CIP | 6497 | LF |  | 0
2-09 | 4-INCH, DIVISION WEDGE GATE VALVE, PER EACH, CIP | 7 | EA |  | 0
2-10 | 6-INCH, DIVISION WEDGE GATE VALVE, PER EACH, CIP | 4 | EA |  | 0
2-11 | 8-INCH, DIVISION WEDGE GATE VALVE, PER EACH, CIP | 1 | EA |  | 0
2-12 | CONNECT TO EXISTING, PER EACH, CIP | 2 | EA |  | 0
2-13 | VACUUM PIT FOR WASTEWATER, 8-FOOT Depth., OR APPROVED EQUAL, PER EACH, CIP | 11 | EA |  | 0
2-14 | VACUUM PIT FOR WASTEWATER, 6-FOOT Depth., OR APPROVED EQUAL, PER EACH, CIP | 20 | EA |  | 0
SUBTOTAL WASTEWATER IMPROVEMENTS |  |  |  |  | 0
SECTION III: DRAINAGE IMPROVEMENTS
BID ITEM | DESCRIPTION | QTY | UNIT | UNIT PRICE | AMOUNT
3-01 | 18-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 1474 | LF |  | 0
3-02 | 24-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 759 | LF |  | 0
3-03 | 30-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 703 | LF |  | 0
3-04 | 36-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 536 | LF |  | 0
3-05 | 42-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 124 | LF |  | 0
3-06 | 60-INCH HP STORM OR APPROVED EQUAL (ALL DEPTHS), PER LINEAR FOOT, CIP | 221 | LF |  | 0
3-07 | 3-FT X 2-FT RCB, CLASS III BOX (ALL DEPTHS), PER LINEAR FOOT, CIP | 84 | LF |  | 0
3-08 | 6-FT X 2-FT RCB, CLASS III BOX (ALL DEPTHS), PER LINEAR FOOT, CIP | 107 | LF |  | 0
3-09 | STANDARD MANHOLE, 4-FOOT DIA., PER EACH, CIP | 2 | EA |  | 0
3-10 | STANDARD MANHOLE, 6-FOOT DIA., PER EACH, CIP | 1 | EA |  | 0
3-11 | STANDARD MANHOLE, 7-FOOT DIA., PER EACH, CIP | 2 | EA |  | 0
3-12 | 5-FOOT CURB INLET, PER EACH, CIP | 4 | EA |  | 0
3-13 | 10-FOOT CURB INLET, PER EACH, CIP | 15 | EA |  | 0
3-14 | 15-FOOT CURB INLET, PER EACH, CIP | 5 | EA |  | 0
3-15 | 4-FT X 4-FT AREA INLET, PER EACH, CIP | 1 | EA |  | 0
3-16 | 18-INCH HEADWALL, PER EACH, CIP | 1 | EA |  | 0
3-17 | 60-INCH HEADWALL, PER EACH, CIP | 1 | EA |  | 0
3-18 | 36-INCH SLOPED HEADWALL, PER EACH, CIP | 1 | EA |  | 0
3-19 | 6-FT X 2-FT SLOPED END TREATMENT, PER EACH, CIP | 2 | EA |  | 0
3-20 | TURF REINFORCEMENT MATTING, PER SQUARE YARD, CIP | 4340 | SY |  | 0
3-21 | TRENCH SAFETY, PER LINEAR FOOT, CIP | 4008 | LF |  | 0
3-22 | 4-FT X 4-FT BOX MANHOLE, PER EACH, CIP | 3 | EA |  | 0
3-23 | 5-FT X 5-FT BOX MANHOLE, PER EACH, CIP | 1 | EA |  | 0
3-24 | 7-FT X 7-FT BOX MANHOLE, PER EACH, CIP | 1 | EA |  | 0
SUBTOTAL DRAINAGE IMPROVEMENTS |  |  |  |  | 0
SECTION IV: EROSION AND SEDIMENTATION CONTROLS
BID ITEM | DESCRIPTION | EST QNT | UNIT | UNIT PRICE | AMOUNT
5-01 | HYDROMULCH SEEDING FOR EROSION CONTROL - LOTS (ALL DISTURBED AREAS), PER SQUARE YARD, CIP | 31608 | SY |  | 0
5-02 | HYDROMULCH SEEDING FOR EROSION CONTROL - ROW & CHANNEL (ALL DISTURBED AREAS), PER SQUARE YARD, CIP | 21428 | SY |  | 0
5-03 | INLET PROTECTION, PER EACH, CIP | 25 | EA |  | 0
5-04 | STABILIZED CONSTRUCTION ENTRANCE, PER EACH, CIP | 3 | EA |  | 0
5-05 | ROCK BERM, PER LINEAR FOOT, CIP | 393 | LF |  | 0
5-06 | SILT FENCE FOR EROSION CONTROL PER, LINEAR FOOT, CIP | 10804 | LF |  | 0
5-07 | VEGATATIVE FILTER STRIPS, OUTSIDE PONDS, PER SQUARE YARD, CIP | 4253 | SY |  | 0
SUBTOTAL EROSION AND SEDIMENTATION CONTROLS |  |  |  |  | 0
SECTION V: SITE & PAVING IMPROVEMENTS
BID ITEM | DESCRIPTION | EST QNT | UNIT | UNIT PRICE | AMOUNT
6-01 | 6-INCH SUBGRADE PREPARATION, PER SQUARE YARD, CIP | 41844 | SY |  | 0
6-02 | FLEXIBLE BASE, 10-INCH THICKNESS, PER SQUARE YARD (LOCAL ROAD), CIP | 21409 | SY |  | 0
6-03 | HMAC, 2.5-INCH THICKNESS, TYPE D, PER SQUARE YARD (LOCAL ROAD), CIP | 38004 | SY |  | 0
6-04 | FLEXIBLE BASE, 18-INCH THICKNESS, PER SQUARE YARD (COLLECTOR ROAD), CIP | 26435 | SY |  | 0
6-05 | HMAC, 2.5-INCH THICKNESS, TYPE C, PER SQUARE YARD (COLLECTOR ROAD), CIP | 21977 | SY |  | 0
6-06 | CURB RAMP, PER EACH, CIP | 30 | EA |  | 0
6-07 | MACHINE LAID CURB AND GUTTER (FINE GRADING) PER LINEAR FOOT, CIP | 18188 | LF |  | 0
6-08 | ASPHALT VALEY GUTTER, PER EACH, CIP | 1 | EA |  | 0
6-09 | 4' P.C. CONCRETE SIDEWALK, PER LINEAR FOOT, CIP | 7056 | LF |  | 0
6-10 | CRASH CUSHION FOR C-223 GUARD FENC, PER EACH, CIP | 4 | EA |  | 0
6-11 | REMOVE STREET END BARRICADE, PER EACH, CIP | 3 | EA |  | 0
6-12 | INSTALL TYPE III STREET END BARRICADE, PER EACH, CIP | 5 | EA |  | 0
6-13 | STREET SIGNS AND PAVEMENT MARKINGS, PER LUMP SUM, CIP | 1 | LS |  | 0
6-14 | RETAINING WALL, PER SQUARE FOOT OF VERTICAL FACE, CIP | 13040 | SF |  | 0
6-15 | METAL BEAM C-223 GUARD FENCE, INCL. ALL NECESSARY HARDWARE, PER LINEAR FOOT, CIP | 200 | LF |  | 0
SUBTOTAL SITE & PAVING IMPROVEMENTS |  |  |  |  | 0
SECTION VI: CLEARING & EXCAVATION IMPROVEMENTS
BID ITEM | DESCRIPTION | EST QNT | UNIT | UNIT PRICE | AMOUNT
7-01 | CLEARING AND GRUBBING, PER ACRE, CIP | 12.6 | AC |  | 0
7-02 | EXCAVATION, PER CUBIC YARD, CIP | 33585 | CY |  | 0
7-03 | EMBANKMENT, PER CUBIC YARD, CIP | 13700 | CY |  | 0
SUBTOTAL CLEARING & EXCAVATION IMPROVEMENTS |  |  |  |  | 0
ADD/ALTERNATES
BID ITEM | DESCRIPTION | EST QNT | UNIT | UNIT PRICE | AMOUNT
ADD-01 | ELECTRICAL PLANS INCLUDING PEC TRANSFORMERS, PER LUMP SUM, CIP | 1 | LS |  | 0
MUD REIMBURSABLE ITEMS
| SECTION I: WATER IMPROVEMENTS |  |  |  | 0
| SECTION II: WASTEWATER IMPROVEMENTS |  |  |  | 0
| SECTION III: DRAINAGE IMPROVEMENTS |  |  |  | 0
| SECTION IV: EROSION AND SEDIMENTATION CONTROLS |  |  |  | 0
| SECTION V: SITE & PAVING IMPROVEMENTS |  |  |  | 0
| SECTION VI: CLEARING & EXCAVATION IMPROVEMENTS |  |  |  | 0
|  |  | UNIT 5 MUD REIMBURSABLE TOTAL |  | 0