List of Mears Gas submittals

|  |  |  |  |
| --- | --- | --- | --- |
| 2" POLYETHELENE GAS MAIN DR 11 WITH FITTINGS | Performance Pipe |  |  |
| 4" POLYETHELENE GAS MAIN DR 11 WITH FITTINGS | Performance Pipe |  |  |
| 6" POLYETHELENE GAS MAIN DR 11 WITH FITTINGS | Performance Pipe |  |  |
| 6" POLYETHELENE 45 DEGREE ELBOW | Performance Pipe |  |  |
| 2" POLYETHELENE TEE | Performance Pipe |  |  |
| 4"X4"X2" POLYETHELENE TEE | Performance Pipe |  |  |
| 6"X6"X2" POLYETHELENE TEE | Performance Pipe |  |  |
| 4"X2" POLYETHELENE CROSS | Performance Pipe |  |  |
|  6" POLYETHELENE CROSS | Performance Pipe |  |  |
| 2" POLYETHELENE GAS VALVE AND BOX, COMPLETE | Performance Pipe |  |  |
| 4" POLYETHELENE GAS VALVE AND BOX, COMPLETE | Performance Pipe |  |  |
| 6" POLYETHELENE GAS VALVE AND BOX, COMPLETE | Performance Pipe |  |  |
| 2" POLYETHELENE CAP | Performance Pipe |  |  |
| 4" POLYETHELENE CAP | Performance Pipe |  |  |
| 6" POLYETHELENE CAP | Performance Pipe |  |  |
| 6"X2" PE REDUCER | Performance Pipe |  |  |
| 1"X2" TAPPING TEE, SADDLE FUSED | Performance Pipe |  |  |
| 1"X4" TAPPING TEE, SADDLE FUSED | Performance Pipe |  |  |
| 1"X6" TAPPING TEE, SADDLE FUSED | Performance Pipe |  |  |
| 1" PE CAP, SOCKET FUSED | Performance Pipe |  |  |
| 1" PE, SERVICE LINE | Performance Pipe |  |  |
| 14 GAUGE TRACER WIRE, YELLOW | Performance Pipe |  |  |
| TRACER WIRE LOCATE BOX | Performance Pipe |  |  |
| 2" COUPLING | Performance Pipe |  |  |
| 4" COUPLING | Performance Pipe |  |  |
| 6" COUPLING  | Performance Pipe |  |  |