## BID FORM
UNIT
ITEM | DESCRIPTION | UNIT | QTY | PRICE | AMOUNT
STREET IMPROVEMENTS
1 | Mobilization | LS | 1 | $__________ | $__________
2 | Clearing & Grubbing | AC | 3.1 | $__________ | $__________
3 | Earthwork
| a. Excavation | CY | 2150 | $__________ | $__________
| b. Embankment | CY | 2680 | $__________ | $__________
| c. Import (Truck Haul) | CY | 530 | $__________ | $__________
4 | 2.0" Type D Asphalt (Local A) | SY | 1968 | $__________ | $__________
5 | 1.5" Type D Asphalt (Local B) | SY | 973 | $__________ | $__________
6 | 2.5" Type C Asphalt (Local B) | SY | 973 | $__________ | $__________
7 | 10.0" Flexible Base (Local A) | SY | 1968 | $__________ | $__________
8 | 18.5" Flexible Base (Local B) | SY | 973 | $__________ | $__________
9 | 8.0" Lime Stabilized Subgrade (41 lb/sy) (Local A) | SY | 1968 | $__________ | $__________
10 | 8.0" Lime Stabilized Subgrade (41 lb/sy) (Local B) | SY | 973 | $__________ | $__________
11 | Retaining Walls (Gravity) (Modular Block) | FF | 460 | $__________ | $__________
12 | 7" Concrete Curb | LF | 1478 | $__________ | $__________
13 | 7" Sawtooth Curb (See Drain "C") | LF | 30 | $__________ | $__________
14 | Concrete Sidewalk | SY | 268 | $__________ | $__________
15 | End of Road Markers (1 Location) | LS | 1 | $__________ | $__________
16 | Signage & Traffic Control | LS | 1 | $__________ | $__________
17 | Remove & Demo Ex. Curb, Sidewalk, Driveway, Pavement Etc. (Onsite/Offsite) | LS | 1 | $__________ | $__________
18 | Existing Tree Protection Fencing (See Tree Plan) | LS | 1 | $__________ | $__________
19 | TPDES (Stage I) | LS | 1 | $__________ | $__________
20 | TPDES (Stage II) (Silt Fence) | LF | 993 | $__________ | $__________
21 | Sleeves/Conduits
a. Minor Street Crossing (Electric & Telecom)
| 1-6" Conduit, 2-4" Conduit (2 ea) | LF | 120 | $__________ | $__________
b. Developer Crossing
| 3-4" Conduit (1 ea) | LF | 60 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
DRAINAGE IMPROVEMENTS
1 | Reinforced Concrete Class 'A'
| a. 3'x3' 4-Way Inlet | EA | 1 | $__________ | $__________
| b. Pre-Cast Safety End Treatment (Type II) | EA | 1 | $__________ | $__________
| c. (2) - 4' Sidewalk Boxes | EA | 1 | $__________ | $__________
2 | 18" RCP (Class IV) | LF | 104 | $__________ | $__________
3 | Concrete Collars | EA | 2 | $__________ | $__________
4 | 6" Concrete Rip Rap | SY | 219 | $__________ | $__________
5 | Pipe Handrail | LF | 9 | $__________ | $__________
6 | Revegetation (Sod/Seed) | SY | 549 | $__________ | $__________
7 | 6" - 8" Rock Rubble at 18" Deep | SY | 38 | $__________ | $__________
8 | Tie-In to Existing Drainage System (See Drain "A" Plan) | LS | 1 | $__________ | $__________
9 | Demo Existing Drainage System (See Drain "A" Demo Plan) | LS | 1 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
SANITARY SEWER IMPROVEMENTS
1 | 8" Sanitary Sewer Pipe (SDR 26)
| a. (6'-8') | LF | 224.4 | $__________ | $__________
| b. (8'-10') | LF | 332.5 | $__________ | $__________
| c. (10'-12') | LF | 155.9 | $__________ | $__________
2 | Standard Sanitary Sewer Manhole | EA | 4 | $__________ | $__________
3 | Standard Manhole Extra Depth | VF | 11 | $__________ | $__________
4 | Tie Into Existing Manhole (EX-A1) | LS | 1 | $__________ | $__________
5 | 6" Concrete Line Encasement (SS Line A) | LF | 218 | $__________ | $__________
6 | 6" x 6" Wyes | EA | 10 | $__________ | $__________
7 | 6" Sanitary Sewer Lateral (SDR-26) | LF | 595 | $__________ | $__________
8 | Trench Excavation Protection | LF | 713 | $__________ | $__________
9 | TV Video Sewer Line | LF | 713 | $__________ | $__________
10 | Revegetation (Sod/Seed) (Floodplain Area) | SY | 250 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
WATER IMPROVEMENTS
1 | 8" PVC C-900 Class 235, DR 18 | LF | 1161 | $__________ | $__________
2 | 8" Gate Valve, MJ w/ Valve Box | EA | 4 | $__________ | $__________
3 | 12" PVC C-900 Class 235, DR 18 | LF | 172 | $__________ | $__________
4 | 12" Gate Valve, MJ w/ Valve Box | EA | 2 | $__________ | $__________
5 | Standard Fire Hydrant Assembly | EA | 2 | $__________ | $__________
6 | D.I. Fittings (Restrained) | TON | 2 | $__________ | $__________
7 | 3/4" Single Service with 5/8" Meter, Short (Duplex Lot) | EA | 5 | $__________ | $__________
8 | 3/4" Single Service with 5/8" Meter, Long (Duplex Lot) | EA | 7 | $__________ | $__________
9 | 3/4" Single Service with 3/4" Meter, Short (Triplex Lot) | EA | 2 | $__________ | $__________
10 | 2" Blowoff Assembly (Temporary) | EA | 2 | $__________ | $__________
11 | Joint Restraints | LS | 1 | $__________ | $__________
12 | Hydrostatic Pressure Test | EA | 2 | $__________ | $__________
13 | Trench Excavation Protection | LF | 1333 | $__________ | $__________
14 | Chlorination | LF | 1333 | $__________ | $__________
15 | Tie Into Existing 12" AC Water Line (FM 78) | EA | 2 | $__________ | $__________
16 | Excavate & Remove Existing 12" AC Water Pipe (FM 78) | LF | 160 | $__________ | $__________
17 | Revegetation (Sod/Seed) (Floodplain Area) | SY | 375 | $__________ | $__________
18 | Meter Box | EA | 14 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
|  |  |  | TOTAL | $__________
Notes:
1 | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within five percent (5%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than five percent (5%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
2 | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
3 | All construction staking will be performed by the contractor. Pape-Dawson Engineers will set survey control, dry utility staking and final pins for the project.
4 | Contractor to restore the existing offsite area to existing or better conditions. This includes all disturbed surface within the ROW and/or neighbooring property.