## Water
Espino Tract 16in Offsite Water (Oversized)
Water Improvements
SAWS #25-1015
No. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE
WATER IMPROVEMENTS
1 | Trenching/Backfill for 16" C-900 PVC (DR 18) Pipe CL 235 (SAWS to Deliver Pipe) | LF | 12479 | 0 | 0
2 | 24" Butterfly Valve, MJ w/ Valve Box | EA | 1 | 0 | 0
3 | 16" Gate Valve, MJ w/ Valve Box | EA | 40 | 0 | 0
4 | 8" Gate Valve, MJ w/ Valve Box | EA | 21 | 0 | 0
5 | Standard Fire Hydrant Assembly | EA | 18 | 0 | 0
6 | 2" Blowoff (Permanent) | EA | 1 | 0 | 0
7 | 2" Blowoff (Temporary) | EA | 2 | 0 | 0
8 | 1" Air Release Valve Assembly | EA | 2 | 0 | 0
9 | Concrete Encasement | LF | 224 | 0 | 0
10 | 30" Steel Casing | LF | 45 | 0 | 0
11 | Jack and Bore | LF | 45 | 0 | 0
12 | Ductile Fittings | TON | 14.4 | 0 | 0
13 | Tie Into Existing 24" Water Main | EA | 1 | 0 | 0
14 | Tie Into Existing 16" Water Main | EA | 1 | 0 | 0
15 | Hydrostatic Testing | LS | 1 | 0 | 0
16 | Trench Excavation Protection | LF | 12479 | 0 | 0
17 | Joint Restraints | LS | 1 | 0 | 0
18 | Chlorination | LF | 12479 | 0 | 0
19 | Excavation | CY | 323 | 0 | 0
20 | Embankment | CY | 6526 | 0 | 0
21 | Import | CY | 6203 | 0 | 0
22 | Dewatering | LS | 1 | 0 | 0
23 | Tree Protection/Fencing | LS | 1 | 0 | 0
24 | Stabilized Construction Entrance | EA | 2 | 0 | 0
25 | Concrete Washout Pit | EA | 2 | 0 | 0
26 | Silt Fence | LF | 10339 | 0 | 0
27 | Rock Berm | LF | 178 | 0 | 0
28 | Revegetation of Disturbed Area (4" Top Soil & Hydromulch) (Green Hatch on SWPPP) | SY | 95557 | 0 | 0
29 | Clearing | AC | 28.93 | 0 | 0
30 | Construction Staking | LS | 1 | 0 | 0
31 | Construction Materials Testing | LS | 1 | 0 | 0
32 | Remove/Replace/Regrade/Reveg Existing Channel | LS | 1 | 0 | 0
33 | Remove/Replace Existing Fence (WT Montgomery Entrance) | LF | 75 | 0 | 0
34 | Remove/Replace Existing Fence (at Lago Rio Vista/Masterson 90 Property Line) | LF | 85 | 0 | 0
35 | Bonding & Insurance (5% Bid Bond. 100% Performance Bond. 100% Maintenance Bond) | LS | 1 | 0 | 0
TOTAL WATER IMPROVEMENTS |  |  |  |  | 0