## Form
FORTUNA SUBDIVISION |  |  | BID FORM
NOTE: QUANTITIES ARE PROVIDED FOR REFERENCE ONLY. CONTRACTOR RESPONSIBLE FOR QUANTITY CONFIRMATION.
ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | AMOUNT
| GENERAL ONSITE IMPROVEMENTS |  |  | SUBTOTAL: | 0
1 | Mobilization | LS | 1 |  | 0
2 | Site Preparation & Clearing | AC | 4.65 |  | 0
3 | Demolish Existing Structures
4 | a. Sidewalk | SY | 26 |  | 0
5 | b. Driveway | SY | 11 |  | 0
6 | c. Curb | LF | 60 |  | 0
7 | Excavation (Lots) | CY | 210 |  | 0
8 | Embankment (Lots) | CY | 6603 |  | 0
9 | Import Haul In | CY | 7934 |  | 0
10 | Conduit Bundle (3 ~6" & 2~4") | LF | 17 |  | 0
11 | Lateral Markers at all Sewer Laterals | EA | 28 |  | 0
12 | TPDES Erosion Control (Includes SWPPP and Water Quality Control) | LS | 1 |  | 0
| ONSITE STREET IMPROVEMENTS |  |  | SUBTOTAL: | 0
13 | Excavation (Streets) | CY | 307 |  | 0
14 | Embankment (Streets) | CY | 2401 |  | 0
15 | Tie to Existing - Fortuna Rd | LS | 1 |  | 0
16 | Local Type "A"
17 | a. 2" Type "D" HMAC | SY | 3146 |  | 0
18 | b. 10" Crushed Limestone Base | SY | 3146 |  | 0
19 | c. 8" Lime Stabilized Subgrade | SY | 3146 |  | 0
20 | ADA Wheelchair Ramps | EA | 4 |  | 0
21 | 7" Standard Curb | LF | 1665 |  | 0
22 | 4' Sidewalk | SY | 94 |  | 0
23 | Driveways | SY | 1622 |  | 0
24 | Mailbox Pad | CY | 0.67 |  | 0
25 | Signage & Striping | LS | 1 |  | 0
26 | Cut and Replace Asphalt for Utility Tie In | LS | 1 |  | 0
| ONSITE STORM DRAINAGE IMPROVEMENTS |  |  | SUBTOTAL: | 0
27 | Reinforced Concrete Class 'A'
28 | a. Sidewalk Box | CY | 1.75 |  | 0
29 | b. Headwall | CY | 4.4 |  | 0
30 | 30" RCP | LF | 72.5 |  | 0
31 | 6" Concrete Rip Rap | SY | 942 |  | 0
32 | 9"-12" Rock Rubble | SY | 14 |  | 0
33 | Pipe Railing | LF | 12 |  | 0
34 | Trench Excavation Safety Protection | LF | 72.5 |  | 0
35 | Drain Excavation | CY | 716 |  | 0
36 | Drain Embankment | CY | 163 |  | 0
37 | Channel Revegetation (Hydromulch) | SY | 370 |  | 0
38 | 4" Topsoil | SY | 370 |  | 0
| ONSITE POTABLE WATER IMPROVEMENTS |  |  | SUBTOTAL: | 0
39 | 8" PVC Pipe (C900 Class 235 DR 18) | LF | 694 |  | 0
40 | 2" HPDE Pipe (DR 9) | LF | 356 |  | 0
41 | 8" Gate Valve, MJ w/ 6" Valve Box | EA | 4 |  | 0
42 | Ductile Iron Fittings | TON | 0.18 |  | 0
43 | 3/4" Single Service (Short) | EA | 17 |  | 0
44 | 3/4" Single Service (Long) | EA | 11 |  | 0
45 | Meter Box | EA | 28 |  | 0
46 | Standard Fire Hydrant Assembly | EA | 1 |  | 0
47 | 2" Blowoff Assembly (Temp) | EA | 1 |  | 0
48 | 2" Blowoff Assembly (Perm) | EA | 1 |  | 0
49 | Joint Restraints | LS | 1 |  | 0
50 | Hydrostatic Testing | EA | 1 |  | 0
51 | Tie to Existing Water Main | EA | 1 |  | 0
52 | Trench Excavation Safety Protection | LF | 1050 |  | 0
53 | Traffic Control for Utility Tie-In | LS | 1 |  | 0
| ONSITE SANITARY SEWER IMPROVEMENTS |  |  | SUBTOTAL: | 0
54 | 8" Sanitary Sewer Pipe (6'-8') | LF | 72 |  | 0
55 | 8" Sanitary Sewer Pipe (8'-10') | LF | 504 |  | 0
56 | 8" Sanitary Sewer Pipe (10'-12') | LF | 219 |  | 0
57 | 6" Sanitary Sewer Lateral | LF | 998 |  | 0
58 | Standard Manhole | EA | 3 |  | 0
59 | Doghouse Manhole | EA | 1 |  | 0
60 | Manhole Ring Encasement | EA | 4 |  | 0
61 | Manhole Extra Depth | VF | 15 |  | 0
62 | 8"x6" Wye | EA | 28 |  | 0
63 | Tie to Existing Sewer Main | EA | 1 |  | 0
64 | Camera Testing | LF | 795 |  | 0
65 | Trench Excavation Safety Protection | LF | 795 |  | 0
| TESTING REQUIREMENTS |  |  | SUBTOTAL: | 0
66 | Sanitary Sewer Trench Compaction Testing | LS | 1 |  | 0
67 | Street Density Testing | LS | 1 |  | 0
68 | Storm Drain Trench Compaction Testing | LS | 1 |  | 0
69 | Waterline Trench Compaction Testing | LS | 1 |  | 0
70 | Concrete Compressive Strength Testing | LS | 1 |  | 0
71 | Lot Density Testing | LS | 1 |  | 0
| GRAND TOTAL |  |  |  | 0
Notes:
QUANTITIES ARE PROVIDED FOR REFERENCE ONLY. CONTRACTOR RESPONSIBLE FOR QUANTITY CONFIRMATION.