## Bid Summary
2026-07-30
|  |  | Job No. | 337.065
Bid Proposal Summary
Friendship Oaks Unit 3 Subdivision Public Bid Items
BIDDER'S NAME: _____________________________________________
ADDRESS: __________________________________________________
SIGNATURE AND TITLE: _______________________________________
DATE: ______________________________________________________
BID SUMMARY
| SITEWORK | $
| SEDIMENT AND EROSION CONTROL | $
| SANITARY SEWER IMPROVEMENTS | $
| WATER IMPROVEMENTS | $
| DRAINAGE IMPROVEMENTS | $
| STREET IMPROVEMENTS | $
TOTAL BID: |  | $
ALTERNATE BID ITEMS
| DRY UTILITY IMPROVEMENTS | $
No shrinkage or swelling facor is accounted for in the engineering excavation and embankment quantities. Contractor to adjust unit price as he deems necessary to account for shrinkage and swelling.
* | Includes Bid Bond, Warranty Assignments or Bonds, Per City of Fredericksburg, and Payment and Performance bond in the amount of bid, and MUD maintenance bond for 10% of the total bid.
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## SEDIMENT AND EROSION CONTROL
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
SEDIMENT AND EROSION CONTROL
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
Onsite Sediment and Erosion Control
1 | Clearing & Grubbing LOC (Onsite and Offsite) | AC | 26.83 | $ | $
2 | Stabilized Construction Entrance | EA | 1 | $ | $
3 | Concrete Washout Pit | EA | 1 | $ | $
4 | Silt Fence (Phase 1) | LF | 2825 | $ | $
5 | Silt Fence (Phase 2) | LF | 7910 | $ | $
6 | Type 2 Rock Berm | LF | 160 | $ | $
7 | Curb Inlet Protection (Filter Dike) | LF | 90 | $ | $
8 | Soil Retention Blanket | SY | 5405 | $ | $
9 | Stabilized Construction Entrance | EA | 2 | $ | $
10 | Concrete Washout Pit | EA | 1 | $ | $
|  |  |  | SUBTOTAL | $
TOTAL |  |  |  |  | $
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
** | Commence of Construction: 1. Initial project clearing will need to be limited to the locations of the proposed temporary SWP3 Best Management Practices (BMP) designed by the engineer. These BMPs may include, but are not limited to: Stabilized Construction Exit(s), Silt Fence, Discharge Point Rock Berms/Check Dams, Trash containment, Temporary Sediment Basins (if applicable), Demarcation of protected site features for exapmle; Wetlands, Environmental Buffers, Caves or Solution Features, and Habitats, 2. Prior to commencement of additional clearing or earth disturbing activities, the proposed BMPs will need to be installed by the Contractor and inspected by a Lennar Representative. Contractor must provide at minimum, 48-hours of notice to Lennar when the BMPs are scheduled to be installed and completed. The Lennar Representative will coordinate the Land Development Manager to release the project for construction. When the project is located within the Bexar County controlled MS4, the Contractor must provide 48-hours of notice to the assigned Bexar County SWP3 Inspector noted on the Storm Water Quality (SWQ) permit letter. 3. When a Temporary Sediment Basin is required for the project, limited clearing of the proposed basin location and any material borrow areas to construct the Temporary Sediment Basin may occur during the initial BMP installation period. The Temporary Sediment Basin must be completely constructed to Engineer’s design. This may include the following; Construction of the dewatering structure (Riser Pipe or Fair Cloth Skimmer and pump), Construction of the Emergency Overflow Structure, Installation of a sediment depth marker. Note-Once accessible to appropriate equipment, the only the Temporary Sediment Basin berms/slopes shall be temporarily stabilized. 4. General Contractor is to maintain all pollution control measures in effective operating condition throughout the contract period to the extent achievable. To ensure BMPs are operating effectively, and in accordance with the Construction General Permit, Lennar will provide regular and if applicable, post-rain event BMP inspections and inspection reports. The General Contractor will be provided an electronic copy of the BMP inspection report via email. weekly regarding issues with BMPs at the project through the Lennar SWP3 Inspection process. Items noted in the BMP Inspection report must be addressed by the General Contractor as soon as possible, and within 7 calendar days. General Contractor shall provide documentation to the assigned Lennar Land Development Project Manager to include: a. Actions taken in response to the BMP inspection report and date(s) the actions were completed or, b. Statement of extenuating circumstance as to why an item could not be completed within the 7-day timeframe and proposed scheduled date of completion. 5. Contractor to maintain Spill Response Supplies/Kit at the project location while actively working onsite. 6. When dewatering activities disccharge into onsite creeks or rivers, or discharge outside the limits of construction, daily dewatering inspections must be documented in accordance with the 03.05.2023 TCEQ Construction General Permit. Daily report must be sent to Lennar within 24-hours.
Bidders Initials
Date

## SITEWORK
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
SITEWORK
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
1 | Excavation (Inside ROW) | CY | 9947 | $ | $ | Total Cut: | 50316.18
2 | Excavation (Outside ROW) | CY | 23708 | $ | $ | Total Fill: | 46851.47
3 | Excavation (Drainage Ponds) | CY | 16662 | $ | $
4 | Embankment (Inside ROW) | CY | 5131 | $ | $
5 | Embankment (Drainage Ponds) | CY | 1434 | $ | $
6 | Stockpile Excess Material | CY | 3464.71 | $ | $
7 | Existing Header Curb & Bollards Removal | LS | 3 | $ | $
8 | Existing Fence to be Removed & Replaced (Friendship Ln) | LS | 245 | $ | $
9 | Existing Concrete Removal | LS | 1 | $ | $
10 | Existing Drain Pipe Removal | LS | 1 | $ | $
TOTAL |  |  |  |  | $
Contractor to field verify and survey the existing site topography and submit information to engineer prior to submitting final bid for verification. No shrinkage or swelling factor is accounted for in the engineering excavation and embankment quantities. Contractor to adjust unit price as he deems necessary to account for shrinkage and swelling.
* | All final lot grading shall be compacted in accordance with notes on the Lot Grading Plan, Sheets 3.01-3.02
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
*** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## STREETS
| Bid Proposal |  |  |  | 2024-01-29
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.05
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
1 | Ties to existing street | LS | 2 | $ | $
2 | 2" HMAC Type-D (Residential) | SY | 18085 | $ | $ | 17985.53
3 | 10" Flex Base (Residential) | SY | 19265 | $ | $ | 19212
4 | Prime Coat | GAL | 3617 | $ | $
5 | 6" Lime Treated Subgrade | SY | 19265 | $ | $
6 | Concrete Curb and Gutter | LF | 7730 | $ | $
7 | 3' Concrete Valley Gutter | EA | 2 | $ | $
8 | Signage | LS | 1 | $ | $
9 | Mailbox Pad | LS | 1 | $ | $
|  |  |  | SUBTOTAL | $
FRIENDSHIP LN STREET MARKINGS
10 | Thermoplastic 4" Double Yellow Solid Line with Type 2 A-A Raised Reflective Markers | LF | 2081 | $ | $ | 2081
11 | Thermoplastic 4" White Dashed Line | LF | 1295 | $ | $
12 | Thermoplastic 8" White Solid Line with Type 1-C Raised Reflective Markers | LF | 415 | $ | $
13 | Thermoplastic White Arrows and Traffic Text | LS | 1 | $ | $
|  |  |  | SUBTOTAL | $
S Creek St Street Markings (At Friendship Ln Intersection)
14 | Thermoplastic 8" White Solid Line with Type 1-C Raised Reflective Markers | LF | 100 | $ | $
15 | Thermoplastic 4" Double Yellow Solid Line with Type 2 A-A Raised Reflective Markers | LF | 485 | $ | $ | 450
16 | Thermoplastic 24" Solid White Stop Bar | LF | 32 | $ | $
17 | Thermoplastic Turn Arrows and Text | LS | 1 | $ | $
|  |  |  | SUBTOTAL | $
Friendship Ln Widening
18 | 4" Type "D" HMAC | SY | 2195 | $ | $ | 0.5' overlap | 1999.5
19 | 10" Flexbase | SY | 2410 | $ | $
20 | Concrete Curb and Gutter | LF | 1240 | $ | $
21 | Tack Coat | SY | 2195 | $ | $
22 | Traffic Control | LS | 1 | $ | $
|  |  |  | SUBTOTAL | $
|  |  |  | TOTAL | $
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## SANITARY SEWER
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
SANITARY SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
Onsite Waste Water
1 | 8" SDR Sanitary Sewer Pipe
| 8" SDR 26 (6'-8') | LF | 1245 | $ | $
| 8" SDR 26 (8'-10') | LF | 2015 | $ | $
| 8" SDR 26 (10'-12') | LF | 765 | $ | $
| 8" SDR 26 (12'-14') | LF | 100 | $ | $
| 8" SDR 26 (14'-16') | LF | 275 | $ | $
| 8" SDR 26 (16'-18') | LF | 250 | $ | $
2 | Connect to Existing Sanitary Sewer line | EA | 2 | $ | $
3 | 6" Sanitary Sewer Lateral (Extended to U.E.) | EA | 120 | $ | $
4 | Utility Shroud | EA | 120 | $ | $
5 | 6" Cleanout | EA | 1 | $ | $
6 | Standard Manhole | EA | 21 | $ | $
7 | Drop Manhole | EA | 1 | $ | $
8 | Mandrel and Vacuum Testing | LS | 1 | $ | $
9 | Trench Excavation Protection | LF | 4650 | $ | $
10 | TV / Video Sewer Line | LF | 4650 | $ | $
|  |  |  | TOTAL | $
* | Unit cost of 6" Sanitary Sewer Lateral shall include trench excavation protection.
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
*** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## WATER
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
PHASE I
1 | Connect to Existing 8" Waterline | EA | 2 | $ | $
2 | 8" PVC C-900 | LF | 4060 | $ | $
3 | Trench Excavation Safety Protection | LF | 4060 | $ | $
4 | Hydrostatic Testing | LS | 1 | $ | $
5 | Fire Hydrant Assembly | EA | 6 | $ | $
6 | 3/4" Long Single Water Service | EA | 70 | $ | $
7 | 3/4" Short Single Water Service | EA | 50 | $ | $
8 | 3/4" Domestic Meter Boxes | EA | 120 | $ | $
9 | 2" Permanent Blow-Off Valve | EA | 1 | $ | $
10 | 2" Temporary Blow-Off Valve | EA | 4 | $ | $
11 | 8" Gate Valve | EA | 11 | $ | $ | no FH
12 | Pipe Fittings | TN | 0.8 | $ | $
|  |  |  | SUBTOTAL | $
TOTAL |  |  |  |  | $
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## DRAINAGE
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
DRAINAGE IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
Pond A
1.A | Hydromulch | SY | 8270 | $ | $
2.A | Type 1 Turf Reinforcement Mat | SY | 3509 | $ | $
3.A | 4' Pilot Channel | SY | 313 | $ | $
|  |  |  | SUBTOTAL | $
Pond B
1.B | Hydromulch | SY | 6290 | $ | $
2.B | Type 1 Turf Reinforcement Mat | SY | 1813 | $ | $
3.B | Concrete Rip Rap (Weir) | SY | 282 | $ | $
4.B | 12" Rock Rip Rap on Geotextiles (Weir) | SY | 82 | $ | $
5.B | 4' Concrete Pilot Channel 1 | SY | 150 | $ | $
6.B | 4' Concrete Pilot Channel 2 | SY | 80 | $ | $
7.B | Maintenance Access Ramp 6" Concrete | LS | 1 | $ | $
8.B | (2) 36" RCP Class III | LF | 42 | $ | $
9.B | 36" Concrete Headwall | EA | 4 | $ | $
10.B | 1.5'X1.5' Baffle Blocks | EA | 7 | $ | $
|  |  |  | SUBTOTAL | $
Storm Line 1
1 | 10' Curb Inlet | EA | 2 | $ | $
2 | 3'X3' Box Manhole | EA | 1 | $ | $
3 | TXDOT PSET-RC | EA | 1 | $ | $
4 | 18" HDPE Pipe | LF | 40 | $ | $
5 | 24" HDPE Pipe | LF | 21 | $ | $
6 | 30" HDPE Pipe | LF | 181 | $ | $
7 | 36" HDPE Pipe | LF | 288 | $ | $
8 | 36" 3:1 Safety End Treatment W/O Pipe Runners | EA | 1 | $ | $
9 | 6" Concrete Rip Rap (36" Outfall) | SY | 153 | $ | $
10 | 12" Rock Rip Rap on Geotextiles (36" Outfall) | SY | 57 | $ | $
11 | 1.5'X1.5' Baffle Blocks (36" Outfall) | EA | 5 | $ | $
|  |  |  | SUBTOTAL | $
Storm Line 2
12 | 10' Curb Inlet | EA | 1 | $ | $
13 | 24" HDPE Pipe | LF | 32 | $ | $
14 | 24" 3:1 Safety End Treatment | EA | 1 | $ | $
15 | 8" Rock Rip Rap on Filter Fabric | SY | 9 | $ | $
|  |  |  | SUBTOTAL | $
Friendship Ln Widening
16 | 3'X3' Area Inlet | EA | 1 | $ | $
17 | Remove Existing Area Inlet | LS | 1 | $ | $
18 | 4'X4' Junction Box | EA | 1 | $ | $
19 | 18"X36" SBC Class IV RCP | LF | 40 | $ | $
|  |  |  | TOTAL | $
* | Note* Earthwork Quantites are included w/ Excavation and Embankment
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## DRY UTILITIES
| Bid Proposal |  |  |  | 2026-07-30
| Friendship Oaks Unit 3 Subdivision Public Bid Items |  |  | Job No. | 337.065
DRY UTILITY IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
1 | Trenching Excavation for Electric | LF | 5400 | $ | $
2 | 4" Conduit Crossing | LF | 1160 | $ | $
3 | 6" Conduit Crossing | LF | 165 | $ | $
TOTAL |  |  |  |  | $
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date