## BID SUMMARY
2024-05-31
|  | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
GATEHOUSE SUBDIVISION UNIT 2
BIDDER'S NAME: _________________________________________________
ADDRESS: ______________________________________________________
SIGNATURE AND TITLE: ___________________________________________
DATE: __________________________________________________________
GATEHOUSE SUBDIVISION UNIT 2
| 1300.2555 PUBLIC CLEARING AND GRUBBING |  | $
| 1300.2550 PUBLIC GRADING IMPROVEMENTS |  | $
| 1300.3000 PUBLIC DRAINAGE IMPROVEMENTS |  | $
| 1300.3316 PUBLIC STREET IMPROVEMENTS |  | $
| 1300.2750 PUBLIC SANITARY SEWER IMPROVEMENTS |  | $
| 1300.2850 PUBLIC WATER IMPROVEMENTS |  | $
|  | TOTAL BASE BID: | $
Note to Bidders:
* | Total bid amount shall include performance and payment bond and a 1-year maintenance bond as stipulated in the Instruction To Bidders Section of the contract documents.
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
Bidders Initials
Date

## CLEARING & GRUBBING
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
CLEARING & GRUBBING
1300.2555 CLEARING & GRUBBING
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Clearing & Grubbing (Right of Way) | AC | 3.62 |  | $ | $
2 | Clearing & Grubbing (Public Drainage Ways) | AC | 10.11 |  | $ | $
3 | Clearing & Grubbing (Lots) | AC | 16.99 |  | $ | $
2 | Stabilized Construction Entrance | EA | 1 |  | $ | $
3 | Concrete Washout Pit | EA | 1 |  | $ | $
4 | Silt Fence (Phase 1) | LF | 886.2 |  | $ | $
5 | Silt Fence (Phase 2) | LF | 4833.03 |  | $ | $
6 | Rock Berm | LF | 364.66 |  | $ | $
7 | Inlet Protection | LF | 212 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
*** | Commence of Construction: 1. Initial project clearing will need to be limited to the locations of the proposed temporary SWP3 Best Management Practices (BMP) designed by the engineer. These BMPs may include, but are not limited to: Stabilized Construction Exit(s), Silt Fence, Discharge Point Rock Berms/Check Dams, Trash containment, Temporary Sediment Basins (if applicable), Demarcation of protected site features for example; Wetlands, Environmental Buffers, Caves or Solution Features, and Habitats, 2. Prior to commencement of additional clearing or earth disturbing activities, the proposed BMPs will need to be installed by the Contractor and inspected by a Lennar Representative. Contractor must provide at minimum, 48-hours of notice to Lennar when the BMPs are scheduled to be installed and completed. The Lennar Representative will coordinate the Land Development Manager to release the project for construction. When the project is located within the Bexar County controlled MS4, the Contractor must provide 48-hours of notice to the assigned Bexar County SWP3 Inspector noted on the Storm Water Quality (SWQ) permit letter. 3. When a Temporary Sediment Basin is required for the project, limited clearing of the proposed basin location and any material borrow areas to construct the Temporary Sediment Basin may occur during the initial BMP installation period. The Temporary Sediment Basin must be completely constructed to Engineer’s design. This may include the following; Construction of the dewatering structure (Riser Pipe or Fair Cloth Skimmer and pump), Construction of the Emergency Overflow Structure, Installation of a sediment depth marker. Note-Once accessible to appropriate equipment, the only the Temporary Sediment Basin berms/slopes shall be temporarily stabilized. 4. General Contractor is to maintain all pollution control measures in effective operating condition throughout the contract period to the extent achievable. To ensure BMPs are operating effectively, and in accordance with the Construction General Permit, Lennar will provide regular and if applicable, post-rain event BMP inspections and inspection reports. The General Contractor will be provided an electronic copy of the BMP inspection report via email. weekly regarding issues with BMPs at the project through the Lennar SWP3 Inspection process. Items noted in the BMP Inspection report must be addressed by the General Contractor as soon as possible, and within 7 calendar days. General Contractor shall provide documentation to the assigned Lennar Land Development Project Manager to include: a. Actions taken in response to the BMP inspection report and date(s) the actions were completed or, b. Statement of extenuating circumstance as to why an item could not be completed within the 7-day timeframe and proposed scheduled date of completion. 5. Contractor to maintain Spill Response Supplies/Kit at the project location while actively working onsite. 6. When dewatering activities discharge into onsite creeks or rivers, or discharge outside the limits of construction, daily dewatering inspections must be documented in accordance with the 03.05.2023 TCEQ Construction General Permit. Daily report must be sent to Lennar within 24-hours.
Bidders Initials
Date

## GRADING IMPROVEMENTS
GATEHOUSE SUBDIVISION UNIT 2
|  |  |  | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
PUBLIC GRADING IMRPROVEMENTS
1300.2550 PUBLIC GRADING IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | UNIT PRICES | COST
1 | Lot Excavation | CY | 13091 | $ | $
2 | Lot Embankment | CY | 13815 | $ | $
3 | Stockpile Excess Material | CY | 8955 | $ | $
|  |  |  | TOTAL COST | $
Note to Bidders:
* | All final lot grading shall be compacted in accordance with notes on the Grading Plan.
** | 85% Vegetation to be established on all disturbed areas not within a buildable lot prior to public infrastructure and rough grading acceptance.
*** | Contractor shall account for any shrinkage/swelling of soil material within bid price for excavation/embankment.
**** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
***** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
****** | Stockpile Material will be onsite within a quarter mile of Unit 2.
Bidders Initials
Date

## DRAINAGE
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
DRAINAGE IMPROVEMENTS
1300.3 DRAINAGE IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
Drain "A"
1 | Excavation | CY | 45 | 68 | $ | $
2 | Embankment | CY | 67 | 55 | $ | $
3 | 4" Concrete Rip-Rap | SY | 9.5 | 8 | $ | $
4 | 10' Type C2 Curb Inlet with 10' Extension | EACH | 1 | 2 | $ | $
5 | 10' Type C1 Curb Inlet with 10' Extension | EACH | 1 | 2 | $ | $
6 | 10' Type C1 Curb Inlet | EACH | 1 | 1 | $ | $
7 | 36" Class III RCP | LF | 216.55 | 216.55 | $ | $
8 | 30" Class III RCP | LF | 31.17 | 31.17 | $ | $
9 | 6"-8" Rock Rubble | SY | 48 | 48 | $ | $
10 | Re-Vegetation | SY | 183 | 183 | $ | $
[5 empty] | Sub Total | $
Drain "B1"
1 | Excavation | CY | 45 | 68 | $ | $
2 | Embankment | CY | 97 | 55 | $ | $
3 | 4" Concrete Rip-Rap | SY | 9.5 | 8 | $ | $
4 | 4' x 4' Junction Box | EACH | 1 | 2 | $ | $
5 | 10' Type C1 Curb Inlet | EACH | 1 | 1 | $ | $
6 | 36" Class III RCP | LF | 149.9 | 216.55 | $ | $
7 | 30" Class IV RCP | LF | 68.08 | 31.17 | $ | $
8 | 6"-8" Rock Rubble | SY | 48 | 48 | $ | $
9 | Re-Vegetation | SY | 184 | 183 | $ | $
[5 empty] | Sub Total | $
Drain "B2"
1 | 10' Type C1 Curb Inlet with 10' Extension | EACH | 2 | 55 | $ | $
2 | 30" Class IV RCP | LF | 27.25 | 68 | $ | $
[5 empty] | Sub Total | $
Drain "C"
1 | Excavation | CY | 1211 | 68 | $ | $
2 | Embankment | CY | 132 | 55 | $ | $
3 | 5" Concrete Rip-Rap | SY | 79 | 8 | $ | $
4 | Concrete Headwall | CY | 41.5 | 2 | $ | $
5 | Concrete Baffle Blocks | CY | 3.1 | 2 | $ | $
6 | 5' x 2' Box Culvert | LF | 52 | 1 | $ | $
7 | Handrail | LF | 102 | 216.55 | $ | $
8 | 10"-12" Rock Rubble | SY | 12 | 31.17 | $ | $
9 | Re-Vegetation | SY | 30748 | 48 | $ | $
[5 empty] | Sub Total | $
Drain "D"
1 | Excavation | CY | 85 | 55 | $ | $
2 | Concrete Sidwalk Box | CY | 4 | 68 | $ | $
3 | 5" Concrete Channel | SY | 12.9 | 8 | $ | $
4 | 6" Concrete Channel | SY | 7.03 | 2 | $ | $
5 | Handrail | LF | 31 | 1 | $ | $
6 | 6"-8" Rock Rubble | SY | 7 | 216.55 | $ | $
7 | Re-Vegetation | SY | 298 | 31.17 | $ | $
[5 empty] | Sub Total | $
Note to Bidders: |  |  |  |  | TOTAL COST | $
* | Concrete Rip-Rap is measured as visible surface, including cost of reinforcement, and shall include toe-downs and 2" gravel cushion.
** | Trench Excavation Safety Protection shall be included in unit price per linear footage of pipe. 6" concrete collar shall be incidental to the unit price of the CMP and/or RCP.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
***** | 85% Vegetation shall be established on all disturbed areas prior to infrastructure and rough grading acceptance.
Bidders Initials
Date

## DRAINAGE 2
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
DRAINAGE IMPROVEMENTS
1300.3 DRAINAGE IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
Drain "E"
1 | Excavation | CY | 19 | 55 | $ | $
2 | Embankment | CY | 294 | 68 | $ | $
3 | Concrete Sidewalk Box | CY | 6.5 | 68 | $ | $
4 | 5" Concrete Riprap | SY | 15 |  | $ | $
5 | 6" Concrete Riprap | SY | 10 | 68 | $ | $
6 | Revegetation | SY | 460 | 68 | $ | $
7 | 6"-8" Rock Rubble | SY | 47 | 68 | $ | $
8 | Handrail | LF | 42 | 68 | $ | $
[5 empty] | Sub Total | $
Drain "F"
1 | Excavation | CY | 239 | 68 | $ | $
2 | Embankment | CY | 292 | 55 | $ | $
3 | 6" Concrete Overflow Weir | SY | 41 | 8 | $ | $
4 | 6"-8" Rock Rubble | SY | 164 | 2 | $ | $
5 | Re-Vegetation | SY | 2380 | 1 | $ | $
[5 empty] | Sub Total | $
WQ Pond
1 | Excavation | CY | 1750 | 68 | $ | $
2 | Embankment | CY | 1041 | 55 | $ | $
3 | Sediment Depth Marker | EACH | 1 | 8 | $ | $
4 | 6" SCH 40 riser pipe, concrete pad, Trash Rack(Steel Angle, Galvenized Welded Wire), and appurtenances | LS | 1 | 2 | $ | $
5 | 6" Schedule 40 PVC | LF | 33 | 1 | $ | $
6 | 6" PVC Cleanout with Cap | EACH | 1 |  | $ | $
7 | 12" Clay Lining | SY | 2894 |  | $ | $
8 | 4' Pilot Channel | LF | 365 |  | $ | $
9 | Concrete Outfall | CY | 1 |  | $ | $
10 | Re-Vegetation | SY | 4556 |  | $ | $
12 | Pyramat 25 (TRM) | SY | 256 |  | $ | $
[5 empty] | Sub Total | $
Temporary Detention Pond
1 | Excavation | CY | 4571 | 68 | $ | $
2 | Embankment | CY | 448 | 55 | $ | $
3 | Re-Vegetation | SY | 14900 | 8 | $ | $
[5 empty] | Sub Total | $
Note to Bidders: |  |  |  |  | TOTAL COST | $
* | Concrete Rip-Rap is measured as visible surface, including cost of reinforcement, and shall include toe-downs and 2" gravel cushion.
** | Trench Excavation Safety Protection shall be included in unit price per linear footage of pipe. 6" concrete collar shall be incidental to the unit price of the CMP and/or RCP.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
***** | 85% Vegetation shall be established on all disturbed areas prior to infrastructure and rough grading acceptance.
Bidders Initials
Date

## STREETS
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC) STREET IMPROVEMENTS
STREET IMPROVEMENTS
1300.3316 STREET IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Mobilization | LS | 1 |  | $ | $
2 | Street Excavation | CY | 5556 |  | $ | $
3 | Street Embankment | CY | 1471 |  | $ | $
4 | 3" HMAC Type D | SY | 10343 |  | $ | $
5 | 12" Flex Base (Type A, Grade 2) | SY | 12228 |  | $ | $
6 | Moisture Conditioned Subgrade | SY | 12228 |  | $ | $
7 | Header Curb | LF | 30 |  | $ | $
8 | Removal of Header Curb | LF | 30 |  | $ | $
9 | Concrete Curb & Gutter | LF | 5645 |  | $ | $
10 | 5" Concrete Rip-Rap (Island) | SY | 8.5 |  | $ | $
11 | 4' Sidewalk | LF | 259 |  | $ | $
12 | 6' Sidewalk | LF | 1365 |  | $ | $
13 | Single Type I Wheelchair Ramp | EA | 6 |  | $ | $
14 | Single Type II Wheelchair Ramp | EA | 6 |  | $ | $
15 | Bi-directional Pavement Markers | EA | 8 |  | $ | $
16 | Signage & Striping | LS | 1 |  | $ | $
17 | Remove Existing Emergency Access Road (6" Flexbase and Seal Coat) | SY | 2428 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | All Sidewalk Ramps and one sidewalk joint in each direction to be constructed by the contractor.
** | Obtaining Rights-of-Way permits for work within existing Rights-of-Way shall be the responsibility of the contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
***** | 85% Vegetation shall be established on all disturbed areas prior to infrastructure and rough grading acceptance. Contractor shall be responsible for coordination with city inspector of established vegetation prior to paving activities.
Bidders Initials
Date

## SEWER
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
SANITARY SEWER IMPROVEMENTS
1300.2750 SANITARY SEWER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Sanitary Sewer Pipe 8" PVC (SDR 26)
| 8" SDR 26 6' - 8' | LF | 320.91 |  | $ | $
| 8" SDR 26 8' - 10' | LF | 1284.96 |  | $ | $
| 8" SDR 26 10' - 12' | LF | 102.85 |  | $ | $
2 | Standard Manhole | EA | 12 |  | $ | $
3 | Adjust Existing Manhole | EA | 4 |  | $ | $
4 | Extra Depth Manhole | VF | 38.5 |  | $ | $
5 | Manhole Ring Encasement | EA | 12 |  | $ | $
6 | Core/Tie Into Existing Manhole | EA | 3 |  | $ | $
7 | 6" Vertical Stack | VF | 49.2 |  | $ | $
8 | 6" Sanitary Sewer Lateral (SDR-26) with Cleanout | LF | 2790 |  | $ | $
8 | 6" Sanitary Sewer Lateral (SDR-26) with Cleanout (Tie to Existing Infrastructure) | LF | 1268 |  | $ | $
9 | Trench Excavation Protection | LF | 1708.72 |  | $ | $
10 | TV Video Sewer Line | LF | 1708.72 |  | $ | $
11 | 16" Steel Casing | LF | 40 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Unit cost of 6" Sanitary Sewer Lateral shall include trench excavation protection.
** | Note: Refer quantities to the current Crystal Clear SUD Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with Crystal Clear SUD requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## WATER
GATEHOUSE SUBDIVISION UNIT 2
[5 empty] | Job No. | 314-52-02
BID PROPOSAL SUMMARY (PUBLIC)
WATER IMPROVEMENTS
1300.2850 WATER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
PHASE I
1 | Cut-in Tee | EACH | 1 |  | $ | $
2 | Tie to Existing 8" PVC Pipe | EACH | 2 |  | $ | $
3 | 8" C-900 DR18 PVC | LF | 2209 |  | $ | $
4 | 8" DI Pipe, CL 350 | LF | 156 |  | $ | $
5 | Ductile Iron Fittings | TON | 1.08 |  | $ | $
6 | 3/4" Short Single Service Assembly with 5/8" Meters | EACH | 38 |  | $ | $
7 | 2" Long Single Service Assembly with 5/8" Meters | EACH | 3 |  | $ | $
8 | 2" Long Dual Service Assembly with 5/8" Meters | EACH | 8 |  | $ | $
9 | 3/4" Short Single Service Assembly with 5/8" Meters (Tie to Existing Infrastructure) | EACH | 18 |  | $ | $
10 | 2" Long Single Service Assembly with 5/8" Meters (Tie to Existing Infrastructure) | EACH | 2 |  | $ | $
11 | 2" Long Dual Service Assembly with 5/8" Meters (Tie to Existing Infrastructure) | EACH | 6 |  | $ | $
12 | 8" Gate Valve & Boxes, M.J. | EACH | 5 |  | $ | $
13 | Fire Hydrant Assembly with Storz Connector | EACH | 5 |  | $ | $
14 | Trench Excavation Safety Protection | LF | 2365 |  | $ | $
15 | Hydrostatic Testing | LF | 2365 |  | $ | $
16 | Machine Chlorination | LF | 2365 |  | $ | $
17 | Joint Restraint | LS | 1 |  | $ | $
PHASE II
1 | Meter Boxes | EACH | 89 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Note: Refer quantities to the current Crystal Clear SUD Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with CCSUD requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
** | Long and short service assemblies are to be installed per Crystal Clear SUD latest service connection details.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## WORKING
[11 empty] | OFFSITE |  | 20 PSI |  | 8" SDR |  |  | 16" Steel Casing |  |  |  | EXTRA DEPTH |  |  | VERTICAL STACK |  | LOT | LATERAL
[10 empty] | 20PSI |  | TOTAL |  | TOTAL |  | TOTAL |  | 20 |  | MH | TOP | BOTTOM | DIFF | -6 | 1.2 | 6.4 | 60 | 42
LINE A | 0-6 | [9 empty] | 0-6 | 0 | 0-6 | 0 | 0-6 | 0 |  | 20 | LINE A | A1 | 709.65 | 698.1 | 11.55 | 5.55 | 1.4 |  | 61 | 41
| 6-8 |  |  | 11.884 | [6 empty] | 6-8 | 11.884 | 6-8 | 0 | 6-8 | 11.884 |  |  |  | A2 | 712.49 | 703.56 | 8.93 | 2.93 | 1.6 |  | 62 | 39
| 8-10 |  | 42.412 |  | 668.506 | [5 empty] | 8-10 | 710.918 | 8-10 | 0 | 8-10 | 710.918 |  |  |  | A3 | 716.08 | 707.28 | 8.8 | 2.8 | 2.2 |  | 63 | 36
| 10-12 | 41.553 | [8 empty] | 10-12 | 41.553 | 10-12 | 0 | 10-12 | 41.553 |  |  |  | A4 | 718.53 | 709.55 | 8.98 | 2.98 | 2.7 |  | 64 | 37
| 12-14 | [9 empty] | 12-14 | 0 | 12-14 | 0 | 12-14 | 0 | TOTAL: | 40 |  | A5 | 728.18 | 719.17 | 9.01 | 3.01 | 2.5 |  | 65 | 39
| 14-16 | [9 empty] | 14-16 | 0 | 14-16 | 0 | 14-16 | 0 | [8 empty] | 2.8 |  | 66 | 40
| 16-18 | [9 empty] | 16-18 | 0 | 16-18 | 0 | 16-18 | 0 | [8 empty] | 2.9 |  | 67 | 40
| 18-20 | [9 empty] | 18-20 | 0 | 18-20 | 0 | 18-20 | 0 | [8 empty] | 3.9 |  | 68 | 40
[25 empty] | 4 |  | 69 | 40
[10 empty] | 20PSI | [14 empty] | 5.1 |  | 70 | 40
LINE B | 0-6 | [20 empty] | EXTRA DEPTH |  |  | 5.2 |  | 71 | 40
| 6-8 | [18 empty] | MH | TOP | BOTTOM | DIFF | -6 |  |  | 72 | 37
| 8-10 | 344.01 |  | 201.055 | [14 empty] | LINE B | B1 | 701.43 | 692.05 | 9.38 | 3.38 | 35.5 |  | 73 | 36
| 10-12 |  | 60.88 | [16 empty] | B2 | 702.81 | 693.91 | 8.9 | 2.9 |  |  | 74 | 40
| 12-14 | [9 empty] | ONSITE |  | 20 PSI |  | 8" SDR |  |  |  |  | B3 | 709.77 | 698.27 | 11.5 | 5.5 |  |  | 75 | 40
| 14-16 | [10 empty] | TOTAL |  | TOTAL |  | TOTAL |  |  |  | B4 | 718.65 | 710.1 | 8.55 | 2.55 |  |  | 76 | 40
| 16-18 | [9 empty] | 0-6 | 0 | 0-6 | 0 | 0-6 | 0 |  |  | LINE C | C1 | 698.67 | 690.3 | 8.37 | 2.37 |  |  | 77 | 40
| 18-20 | [9 empty] | 6-8 | 256.572 | 6-8 | 0 | 6-8 | 256.572 |  |  |  | C2 | 702.88 | 694.9 | 7.98 | 1.98 |  |  | 89 | 40
[11 empty] | 8-10 | 1337.387 | 8-10 | 0 | 8-10 | 1337.387 |  |  |  | C3 | 710.53 | 702 | 8.53 | 2.53 |  |  | 90 | 40
[10 empty] | 20PSI | 10-12 | 106.26 | 10-12 | 0 | 10-12 | 106.26 | [10 empty] | 91 | 40
LINE C | 0-6 | [9 empty] | 12-14 | 0 | 12-14 | 0 | 12-14 | 0 | [10 empty] | 92 | 40
| 6-8 | [9 empty] | 14-16 | 0 | 14-16 | 0 | 14-16 | 0 | [10 empty] | 93 | 41
| 8-10 | [9 empty] | 16-18 | 0 | 16-18 | 0 | 16-18 | 0 | [10 empty] | 94 | 40
| 10-12 | [9 empty] | 18-20 | 0 | 18-20 | 0 | 18-20 | 0 | [10 empty] | 115 | 40
| 12-14 | [25 empty] | 116 | 40
| 14-16 | [25 empty] | 117 | 40
| 16-18 | [20 empty] | ONSITE | TOTAL: | 38.48 |  |  | 118 | 40
| 18-20 | [25 empty] | 119 | 42
[27 empty] | 146 | 41
[10 empty] | 20PSI | [16 empty] | 147 | 39
LINE D | 0-6 | [25 empty] | 148 | 38
| 6-8 |  | 3.231 |  | 91.545 |  | 59.03 |  | 90.882 | [16 empty] | 6.5 | 120 | 62
| 8-10 | 22.698 |  | 15.619 |  | 10.849 |  | 32.238 | [18 empty] | 121 | 62
| 10-12 | [7 empty] | 3.827 | [17 empty] | 122 | 61
| 12-14 | [25 empty] | 123 | 61
| 14-16 | [25 empty] | 124 | 59
| 16-18 | [25 empty] | 125 | 59
| 18-20 | [25 empty] | 126 | 60
[27 empty] | 127 | 59
[10 empty] | 20PSI | [16 empty] | 128 | 59
LINE E | 0-6 | [25 empty] | 129 | 60
| 6-8 | [25 empty] | 130 | 94
| 8-10 | [25 empty] | 131 | 98
| 10-12 | [25 empty] | 132 | 83
| 12-14 | [25 empty] | 133 | 27
| 14-16 | [25 empty] | 134 | 29
| 16-18 | [25 empty] | 135 | 52
| 18-20 | [25 empty] | 136 | 53
[27 empty] | 137 | 19
[27 empty] | 138 | 16
[27 empty] | 139 | 16
[27 empty] | 140 | 17
[27 empty] | 141 | 16
[27 empty] | 142 | 16
[27 empty] | 143 | 11
[27 empty] | 144 | 13
[27 empty] | 145 | 14
INLET PROTECTION | [25 empty] | 6.6 | 95 | 61
21 | [26 empty] | 96 | 62
21 | [26 empty] | 97 | 63
11 | [26 empty] | 98 | 62
11 | [26 empty] | 99 | 61
21 | [26 empty] | 100 | 62
21 | [26 empty] | 101 | 87
11 | [26 empty] | 102 | 100
19 | [26 empty] | 103 | 91
[27 empty] | 104 | 71
136 | [26 empty] | 105 | 20
[27 empty] | 106 | 48
[27 empty] | 107 | 55
[27 empty] | 108 | 49
[27 empty] | 109 | 10
[27 empty] | 110 | 9
[27 empty] | 111 | 9
[27 empty] | 112 | 9
[27 empty] | 113 | 9
[27 empty] | 114 | 10
[26 empty] | 6.7 | 78 | 59
[27 empty] | 79 | 61
[27 empty] | 80 | 101
[27 empty] | 81 | 108
[27 empty] | 82 | 99
[27 empty] | 83 | 77
[27 empty] | 84 | 22
[27 empty] | 85 | 44
[27 empty] | 86 | 46
[27 empty] | 87 | 31
[27 empty] | 88 | 18
[27 empty] | TOTAL | 4058

## ADDITIVE ALT. (hidden)
#REF!
[5 empty] | Job No. | #REF!
BID PROPOSAL SCHEDULE
#REF!
ADDITIVE ALTERNATE
Additive Item:
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | 11.5" Flex Base | SY |  |  | $ | $
2 | Additional Street Excavation | CY |  |  | $ | $
3 | 6" Select Fill Sub Base ** | SY |  |  | $ | $
4 | Lot Embankment | CY |  |  | $ | $
5 | Credit for 11" Flex Base & 6" Lime * | SY |  |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Credit for Lime and Flex Base shall be the combined unit price from the base bid.
** | Select fill shall meet specifications outlined in the Intec geotechnical report dated January 5, 2017 (Project # S164365)
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be a difference of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date