## Sheet1
Paving Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
1 | 55 | AC. | Clearing and Grubbing |  | 0
2 | 264234 | S.Y. | Excavation/Embankment |  | 0
3 | 24202 | S.Y. | Subgrade Preparation |  | 0
4 | 24202 | S.Y. | 8" Compacted Flexible Limestone Base Material |  | 0
5 | 24202 | S.Y. | Lime Stabilization |  | 0
6 | 24202 | S.Y. | Geogrid |  | 0
7 | 16849 | S.Y. | 3" Hot Mix Asphaltic Concrete |  | 0
8 | 12610 | L.F. | Standard Curb and Gutter |  | 0
9 | 359 | S.Y. | Concrete Valley Gutter |  | 0
10 | 15927 | S.F. | Sidewalk |  | 0
11 | 36 | EA. | Sidewalk Ramps |  | 0
12 | 4 | EA. | OSSF Driveways |  | 0
13 | 1 | L.S. | Signage and Striping |  | 0
14 | 2 | EA. | Sawcut and Tie into Existing Pavement |  | 0
15 | 1 | EA. | Emergency Access Gate |  | 0
16 | 1 | L.S. | Surveying |  | 0
Paving Improvements |  |  |  |  | 0
Drainage Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
17 | 844 | L.F. | 24'' Class III RCP |  | 0
18 | 489 | L.F. | 36" Class III RCP |  | 0
19 | 2330 | L.F. | 48" Class III RCP |  | 0
20 | 1053 | L.F. | 6'x4' Reinforced Concrete Box |  | 0
21 | 1 | EA. | 4'x4' Junction Box |  | 0
22 | 1 | EA. | 6'x6' Junction Box |  | 0
23 | 5 | EA. | 8'x8' Junction Box |  | 0
24 | 24 | EA. | 15' Curb Inlet |  | 0
25 | 1 | EA. | 5'x'5' Grate Inlet |  | 0
26 | 1 | EA. | 7'x'7' Grate Inlet |  | 0
27 | 7 | EA. | Adjust Manhole Castings |  | 0
28 | 859 | L.F. | Berm/Channel |  | 0
29 | 1 | L.S. | Detention Pond |  | 0
30 | 604 | C.Y. | Detention Pond Concrete Wall |  | 0
31 | 4716 | L.F. | Trench safety system |  | 0
32 | 1 | L.S. | Surveying |  | 0
Drainage Improvements |  |  |  |  | 0
Water Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
33 | 3371 | L.F. | 8" DR-18 C-900 P.V.C. |  | 0
34 | 3100 | L.F. | 8" DR-18 C-900 P.V.C. (Restrained Joint Pipe) |  | 0
35 | 167 | L.F. | 6" Class 350 DIP (FH Leads) |  | 0
36 | 198 | L.F. | 24" DR-25 P.V.C. Encasement Pipe |  | 0
37 | 90 | L.F. | 24" D.I. Encasement Pipe |  | 0
38 | 49 | EA. | 8" Gate Valve |  | 0
39 | 16 | EA. | 6" Gate Valve |  | 0
40 | 5 | EA. | 1" Air Release/Vacuum Valve (CAARV) |  | 0
41 | 6 | EA. | Flush Valve |  | 0
42 | 76 | EA. | Raise Valve Castings |  | 0
43 | 16 | EA. | 5-1/4" Fire Hydrant |  | 0
44 | 1 | EA. | Connect to Existing Waterline |  | 0
45 | 19 | EA. | Long Double Water Service |  | 0
46 | 2 | EA. | Long Single Water Service |  | 0
47 | 27 | EA. | Short Single Water Service |  | 0
48 | 1 | L.S. | Cast Iron Fittings |  | 0
49 | 6638 | L.F. | Trench safety system |  | 0
50 | 1 | L.S. | Surveying |  | 0
Water Improvements |  |  |  |  | 0
Wastewater Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
51 | 3028 | L.F. | 2.0" SDR11 HDPE Force Main |  | 0
52 | 3220 | L.F. | 3.0" SDR11 HDPE Force Main |  | 0
53 | 278 | L.F. | 6.0" SCH. 80 P.V.C. Force Main Sleeves |  | 0
54 | 7 | EA. | 2.0" Cleanout in Manhole |  | 0
55 | 9 | EA. | 3.0" Cleanout in Manhole |  | 0
56 | 1 | EA. | Air Release Valve/Cleanout in Manhole |  | 0
57 | 17 | L.S. | Adjust Manhole Castings |  | 0
58 | 67 | EA. | Single Service - Force Main |  | 0
59 | 67 | EA. | EOne Grinder Pump Station |  | 0
60 | 6239 | L.F. | Trench safety system |  | 0
61 | 1 | L.S. | Surveying |  | 0
Wastewater Improvements |  |  |  |  | 0
Erosion/Sedimentation Control Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
62 | 161567 | S.Y. | Revegetation (Hydromulch Seeding with Topsoil & Watering for Temporary and Permanent Revegetation) |  | 0
63 | 2 | EA. | Stabilized Construction Entrance |  | 0
64 | 14614 | L.F. | Silt fence |  | 0
65 | 2 | EA. | Concrete Washout Area |  | 0
66 | 26 | EA. | Inlet Protection |  | 0
67 | 1 | L.S. | Maintain Temporary Controls |  | 0
68 | 1 | L.S. | Surveying |  | 0
Erosion/Sedimentation Control Improvements |  |  |  |  | 0
Turn Lane Improvements
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
69 | 6 | STA. | PREPARING ROW |  | 0
70 | 8 | C.Y. | EXCAV (ROADWAY) |  | 0
71 | 222 | C.Y. | EMBANK (FNL)(OC)(TY B) |  | 0
72 | 29 | TON | LIME (COM OR QK)(SLURRY) |  | 0
73 | 968 | S.Y. | LIME TRT (EXIST MATL)(10") |  | 0
74 | 177 | GAL | PRIME COAT (MULTI OPTION) |  | 0
75 | 506 | TON | D-GR HMA TY-B PG64-22 (EXEMPT) |  | 0
76 | 98 | TON | D-GR HMA TY-D PG76-22 |  | 0
77 | 181 | GAL | BONDING COURSE |  | 0
78 | 887 | S.Y. | GEOGRID BASE REINFORCEMENT (TYPE 1) |  | 0
79 | 2 | MO | BARRICADES, SIGNS AND TRAFFIC HANDLING |  | 0
80 | 16 | HR | TMA (MOBILE OPERATION) |  | 0
81 | 26 | S.F. | ALUMINUM SIGNS (TY-A) |  | 0
82 | 4 | EA. | IN SM RD SD SUP&AM TY10BWG(1)SA(P) |  | 0
83 | 33 | L.F. | REFL PAV MRK TY I (W)8"(DOT)090MIL) |  | 0
84 | 370 | L.F. | REFL PAV MRK TY I (W)8"(SLD)(090MIL) |  | 0
85 | 12 | L.F. | REFL PAV MRK TY I (W)12"(SLD)(090MIL) |  | 0
86 | 2 | EA. | REFL PAV MRK TY I (W)(ARROW)(090MIL) |  | 0
87 | 2 | EA. | REFL PAV MRK TY I (W)(WORD)(090MIL) |  | 0
88 | 502 | L.F. | REFL PAV MRK TY I (W)4"(SLD)(090MIL) |  | 0
89 | 44 | L.F. | REFL PAV MRK TY I (Y)6"(SLD)(090MIL) |  | 0
90 | 19 | EA. | REFL PAV MRK TY I-C |  | 0
91 | 736 | L.F. | ELIM EXT PM & MRKS (4") |  | 0
92 | 1632 | S.Y. | FURN & PLACE TOPSOIL (5") |  | 0
93 | 1632 | S.Y. | DRILL SEED (PERM_RURAL_CLAY) |  | 0
94 | 1632 | S.Y. | DRILL SEED (TEMP_WARM_COOL) |  | 0
95 | 0.11 | TON | FERTILIZER |  | 0
96 | 50 | TGL | VEGETATIVE WATERING |  | 0
97 | 1632 | S.Y. | SOIL RET BLKT(SL_MOD_CLAY_SHORT) |  | 0
98 | 612 | L.F. | TEMP SEDMT CONT FENCE (INSTALL) |  | 0
99 | 612 | L.F. | TEMP SEDMT CONT FENCE (REMOVE) |  | 0
Turn Lane Improvements |  |  |  |  | 0
Performace and Payment Bonds
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
100 | 1 | L.S. | Performance and Payment Bonds |  | 0
Performace and Payment Bonds |  |  |  |  | 0
Alternate Bid 'A'
Item No. | Quantity | Unit | Item Descripton | Unit Price | Cost
101 | 24202 | S.Y. | 15" Compacted Flexible Limestone Base Material |  | 0
102 | -24202 | S.Y. | Subtract (-) 8" Compacted Flexible Limestone Base Material |  | 0
103 | -24202 | S.Y. | Subtract (-) Geogrid |  | 0
Alternate Bid |  |  |  |  | 0
Total Base Bid (Items 1-100) |  |  |  |  | 0
Alternate Bids (Items 101-103) |  |  |  |  | 0
Total "Base Bid + Alternate Bids" (Items 1-103) |  |  |  |  | 0