## Summary
Bid Form
Greenspoint Unit 3A, 3B and 3C
SITEWORK, STREET, DRAINAGE, WATER & WASTEWATER IMPROVEMENTS
Date: 1/13/2025
| ITEM |  | Total Cost
1 | Greenspoint Unit 3A |  | 0
2 | Greenspoint Unit 3B |  | 0
3 | Greenspoint 3C |  | 0
|  | SUBTOTAL | 0
4 | Bonds, Mobilization, Prep ROW, Insurance |  | 0
|  | TOTAL | 0
*Includes Warranty Assignments or Bonds per City of Seguin, and Spring's hill for each subdivision unit
BID DATE:__________
BIDDER:______________________________
The undersigned bidder declares that the only person or parties interested in this proposal as principals are those names herein, that this proposal has been prepared without collusion with any other person, firm, or corporation; that he has carefully examined the specifications and the site of the proposed work and therefore agrees that he will provide all the necessary machinery, tools, apparatus and other means of construction, and will do all the work and furnish all the materials called for in the specifications in the manner prescribed therein and according to the requirements of the Engineer as herein set forth, for the following prices. Contractor is responsible for identifying and cost items on the plans not listed on this Bid Sheet.
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.
CONTRACTOR SHALL CONFIRM THE QUANTITIES SHOWN ON THE BID FORM MATCH THE INTENT OF THE WORK SHOWN IN THE CONSTRUCTION PLANS AND SPECIFICATIONS. NOTIFY THE ENGINEER AT LEAST FORTY-EIGHT (48) HOURS PRIOR TO THE BID DATE IF ANY QUANTITY IS FOUND IN ERROR. THERE WILL BE NO CHANGE ORDER ISSUED FOR ANY DISCREPANCIES.

## 3A
Greenspoint Unit 3A
SW3P & SITEWORK
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Site Excavation | CY | 26318
2 | Site Embankment | CY | 14389
3 | Stock Pile Excess | CY | 11929
4 | Silt Fence | LF | 3009
5 | Construction Entrance | EA | 1
6 | Concrete Washout Pit | EA | 1
7 | Rock Filter Berm | LF | 185
8 | Clear & Grub/Strip Top Soil | AC | 13.92
9 | Hydromulch/Revegetation | SY | 9438
SUBTOTAL
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 12" Flex Base | SY | 8581
2 | 2" Type D HMAC | SY | 7145
3 | 6" Lime Stabilized Subgrade | SY | 8581
4 | Prime Coat | GAL | 1429
5 | Concrete Curb and Gutter | LF | 4294
6 | 4' Sidewalk | SY | 97
7 | End of Road Markers w/ Header Curb | EA | 3
8 | Demo Existing Barricade and Tie Into Existing Road | EA | 3
9 | ADA Sidewalk Ramps | EA | 18
10 | Street Signs & Pavement Markings | LS | 1
SUBTOTAL
Greenspoint Unit 3A
DRAINAGE IMPROVEMENTS (2 of 2)
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
STORM LINE A
1 | 3' x 6' TxDOT S.B.C | LF | 84
2 | Special 20' Curb Inlet | EA | 2
3 | Class I TRM | SY | 114
4 | Class II TRM | SY | 76
5 | S.E.T for 3'x6' S.B.C | EA | 2
STORM LINE 1
1 | 15' Curb Inlet | EA | 1
2 | 30" ADS HP STORM | LF | 128
3 | S.E.T for 30" CMP | EA | 1
SUBTOTAL
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" C900 Water Line | LF | 1789
2 | 8" Ductile Iron | LF | 392
3 | Trench Excavation Safety Protection | LF | 2181
4 | Fire Hydrant Assembly (W/ Tee and Gate Valve) | EA | 6
5 | Existing Main Tie-in | EA | 3
6 | 8" Gate Valve MJ w/ box | EA | 13
7 | 2" Temporary Blowoff Assembly | EA | 2
8 | 2" Permanent Blow Off Assembly | EA | 1
9 | Short Single Service with Meter Box | EA | 2
10 | Long Single Service With Meter Box | EA | 5
11 | Short Double Servives with Meter Boxes | EA | 8
12 | Long Double Services with Meter Boxes | EA | 17
13 | Bacteriological and Hydrostatic Testing | LS | 1
14 | Ductile Iron Fittings | TON | 0.4
SUBTOTAL
Greenspoint Unit 3A
SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" SDR 26 D3034 (4'-6') | LF | 217
2 | 8" SDR 26 D3034 (6'-8') | LF | 1486
3 | 8" SDR 26 D2241 (6'-8') | LF | 20
4 | 8" SDR 26 D3034 (8'-10') | LF | 657
5 | 8" SDR 26 D2241 (8'-10') | LF | 40
6 | 8" SDR 26 D3034 (10'-12') | LF | 256
7 | 8" SDR 26 D2241 (10'-12') | LF | 40
8 | 8" SDR 26 D2241 (12'-14') | LF | 20
9 | 12" SDR 26 D3034 (6'-8') | LF | 337
10 | 12" SDR 26 D3034 (8'-10') | LF | 267
11 | Standard Manhole | EA | 13
12 | Extra Depth Manhole | VF | 8.4
13 | 6" Sanitary Service w/ Cleanout and Tees | EA | 46
14 | Vertical Stacks | VF | 40
15 | 8" Sanitary Sewer Cap | EA | 2
16 | 6" PVC Stub Out | LF | 8
17 | Connect to Existing Stub Out | EA | 2
18 | Trench Excavation Protection | LF | 3340
19 | Mandrel and Vacume Testing | LF | 3340
20 | TV / Video Sewer Line | LF | 3340
SUBTOTAL
DRY UTILITY IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Dry Utilities | LOT | 59
SUBTOTAL

## 3B
Greenspoint Unit 3B
SW3P & SITEWORK
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Site Excavation | CY | 7577
2 | Site Embankment | CY | 15835
3 | Import Stockpiled Material from Adjacent Units | CY | 8258
4 | Silt Fence | LF | 2347
5 | Construction Entrance | EA | 1
6 | Concerete Washout Pit | EA | 1
7 | Rock Filter Berm | LF | 51
8 | Curb Inlet Protection (Filter Dike) | LF | 150
9 | Clear & Grub / Strip Topsoil | AC | 9.7
* | Hydromulch quantity is based on revegitating openspace lots, offsite grading, and street stub parkways without adjacent buildable lots |  |  | SUBTOTAL
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 12" Flex Base | SY | 5585.92
2 | 2" Type D HMAC | SY | 5099
3 | 6" Lime Stabilized Subgrade | SY | 5586
4 | Prime Coat | GAL | 1117
5 | 21" Flex Base | SY | 895
6 | 3" Type D HMAC | SY | 837
7 | 8" Lime Stabilized Subgrade | SY | 895
8 | Prime Coat | GAL | 179
9 | Concrete Curb and Gutter | LF | 3308
10 | 4' Sidewalk | SY | 1470
11 | End of Road Markers w/ Header Curb | EA | 1
12 | Demo Existing Barricade and Tie Into Existing Road | EA | 3
13 | ADA Sidewalk Ramps | EA | 5
14 | Street Signs & Pavement Markings | LS | 1
SUBTOTAL
Greenspoint Unit 3B
DRAINAGE IMPROVEMENTS
STORM LINE A
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 20' Curb Inlet | EA | 1
2 | 30' Curb Inlet | EA | 1
3 | 2-18" RCP | LF | 99
4 | 2-18" RCP S.E.T. | EA | 1
5 | S.E.T for 3'x6' S.B.C | EA | 2
5 | 12" Rock Riprap | SY | 12
6 | Pilot Channel | SY | 6
SUBTOTAL
STORM LINE B
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 20' Curb Inlet | EA | 1
2 | 30' Curb Inlet | EA | 1
3 | 2-18" RCP | LF | 99
4 | 2-18" RCP S.E.T. | EA | 1
5 | S.E.T for 3'x6' S.B.C | EA | 2
5 | 12" Rock Riprap | SY | 29
6 | Pilot Channel | SY | 9
Channel 3B
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 35' Curb Inlet | EA | 1
2 | 5'x2' Single Box Culvert | LF | 5
3 | 5'x2' Single Box Culvert S.E.T. | EA | 1
4 | 12" Rock Riprap | SY | 38
SUBTOTAL
Greenspoint Unit 3B
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" C900 Water Line | LF | 1420
2 | 8" D.I. | LF | 144
3 | Trench Excavation Safety Protection | LF | 1464
4 | Fire Hydrant Assembly (W/ Tee and Gate Valve) | EA | 2
5 | Existing Main Tie-in | EA | 5
6 | 8" Gate Valve MJ w/ box | EA | 8
7 | 2" - Temporary Blow Off | EA | 2
9 | Bacterial and Hydrostatic Testing and Chlorination | LS | 1
10 | Short Single Service With Meter Box | LF | 13
11 | Long Single Service With Meter Box | EA | 10
12 | Short Double Service With Meter Boxes | LF | 1
13 | Long Double Service With Meter Boxes | EA | 0.3
14 | Bacterial and Hydrostatic Testing and Chlorination | EA | 1
15 | Pipe Fittings | TON | 0.3
SUBTOTAL
Greenspoint Unit 3B
SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" SDR 26 D3034 (6'-8') | LF | 99
2 | 8" SDR 26 D3034 (8'-10') | LF | 296.66
3 | 8" SDR 26 D3034 (10'-12') | LF | 87.5
4 | Standard Manhole | EA | 1
5 | Extra Depth Manhole | VF | 2
6 | 6" Sanitary Service w/ Cleanout and Tees | EA | 47
7 | Vertical Stacks | VF | 2
8 | Connect to Existing Stub Out | EA | 2
9 | Trench Excavation Protection | LF | 483
10 | Mandrel and Vacume Testing | LF | 483
11 | TV / Video Sewer Line | LF | 483
SUBTOTAL
DRY UTILITY IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Dry Utilities | LOT | 47
SUBTOTAL

## 3C
Greenspoint Unit 3C
SW3P & SITEWORK
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Curb Inlet Protection (Filter Dike) | LF | 20
2 | Rock Filter Berm | LF | 109
3 | Silt Fence | LF | 11040
4 | Construction Entrance | EA | 1
5 | Concrete Washout Pit | EA | 1
6 | Clear & Grub/Strip Top Soil | AC | 82.5
7 | *Hydromulch Reveg | SY | 4236
* | Hydromulch quantity is based on revegitating openspace lots, offsite grading, and street stub parkways without adjacent buildable lots |  |  | SUBTOTAL
COST PER LOT
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Excavation | CY | 5700
2 | Embankment | CY | 8500
3 | 21" Flex Base | SY | 7165
4 | 3" Type D HMAC | SY | 6138
5 | 8" Lime Stabilized Subgrade | SY | 7165
6 | Prime Coat | GAL | 1228
7 | Concrete Curb and Gutter | LF | 3065
8 | 5' Sidewalk | SY | 803
9 | End of Road Markers | EA | 2
10 | ADA Sidewalk Ramps | EA | 4
11 | Street Signs & Pavement Markings | LS | 1
SUBTOTAL
Greenspoint Unit 3C
DRAINAGE IMPROVEMENTS (1 of 2)
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
Pecan Parkway
1 | 3' x 6' Box Culvert | LF | 553
2 | SET's | EA | 4
3 | 20' Curb Inlet | EA | 1
Dentention Pond
4 | Excavation | CY | 188000
5 | Stockpile Excess Material Adjacent to Infastructure | CY | 127000
6 | 4' Pilot Channel | SY | 1545
7 | 6" Concrete for Weir Structure | EA | 2
8 | Weir Structure (Include Outfall Rock Rip-Rap) | SY | 339
9 | 12" Rock Rip-Rap | CY | 20
10 | Place & Compact Excess Material to LOMR-F Area | CY | 43645
Channel A
11 | Excavation | CY | 10000
12 | Stockpile Excess Material Adjacent to Infastructure | CY | 7300
13 | 4' Pilot Channel | SY | 1043
14 | 6" Rock Rip-Rap | SY | 80
15 | 8" Rock Rip Rap | SY | 366
16 | Type 1 Turf Reinforcement Matting | SY | 297
17 | Erosion Mat - Level Spreader | SY | 586
18 | Riser | EA | 1
19 | 8" Stand Pipe | EA | 1
20 | 8" PVC | LF | 47
21 | SET w/ Pipe Guard Grate | EA | 1
Greenspoint Unit 3C
DRAINAGE IMPROVEMENTS (2 of 2)
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
Channel B
22 | Excavation | CY | 21000
23 | Stockpile Excess Material Adjacent to Infastructure | CY | 21000
24 | 4' Pilot Channel | SY | 604
25 | 12" Rock Rip Rap | CY | 30
26 | Demo Existing Temporary Drainage Features ] | LS | 1
Channel C
27 | Excavation | CY | 15500
28 | Stockpile Excess Material Adjacent to Infastructure | CY | 15500
29 | 4' Pilot Channel | SY | 604
30 | Type 3 Turf Reinforcement Matting | SY | 2880
Channel 2
31 | Excavation | CY | 792
32 | Embankment | CY | 61
33 | 6' Pilot Channel | LF | 443
Channel 4
34 | Excavation | CY | 2088
35 | Embankment | CY | 137
36 | 4' Pilot Channel | LF | 275
SUBTOTAL
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 12" C909 Water Line | LF | 1382
2 | 12" D.I. | LF | 274
3 | Trench Excavation Safety Protection | LF | 1754
4 | Fire Hydrant Assembly (W/ Tee and Gate Valve) | EA | 3
5 | Existing Main Tie-in | EA | 1
6 | 12" Gate Valve MJ w/ box | EA | 4
7 | 2" - Temporary Blow Off | EA | 3
8 | 24" HPDE Encasement | LF | 236
9 | Bacterial and Hydrostatic Testing and Chlorination | LS | 1
10 | 8" C909 Water Line | LF | 98
11 | 8" Cap & Marker | EA | 1
12 | 20" Steel Encasement | LF | 100
13 | 8" Gate Valve MJ w/ box | EA | 1
14 | Irrigation Meter | EA | 1
15 | Pipe Fittings | TON | 2.3
SUBTOTAL
Greenspoint Unit 3C
DRY UTILITY IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Dry Utilities | LOT | 47
SUBTOTAL