## BID TABULATION
Client: Lennar Homes |  |  |  | GC
Project: Guajolote Ranch Unit 6
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | AMOUNT
SITE IMPROVMENTS
1 | Mobilization | LS | 1
2 | Import Water for Construction | LS | 1
SUBTOTAL
ON-SITE STREET IMPROVEMENTS
1 | Right-of-Way Excavation (See Note 7) | CY | 38928
2 | Right-of-Way Embankment | CY | 20515
3 | Remove Header Curb and Baricade Post | LF | 34
4 | 8.5" Flex Base | SY | 14026
5 | 17" Flex Base | SY | 5694
6 | Prime Coat | Gal | 3998
7 | Tack Coat | Gal | 1999
8 | Hot Mix Asphaltic Concrete Type D (2" Depth) | SY | 13027
9 | Hot Mix Asphaltic Concrete Type D (3" Depth) | SY | 5036
10 | Concrete Curbing | LF | 9364
11 | Concrete Sidewalks (Developer Responsibility, includes ADA ramps) | SY | 1428
12 | Commercial Concrete Driveway | EA | 3
13 | Barricade Posts | EA | 60
14 | R1-1 Stop (30") (High Intensity) | EA | 13
15 | OM4-3 End of Road Marker | EA | 30
16 | 9" Street Name, Block Number (High Intensity) | EA | 28
17 | Yellow 6" Solid Line - Thermoplastic with Type II C-R RPMS | LF | 816
18 | Traffic Button (Type II A-A) - BB (Blue) | EA | 10
SUBTOTAL
WATER DISTRIBUTION IMPROVEMENTS
1 | 8" PVC C-900 Class 235 DR 18 | LF | 5419
2 | 8" Gate Valve, MJ w/Valve Box | EA | 33
3 | 12" PVC C-900 Class 235 DR 18 | LF | 98
4 | 12" Gate Valve, MJ w/Valve Box | EA | 1
5 | Standard Fire Hydrant Assembly | EA | 10
6 | Ductile Iron Fittings | Ton | 7.2
7 | ¾" Single Service Meter w/ 5/8" Meter (Short) | EA | 68
8 | ¾" Single Service Meter w/ 5/8" Meter (Long) | EA | 34
9 | ¾" Irrigation Service Meter w/ 5/8" Meter | EA | 2
10 | 2" Blowoff (Temporary) | EA | 10
11 | 2" Blowoff (Permanent) | EA | 1
12 | Hydrostatic Testing | LS | 1
13 | Chlorination | LF | 5517
14 | Trench Excavation Protection | LF | 5517
15 | Joint Restraints | LS | 1
16 | Plastic Meter Box with Lid | EA | 104
SUBTOTAL
SANITARY SEWER IMPROVEMENTS (See Note 12)
1 | 8" Sanitary Sewer Pipe (6'-10' Deep) (SDR-26) | LF | 1546
2 | 8" Sanitary Sewer Pipe (10'-14' Deep) (SDR-26) | LF | 1192
3 | 12" Sanitary Sewer Pipe (6'-10' Deep) (SDR-26) | LF | 941
4 | 12" Sanitary Sewer Pipe (10'-14' Deep) (SDR-26) | LF | 509
5 | 12" Sanitary Sewer Pipe (14'-18' Deep) (SDR-26) | LF | 453
6 | 12" Sanitary Sewer Pipe (18'-22' Deep) (SDR-26) | LF | 1236
7 | Tie Existing Sewer Line | EA | 2
8 | Tie Existing Manhole | EA | 1
9 | Standard Manhole | EA | 31
10 | Drop Manhole | EA | 1
11 | Manhole Extra Depth | VF | 222
12 | Vertical Stacks | VF | 122
13 | 8" x 6" Wye | EA | 94
14 | Trench Excavation Protection | LF | 5877
15 | Camera Testing | LF | 5877
16 | 6" Sanitary Sewer Lateral (SDR-26) | LF | 3904
SUBTOTAL
DRAINAGE IMPROVEMENTS
1 | Excavation (See Notes 8, 10 and 13) | CY | 268027
2 | Embankment (See Note 9) | CY | 134941
3 | Baffle Blocks | CY | 5.8
4 | Reinforced Concrete Pipe (Class III)(24" Dia) | LF | 532
5 | Reinforced Concrete Pipe (Class III)(30" Dia) | LF | 316
6 | Reinforced Concrete Pipe (Class III)(36" Dia) | LF | 281
7 | Reinforced Concrete Pipe (Class III)(42" Dia) | LF | 22
8 | Reinforced Concrete Pipe (Class III)(48" Dia) | LF | 28
9 | Curb Inlet (Complete)(Type II) 10' | EA | 2
10 | Curb Inlet (Complete)(Type II) 15' | EA | 4
11 | Curb Inlet (Complete)(Type II) 20' | EA | 7
12 | Curb Inlet (Complete)(Type II) 30' | EA | 1
13 | Junction Box (Complete) 4' x 4' x 4' | EA | 1
14 | Junction Box (Complete) 5' x 5' x 5' | EA | 1
15 | Junction Box (Complete) 6' x 6' x 6' | EA | 1
16 | Concrete Collars | CY | 9.8
17 | 6" Concrete Rip-Rap | SY | 213
18 | 9" Concrete Toe-Downs | CY | 8
19 | 9" Rock Rubble | SY | 49
20 | 12" Rock Rubble | SY | 163
SUBTOTAL
DETENTION IMPROVEMENTS
1 | Basin B (Including Outfall Structure, Wet Well, Pump, Valves, Outfall Pipe, Electrical, Clearing, & Revegetation) | EA | 1
2 | Basin D (Including Outfall Structure, Wet Well, Pump, Valves, Outfall Pipe, Electrical, Clearing, & Revegetation) | EA | 1
3 | Basin E (Including Wet Well, Pump, Valves, Outfall Pipe, Electrical, Clearing, & Revegetation) | EA | 1
4 | Concrete Structural Walls (See Note 5) | CY | 3159
5 | Chain Link Wire Fence (4' High) for Basin Walls | LF | 1439
SUBTOTAL
WALL IMPROVEMENTS
1 | Chain Link Wire Fence (4' High) for Fill Walls | LF | 428
2 | Chain Link Wire Fence (8' High) for Fill Walls | LF | 105
SUBTOTAL
GUAJOLOTE EAST FORCE MAIN (See Note 17)
1 | 10-inch HDPE Force Main (DIPS, DR 13.5, Class 160) Open Cut | LF | 1461
2 | Tie 10-in HDPE Force Main to Existing MH | EA | 1
3 | Tie 10-in HDPE Force Main to Lift Station Force Main | EA | 1
4 | Force Main Testing | EA | 1
5 | Trench Protection (Force Main) | LF | 1461
SUBTOTAL
TPDES IMPROVEMENTS (WITHIN GUAJOLOTE RANCH UNIT 6 GRADING AREA - SEE COLLECTOR PHASE 4 SWPPP) (See note 15)
1 | Construction Entrance | EA | 1
2 | Concrete Washout Pit | EA | 1
3 | Silt Fence - Phase I | LF | 1000
4 | Silt Fence - Phase II | LF | 1000
5 | Rock Berm (18") | LF | 100
6 | TxDOT Type 3 Rock Berm (36") | LF | 100
7 | Gravel Filter Bags | LF | 1
8 | Revegetation (Hydromulch w/ 4" Top Soil)(Within 900 lots, outside of Basins) | AC | 5
9 | Straw Waddle | LS | 1
10 | Removal of TPDES installed for clearing that no longer needed | LS | 1
11 | Orange Fencing | LF | 500
12 | Temporary Stabilization | AC | 30
SUBTOTAL
MISC. IMPROVEMENTS (See Note 14)
1 | 1~6" PVC Sch 80 conduit (includes trenching) | LF | 100
2 | 2~6" PVC Sch 80 conduit (includes trenching) | LF | 100
3 | 3~6" PVC Sch 80 conduit (includes trenching) | LF | 100
4 | 1~6" PVC Sch 80 conduit, 2~4"PVC Sch 40 conduit (includes trenching) | LF | 100
5 | 2~6" PVC Sch 80 conduit, 2~4"PVC Sch 40 conduit (includes trenching) | LF | 2500
6 | 3~6" PVC Sch 80 conduit, 2~4"PVC Sch 40 conduit (includes trenching) | LF | 100
7 | 4~6" PVC Sch 80 conduit, 2~4"PVC Sch 40 conduit (includes trenching) | LF | 100
8 | Bonding & Insurance (5% Bid Bond, 100% Performance Bond, 100% Maintenance Bond) | LS | 1
9 | Construction Staking | LS | 1
SUBTOTAL
BID ALTERNATE
1 | Stockpile Excess Material | CY | 151499
SUBTOTAL
GUAJALOTE RANCH UNIT 6 TOTAL BASE BID
Notes:
1 | Contractor to field verify and survey the existing site topography and submit information to engineer prior to submitting final bid for verification.
No shrinkage or swelling factor is accounted for in the engineering excavation and embankment quantities. Contractor to adjust unit price as he
deems necessary to account for shrinkage and swelling.
2 | Includes Bid Bond and Warranty Assignments or Bonds per City of San Antonio Requirements.
3 | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal
are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If
any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to
signing the contract.
4 | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be
the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guaruntee himself
of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the
project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included,
whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
5 | Structural design will be provided for concrete walls to the contractor by the engineer. For bid and unit cost purposes, contractor shall assume design
will follow TxDOT spread footing retaining wall design provided with bid.
6 | Cast Iron fittings weights were determined by mechanical joint compact .
7 | This includes excavation and embankment within ROW of Unit 6 and future units 9 and 13, that are adjacent to Unit 6 is shown to be graded.
Additional excavation to street subgrade is only accounted for within proposed right-of-way of Unit 6. Future units 9 and 13 right-of-way should
not be over excavated to subgrade.
8 | Over-excavation volume behind behind proposed cut walls (3') is accounted for in drainage excavation volume.
9 | Backfill volume behind fill wall is accounted for in drainage embankment volume.
10 | Cut walls must be milled or sawcut. Hoe ramming is not allowed.
11 | Contractor to indicate if box culverts or inlets are cast in place or precast in their bid.
12 | If different contractors are selected for Guajolote Ranch Collector Phase 4 and Guajolote Ranch Unit 6, 12" sanitary sewer line A from station
19+16.73 through station 30+17.66 shall be moved to Guajolote Ranch Collector Phase 4 scope.
13 | Guajolote Ranch Unit 6 generates a significant amount of extra excavation material (limits of grading shown on grading plan). This amount is needed for
Guajolote Ranch Collector Phase 4 to balance. Therefore, if two separate contractor are selected for these projects, Unit 6 contractor should stockpile
the extra material for the Collector Phase 4 contractor to use.
14 | Conduit lengths are estimates for unit pricing only. CPS design is not available. Gas will be provided, but not by CPS.
15 | TPDES improvements quantities are estimates only, to be updated via addeddum.
16 | Per geotech report stratum I clays are expected to be be removed and replaced with on-site milled fill material with PI value of 20 or less.
This clay removal in areas of fill is not accounted for in the bid earthwork quantities.
17 | Contractor is responsible for the excavation, embankment, wall, fence, and driveway withing Guajolote East Lift Station, all included in these bid quantities. The actual Guajolote Ranch
East Lift Station will bid seperately in the upcoming weeks and will exclude these items.