## WATER
| Bid Proposal |  |  |  | 2024-06-30
Lonesome Dove Comm Unit 2 - 12" Water Line
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | QTY. | UNIT PRICE | COST
PHASE I
1 | Tie to existing 16" main | EA | 1 | $ | $
2 | Tie to existing 8" main | EA | 1 | $ | $
3 | 12" C-900 Class 235 PVC (DR-18) Pipe | LF | 1223 | $ | $
4 | 12" Gate Valve, MJ w/ Box, Complete | EA | 2 | $ | $
5 | 16" Gate Valve, MJ w/ Box, Complete | EA | 1 | $ | $
6 | Standard Fire Hydrant | EA | 2 | $ | $
7 | 2" Blowoff (Temporary) | EA | 2 | $ | $
8 | D.I. Fittings | TON | 1.99 | $ | $
9 | Trench Protection | LF | 1223 | $ | $
10 | Hydrostatic Test | EA | 1 | $ | $
11 | Chlorination | LF | 1223 | $ | $
SUBTOTAL |  |  |  |  | 0
TOTAL |  |  |  |  | 0
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date