## Lift Station #3
MAYFAIR - LIFT STATION #3 AND FORCE MAIN
UNIT PRICES
Date
BIDDER'S FULL NAME
Address
City, State, Zip
|  | Milestone #1-Substantial Completion (days): |  |  | BASE BID AMOUNT: | 0
Milestone #2-Final Completion (days):
1 | The Undersigned proposes to furnish all labor, services, materials, tools and necessary equipment for the construction of various improvements and to perform the work required at the locations set out by the Plans and Specifications, in strict accordance with the Contract Documents.
2 | In submitting this Bid, it is understood that this Bid may not be altered or withdrawn for a minimum of 90 calendar days, and that the Owner has reserved the right to reject any and all Bids.
3 | The Undersigned certifies that this Bid is made in good faith, without collusion or connection with any other person, persons, partnership, company, firm, association, or corporation offering Bids on this work, for the following sum or prices to wit:
SIGNATURES
Authorized Signing Officer, Title
SIGNATURES
Authorized Signing Officer, Title
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE |  | AMOUNT
LIFT STATION
| 1 | Stripping and Site Preparation to Include Clearing, Grubbing, and Grading (Unusable Cleared Material to be Chipped and Hauled Offsite), Complete in Place | LS | 1 | 0 |  | 0
| 2 | 8-ft Diameter Fiberglass Wet Well and Concrete Slab, Complete in Place | LS | 1 | 0 |  | 0
| 3 | Davit Crane and Manual Hoist, Complete in Place | EA | 1 | 0 |  | 0
| 4 | Piping and Valving, Complete in Place | LS | 1 | 0 |  | 0
| 5 | Submersible Non-Clog Pumps per Plans and Specifications | EA | 3 | 0 |  | 0
| 6 | Electrical Service and Wiring with Pump Control Panel and SCADA, Complete in Place | LS | 1 | 0 |  | 0
| 7 | Emergency Generator and Pad, Complete in Place | LS | 1 | 0 |  | 0
| 8 | 1-Inch Freeze-Proof Potable Water Service with Hose Bib and Vacuum Breaker, Wilkins 375XL RP Backflow Prevention Assembly, Complete in Place | LS | 1 | 0 |  | 0
| 9 | 1-Inch Water Service Line ASTM B88 Type K Annealed Seamless Copper | LF | 31 | 0 |  | 0
| 10 | 250-Gallon Vertical, Non-Opaque Polyethylene Tank with fittings per Plans, Complete in Place | EA | 1 | 0 |  | 0
| 11 | Concrete Pavement per Plans and Specifciations | SY | 477 | 0 |  | 0
| 12 | 6" Cement Treated Subgrade | SY | 563 | 0 |  | 0
| 13 | Weed Barrier and 6" Thick TxDOT Grade 1 Crushed Stone Course Aggregate | AC | 0.4 | 0 |  | 0
| 14 | 3-ft Wide Pedestrian Access Gate w/ D-Bolt, Complete in Place | EA | 1 | 0 |  | 0
| 15 | 20-ft Wide Automatic Sliding Facility Gate, Complete in Place | EA | 1 | 0 |  | 0
| 16 | 8-ft Tall Masonry Wall, Complete in Place | LF | 456 | 0 |  | 0
| 17 | 8-Inch Removable Steel Bollard | EA | 21 | 0 |  | 0
| 18 | 6-Inch Concrete Filled Bollards, Complete in Place | EA | 7 | 0 |  | 0
| 19 | 6-Inch Removalble Bollard with D-Bolt Anchors, Complete in Place | EA | 1 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
FORCE MAIN AND SANITARY SEWER LINE
| 1 | Trench Safety System | LF | 5552 | 0 |  | 0
| 2 | 8-Inch ASTM 2241 SDR 21 Sanitary Sewer Force Main, With Tracer Tape, Open Cut, All Depths, Complete in Place | LF | 4411 | 0 |  | 0
| 3 | 18-Inch Steel Encasement Pipe, Min. 0.25" Thickness, Open Cut, All Depths, Complete in Place | LF | 120 | 0 |  | 0
| 4 | 15-Inch ASTM D3034 SDR 26 PVC Sanitary Sewer Gravity, With Tracer Tape, Open Cut, All Depths, Complete in Place | LF | 973.6 | 0 |  | 0
| 5 | 12-Inch ASTM D3034 SDR 26 PVC Sanitary Sewer Gravity, With Tracer Tape, Open Cut, All Depths, Complete in Place | LF | 108.7 | 0 |  | 0
| 6 | 8-Inch ASTM D3034 SDR 26 PVC Sanitary Sewer Gravity, With Tracer Tape, Open Cut, All Depths, Complete in Place | LF | 58.7 | 0 |  | 0
| 7 | Ductile Iron Fittings (All Sizes) | Ton | 0.679 | 0 |  | 0
| 8 | City of New Braunfels Sanitary Sewer 4-ft Diameter Pre-cast Concrete Manhole | EA | 7 | 0 |  | 0
| 9 | Extra Depth Pre-cast Concrete Manhole, 4-ft Dia. | VF | 63 | 0 |  | 0
| 10 | City of New Braunfels Sanitary Sewer 5-ft Diameter Polymer Concrete Drop Manhole | EA | 1 | 0 |  | 0
| 11 | Extra Depth Pre-cast Polymer Conncrete Drop Manhole, 5-ft Dia. | VF | 11 | 0 |  | 0
| 12 | City of New Braunfels Sanitary Sewer 6-ft Diameter Pre-cast Polymer Concrete Manhole | EA | 1 | 0 |  | 0
| 13 | Extra Depth Pre-cast Polymer Concrete Manhole, 6-ft Dia. | VF | 2 | 0 |  | 0
| 14 | 8-Inch Plug Valve and Valve Box, Complete in Place | EA | 4 | 0 |  | 0
| 15 | Connection to Existing Manhole | EA | 1 | 0 |  | 0
| 16 | Bypass Pumping for 24-Inch Wastewater Line | LS | 1 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ACCESS ROAD
| 1 | Gravel Access Road per Plans and Specifications | SY | 3896 | 0 |  | 0
| 2 | Drainage Excavation | CY | 11059 | 0 |  | 0
| 3 | Stockpile Excess Material | CY | 11059 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
STORM WATER POLLUTION PREVENTION PLAN
| 1 | Compliance with the Texas Commission on Environmental Quality’s (TCEQ) Texas Pollutant Discharge Elimination System (TPDES) regulations under the State of Texas General Permit No. TXR150000, including Storm Water Pollution Prevention Plan (SWPPP) preparation, filing, installation, maintenance, inspections, reporting, etc. as required by said permit. | LS | 1 | 0 |  | 0
| 2 | Reinforced Filter Fabric Fence, Complete in Place | LF | 3805 | 0 |  | 0
| 3 | Hydroseeding with Mulch for Erosion Control | AC | 8.5 | 0 |  | 0
| 4 | Rock Berm | LF | 185 | 0 |  | 0
| 5 | Stabilized Construction Entrance | EA | 1 | 0 |  | 0
[5 empty] | SUBTOTAL | 0 | 0
| MAYFAIR - LIFT STATION #3 AND FORCE MAIN - BASE BID: | [5 empty] | 0