## Meyer Ranch Unit 16
MEYER RANCH UNIT 16
UNIT PRICES
ADDENDUM NO. 1
Date
BIDDER'S FULL NAME
Address
City, State, Zip
|  | CONTRACT TIME |  |  | BASE BID AMOUNT: | 0
1 | The Undersigned proposes to furnish all labor, services, materials, tools and necessary equipment for the construction of various improvements and to perform the work required at the locations set out by the Plans and Specifications, in strict accordance with the Contract Documents.
2 | In submitting this Bid, it is understood that this Bid may not be altered or withdrawn for a minimum of 90 calendar days, and that the Owner has reserved the right to reject any and all Bids.
3 | The Undersigned certifies that this Bid is made in good faith, without collusion or connection with any other person, persons, partnership, company, firm, association, or corporation offering Bids on this work, for the following sum or prices to wit:
SIGNATURES
Authorized Signing Officer, Title
SIGNATURES
Authorized Signing Officer, Title
| ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE |  | AMOUNT
ONSITE STREETS
| 1 | 50' ROW (Clay Subgrade)
|  | a. 3" Type D HMAC (Gutter to Gutter) | SY | 16445 | 0 |  | 0
|  | b. 7" Flexible (Granular) Base (1' Behind Back of Curb) | SY | 19835 | 0 |  | 0
|  | c. 6" Lime Treated Subgrade (1' Behind Back of Curb) | SY | 19835 | 0 |  | 0
| 2 | 50' ROW (Rock Subgrade)
|  | a. 3" Type D HMAC (Gutter to Gutter) | SY | 5830 | 0 |  | 0
|  | b. 7" Flexible (Granular) Base (1' Behind Back of Curb) | SY | 6910 | 0 |  | 0
| 3 | 60' ROW (Clay Subgrade)
|  | a. 2" Type D HMAC (Gutter to Gutter) | SY | 3730 | 0 |  | 0
|  | b. 2" Type C/D HMAC (Gutter to Gutter) | SY | 3730 | 0 |  | 0
|  | c. 14" Flexible (Granular) Base (1' Behind Back of Curb) | SY | 4370 | 0 |  | 0
|  | d. 6" Lime Treated Subgrade (1' Behind Back of Curb) | SY | 4370 | 0 |  | 0
| 4 | 60' ROW (Rock Subgrade)
|  | a. 3" Type D HMAC (Gutter to Gutter) | SY | 1918 | 0 |  | 0
|  | b. 8" Flexible (Granular) Base (1' Behind Back of Curb) | SY | 2259 | 0 |  | 0
| 5 | Temporary Turn Around
|  | a. 1.5" Type D HMAC | SY | 795 | 0 |  | 0
|  | b. 6" Flexible (Granular) Base | SY | 795 | 0 |  | 0
| 6 | Revegetation (Hydromulch) Parkways | SY | 16515 | 0 |  | 0
| 7 | Sidewalk | SY | 1180 | 0 |  | 0
| 8 | Sidewalk Ramps | EA | 20 | 0 |  | 0
| 9 | 7" Concrete Curb and Gutter | LF | 16340 | 0 |  | 0
| 10 | Remove Header Curb & Barricade Post | LF | 66 | 0 |  | 0
| 11 | Header Curb | LF | 126 | 0 |  | 0
| 12 | Barricade Posts | EA | 20 | 0 |  | 0
| 13 | Striping and Signage | LS | 1 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ROBISON WAY EXTENSION
| 1 | 50' ROW (Local Clay)
|  | a. 3" Type D HMAC (Gutter to Gutter) | SY | 437 | 0 |  | 0
|  | b. 7" Flexible (Granular) Base (1' Behind Back of Curb) | SY | 533 | 0 |  | 0
|  | c. 6" Lime Treated Subgrade (1' Behind Back of Curb) | SY | 533 | 0 |  | 0
| 2 | Revegetation (Hydromulch) Parkways | SY | 225 | 0 |  | 0
| 3 | Sidewalk | SY | 68 | 0 |  | 0
| 4 | Sidewalk Ramps | EA | 2 | 0 |  | 0
| 5 | 7" Concrete Curb and Gutter | LF | 291 | 0 |  | 0
| 6 | 12" Rock Rubble | SY | 40 | 0 |  | 0
| 7 | 6'x3' Single Box Culvert | LF | 50 | 0 |  | 0
| 8 | Reinforced Concrete Class 'A'
|  | a. SW-0 Headwall | CY | 7 | 0 |  | 0
|  | b. Baffle Blocks | CY | 0.5 | 0 |  | 0
| 9 | Landlok TRM 450 (TP-TRM) | SY | 1770 | 0 |  | 0
| 10 | Demo Existing Curb | LF | 82 | 0 |  | 0
| 11 | Trench Protection | LF | 50 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ONSITE WATER DISTRIBUTION
| 1 | 8" PVCO C-909 PC 235 | LF | 6265 | 0 |  | 0
| 2 | 8" DICL CL350 | LF | 360 | 0 |  | 0
| 3 | 12" DICL CL350 | LF | 1465 | 0 |  | 0
| 4 | 8" Gate Valve, MJ w/ Valve Box | EA | 35 | 0 |  | 0
| 5 | 12" Gate Valve, MJ w/ Valve Box | EA | 8 | 0 |  | 0
| 6 | Standard Fire Hydrant Assembly | EA | 14 | 0 |  | 0
| 7 | Ductile Iron Fittings | TON | 7.3 | 0 |  | 0
| 8 | 2" Galvanized Temporary Flush | EA | 3 | 0 |  | 0
| 9 | 2" Autoflush (Permanent) | EA | 3 | 0 |  | 0
| 10 | 1" Irrigation Service | EA | 2 | 0 |  | 0
| 11 | 1" Single Service, Short | EA | 66 | 0 |  | 0
| 12 | 1" Single Service, Long and 2" SCH 40 sleeve | EA | 5 | 0 |  | 0
| 13 | 1.5" Dual Service, Long and 4" SCH 40 sleeve | EA | 45 | 0 |  | 0
| 14 | Hydrostatic Testing | LS | 1 | 0 |  | 0
| 15 | Trench Excavation Protection | LF | 8090 | 0 |  | 0
| 16 | Tie Into Existing Water Main | EA | 2 | 0 |  | 0
| 17 | Meter Box | EA | 163 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ONSITE EARTHWORK, CLEARING, AND SWPPP
| 1 | Clearing (ROW) | AC | 10.21 | 0 |  | 0
| 2 | Clearing (Drainage and Basin) | AC | 10.39 | 0 |  | 0
| 3 | Excavation (Streets) | CY | 33855 | 0 |  | 0
| 4 | Embankment (Streets) | CY | 31860 | 0 |  | 0
| 5 | Excavation (Drainage and Basin) | CY | 22610 | 0 |  | 0
| 6 | Embankment (Drainage and Basin) | CY | 1155 | 0 |  | 0
| 7 | Excavation, Processing and Placement | CY | 45985 | 0 |  | 0
| 8 | Excavation, Processing and Placement (Future Basin) | CY | 56170 | 0 |  | 0
| 9 | TPDES | LS | 1 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ONSITE LOT EARTHWORK
| 1 | Clearing (Lots) | AC | 37.26 | 0 |  | 0
| 2 | Excavation (Lots) | CY | 93920 | 0 |  | 0
| 3 | Embankment (Lots) | CY | 219525 | 0 |  | 0
| 4 | Gravity Retaining Wall | FF | 23115 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ONSITE DRAINAGE
| 1 | Landlok TRM 450 (TP-TRM) | SY | 3990 | 0 |  | 0
| 2 | Curlex Single Net Erosion Control Blankets | SY | 5500 | 0 |  | 0
| 3 | 12" Rock Rubble | SY | 253 | 0 |  | 0
| 4 | 18" RCP | LF | 303.43 | 0 |  | 0
| 5 | 24" RCP | LF | 764.65 | 0 |  | 0
| 6 | 30" RCP | LF | 31.17 | 0 |  | 0
| 7 | 36" RCP | LF | 1047.29 | 0 |  | 0
| 8 | 48" RCP | LF | 32.78 | 0 |  | 0
| 9 | 54" RCP | LF | 193.19 | 0 |  | 0
| 10 | 6' x 3' Single Box Culvert | LF | 112.02 | 0 |  | 0
| 11 | Reinforced Concrete Class 'A'
|  | a. 15' Type CI Curb Inlet | EA | 7 | 0 |  | 0
|  | b. 15' Type CII Curb Inlet | EA | 9 | 0 |  | 0
|  | c. 20' Type CI Curb Inlet | EA | 1 | 0 |  | 0
|  | d. 20' Type CII Curb Inlet | EA | 1 | 0 |  | 0
|  | e. 4' x 4' 4-Way Inlet | EA | 1 | 0 |  | 0
|  | f. RH-15 Headwall | CY | 21 | 0 |  | 0
|  | g. Baffle Blocks | CY | 2.7 | 0 |  | 0
| 12 | 6" Concrete Rip Rap | SY | 500 | 0 |  | 0
| 13 | 4'x4' Junction Box | EA | 2 | 0 |  | 0
| 14 | 5'x5' Junction Box | EA | 5 | 0 |  | 0
| 15 | 7'x7' Junction Box | EA | 1 | 0 |  | 0
| 16 | Demo Existing 6" Rip Rap | SY | 91 | 0 |  | 0
| 17 | Demo Existing PW-1 Headwall | LS | 1 | 0 |  | 0
| 18 | Tie Into Existing 36" RCP | EA | 2 | 0 |  | 0
| 19 | Trench Excavation Protection | LF | 2484.53 | 0 |  | 0
| 20 | Hydromulch | SY | 22540 | 0 |  | 0
| 16 | Basin (includes: 6" PVC pipe, 6" topsoil w/ Black Sod, 1' clay liner, | LS | 1 | 0 |  | 0
6" butterfly valve, flapper valve, controller and solar battery, riser pipe and trash rack, baffle blocks, landlok, curlex, pilot channel, hydromulch etc.)
[5 empty] | SUBTOTAL |  | 0
ONSITE CONDUITS
| 1 | 1~3" Primary Conduit | LF | 7675 | 0 |  | 0
| 2 | 2~3" Primary Conduit | LF | 200 | 0 |  | 0
| 3 | 3~3" Primary Conduit | LF | 915 | 0 |  | 0
| 4 | 5~3" Primary Conduit | LF | 50 | 0 |  | 0
| 5 | 4~4" Primary Conduit | LF | 1560 | 0 |  | 0
| 6 | 1~3" Secondary Conduit | LF | 4905 | 0 |  | 0
| 7 | 3" Secondary Conduit Stub outs (5 LF Each) | LF | 800 | 0 |  | 0
| 8 | 3Ø 200A 3 Place Primary Pull box Foundation | EA | 3 | 0 |  | 0
| 9 | 3Ø 600A 3 Place Primary Pull box Foundation | EA | 1 | 0 |  | 0
| 10 | 3 Place 1Ø Primary Pull box Foundation | EA | 4 | 0 |  | 0
| 11 | 1Ø Pad mount Transformer Foundation | EA | 33 | 0 |  | 0
| 12 | Secondary Pull box | EA | 73 | 0 |  | 0
| 13 | PSE9 Pad mount Switchgear Foundation | EA | 3 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
ONSITE SANITARY SEWER
| 1 | 8" Sanitary Sewer Pipe
|  | 6' to 8' Deep (SDR-26) | LF | 98 | 0 |  | 0
|  | 8' to 10' Deep (SDR-26) | LF | 1100 | 0 |  | 0
|  | 10' to 12' Deep (SDR-26) | LF | 1966 | 0 |  | 0
|  | 12' to 14' Deep (SDR-26) | LF | 1281 | 0 |  | 0
|  | 14' to 16' Deep (SDR-26) | LF | 1141 | 0 |  | 0
|  | 16' to 18' Deep (SDR-26) | LF | 519 | 0 |  | 0
|  | 18' to 20' Deep (SDR-26) | LF | 443 | 0 |  | 0
|  | 20'+ Deep (SDR-26) | LF | 505 | 0 |  | 0
| 2 | Standard Manhole | EA | 39 | 0 |  | 0
| 3 | Drop Manhole | EA | 5 | 0 |  | 0
| 4 | 8" Cap | EA | 2 | 0 |  | 0
| 5 | Manhole Extra Depth >6' | VF | 318 | 0 |  | 0
| 6 | Tie to Existing Sewer Main | EA | 2 | 0 |  | 0
| 7 | 6" Vertical Stacks | VF | 363 | 0 |  | 0
| 8 | Trench Excavation Protection | LF | 7053 | 0 |  | 0
| 9 | Camera Testing | LF | 7053 | 0 |  | 0
| 10 | 8"X6" Tee | EA | 67 | 0 |  | 0
| 11 | 6" Lateral (SDR-26) (Single) (Short) | EA | 6 | 0 |  | 0
| 12 | 6" Lateral (SDR-26) (Single) (Long) | EA | 7 | 0 |  | 0
| 13 | 6" Lateral (SDR-26) (Dual) (Short) | EA | 48 | 0 |  | 0
| 14 | 6" Lateral (SDR-26) (Dual) (Long) | EA | 27 | 0 |  | 0
[5 empty] | SUBTOTAL |  | 0
|  | MEYER RANCH UNIT 16 BASE BID: |  |  |  |  | 0
ALTERNATES
| 1 | Alternate #1: 50' ROW Street Pavement Section (Clay Subgrade)
|  | a. 3" Type D HMAC (Gutter to Gutter) | SY | 16445 | 0 |  | 0
|  | b. 7" Mechanically Stabilized Layer (1' Behind Back of Curb) | SY | 19835 | 0 |  | 0
|  | c. 6" Lime Treated Subgrade (1' Behind Back of Curb) | SY | 19835 | 0 |  | 0
|  |  |  | ALTERNATE #1 SUBTOTAL |  |  | 0
| 2 | Alternate #2: 60' ROW Street Pavement Section (Clay Subgrade)
|  | a. 2" Type D HMAC (Gutter to Gutter) | SY | 3730 | 0 |  | 0
|  | b. 2" Type C/D HMAC (Gutter to Gutter) | SY | 3730 | 0 |  | 0
|  | c. 12" Mechanically Stabilized Layer (1' Behind Back of Curb) | SY | 4370 | 0 |  | 0
|  | d. 6" Lime Treated Subgrade (1' Behind Back of Curb) | SY | 4370 | 0 |  | 0
|  |  |  | ALTERNATE #2 SUBTOTAL |  |  | 0
| 3 | Alternate #3: Irrigation Conduits
|  | a. 4" Schedule 40 PVC Irrigation Sleeve | SY | 330 | 0 |  | 0
|  | b. 6" Schedule 80 PVC Irrigation Sleeve | SY | 660 | 0 |  | 0
|  |  |  | ALTERNATE #3 SUBTOTAL |  |  | 0
| 4 | Alternate #4: Guadalupe Valley Telecommunications Cooperative, Inc. Improvements
|  | a. Buried 2" PVC Pipe | SY | 10400 | 0 |  | 0
|  | b. Buried 4" PVC Pipe | SY | 7675 | 0 |  | 0
|  | c. #6 Copper Wire | SY | 80 | 0 |  | 0
|  | d. Pull Strap | SY | 15305 | 0 |  | 0
|  | e. Joint Trench | SY | 12580 | 0 |  | 0
|  |  |  | ALTERNATE #4 SUBTOTAL |  |  | 0
| 5 | Haul Off Material from Street and Drainage Excavation | CY | 56465 | 0 |  | 0
|  |  |  | ALTERNATE #5 SUBTOTAL |  |  | 0