## Unit 1 Development
HERITAGE OAKS SUBDIVISION
UNIT 1 ENGINEER'S BID TAB
DEMOLITION
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
1 |  | CLEARING AND GRUBBING | AC | 7 |  | 0
2 |  | REMOVE AND DISPOSE EXISTING C.C.M.A. REUSE WATER LINE AND APPURTENANCES | LF | 1590 |  | 0
3 |  | REMOVE AND DISPOSE EXISTING PAVEMENT AND BASE (WIEDERSTEIN ROAD) | SY | 4700 |  | 0
4 |  | REMOVE AND DISPOSE EXISTING PAVEMENT BASE MATERIAL (G.V.E.C. SUBSTATION ACCESS ROAD) | SY | 950 |  | 0
DEMOLITION SUBTOTAL | [5 empty] | 0
WATERLINES
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
5 | 7049-6012 | WATER MAIN PIPE (PVC) (8IN) (C-900) | LF | 8040 |  | 0
6 |  | 16" STEEL CASING PIPE | LF | 93 |  | 0
7 | 7196-6001 | TRENCH EXCAVATION PROTECTION | LF | 7690 |  | 0
8 | 7049-6076 | 1-1/2" SERVICE LINE SHORT SIDE | EA | 5 |  | 0
9 | 7049-6077 | 1-1/2" SERVICE LINE LONG SIDE | EA | 3 |  | 0
10 | 7049-6077 | 1-1/2" SERVICE LINE SHORT SIDE (DUAL) | EA | 36 |  | 0
11 | 7049-6077 | 1-1/2" SERVICE LINE LONG SIDE (DUAL) | EA | 19 |  | 0
10 | 7049-6104 | FIRE HYDRANT ASSEMBLY | EA | 12 |  | 0
11 | 7049-6140 | TIE-IN TO EXISTING WATER SYSTEM (PRESSURE CONNECTION) | EA | 3 |  | 0
12 |  | TESTING | LS | 1 |  | 0
WATERLINES SUBTOTAL | [5 empty] | 0
C.C.M.A. WATERLINE
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
13 |  | TRENCH PROTECTION | LF | 1930 |  | 0
14 |  | 12" PVC C910 C.C.M.A. REUSE WATER PIPE (PURPLE PIPE) AND TRACER WIRE | LF | 1930 |  | 0
15 |  | 20" STEEL CASING PIPE | LF | 80 |  | 0
16 |  | TIE-IN TO EXISTING 12" REUSE WATER SYSTEM (PRESSURE CONNECTION) | EA | 2 |  | 0
17 |  | NEW 12" PVC PIPE TESTING | LS | 1 |  | 0
C.C.M.A. WATERLINE SUBTOTAL | [5 empty] | 0
SANITARY SEWERS
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
18 | 7168 6010 | 8" PVC SDR-35 GRAVITY SANITARY SEWER PIPE (0-6 FEET DEPTH) | LF | 490 |  | 0
19 | 7168 6013 | 8" PVC SDR-35 GRAVITY SANITARY SEWER PIPE (6-10 FEET DEPTH) | LF | 3780 |  | 0
20 | 7168 6014 | 8" PVC SDR-26 GRAVITY SANITARY SEWER PIPE (> 10 FEET DEPTH) | LF | 2110 |  | 0
21 |  | 16" STEEL CASING PIPE | LF | 102 |  | 0
22 | 7017 6073 | 6" SHORT SERVICE LATERAL (SDR-35 PVC) WITH CLEANOUT | EA | 52 |  | 0
23 | 7017 6073 | 6" LONG SERVICE LATERAL (SDR-35 PVC) WITH CLEANOUT | EA | 66 |  | 0
24 | 7017 6051 | 5' SANITARY SEWER MANHOLE | EA | 55 |  | 0
25 | 7017 6051 | 5' DOGHOUSE MANHOLE DROP STRUCTURE | EA | 2 |  | 0
26 | 7087 6062 | TIE-IN TO EXISTING GRAVITY SANITARY SEWER | LS | 2 |  | 0
27 |  | SANITARY SEWER TESTING | LS | 1 |  | 0
28 |  | TRENCH PROTECTION (DIETZ CREEK) | LF | 6380 |  | 0
SANITARY SEWERS SUBTOTAL | [5 empty] | 0
STORM SEWERS
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
29 |  | 5' CONCRETE CURB INLET | EA | 29 |  | 0
30 |  | 10' CONCRETE CURB INLET | EA | 4 |  | 0
31 |  | 2' x 2' GRATE INLET | EA | 3 |  | 0
32 |  | 4'X2' CONC BOX CULVERT | LF | 65 |  | 0
33 | 466 2049 | 4'X2' SAFETY END TREATMENT - FW-0 | EA | 2 |  | 0
34 |  | 5' DIA STORM MANHOLE | EA | 28 |  | 0
35 |  | 24" CULVERT PIPE SAFETY END TREATMENT | EA | 3 |  | 0
36 |  | 24" DIA RCP STORM SEWER PIPE | LF | 3355 |  | 0
37 |  | 30" DIA RCP STORM SEWER PIPE | LF | 725 |  | 0
38 |  | 6" CONCRETE RIPRAP | SY | 25 |  | 0
39 |  | 6" D50 ROCK RIPRAP | SY | 70 |  | 0
STORM SEWERS SUBTOTAL | [5 empty] | 0
DRAINAGE CHANNELS
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
40 |  | 36' WIDE CONCRETE DRAINAGE CHANNEL | SY | 9850 |  | 0
41 |  | SEAL SLAB | SY | 3800 |  | 0
42 |  | 5' CONCRETE PILOT CHANNEL | SY | 290 |  | 0
43 |  | WOOD FENCE (ONLY SOUTH SIDE CHANNEL PH. 1) | LF | 1980 |  | 0
44 |  | MAINTENANCE ACCESS GATE | EA | 1 |  | 0
45 |  | SIDEWALK DRAIN/CURB OPENING | EA | 4 |  | 0
46 |  | 6" D50 ROCK RIPRAP | SY | 290 |  | 0
47 |  | 14" D50 ROCK RIPRAP | SY | 230 |  | 0
48 |  | ARTICULATED CONCRETE BLOCK | SY | 590 |  | 0
DRAINAGE CHANNELS SUBTOTAL | [5 empty] | 0
GRADING
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
49 |  | ROAD CUT AND STRUCTURAL FILL (ON-SITE) | CY | 9000 |  | 0 | ROAD CUT AND FILL
50 |  | EXCAVATION AND REMOVAL OFFSITE | CY | 12000 |  | 0 | EXCAVATE AND HAUL OFF
51 |  | EXCAVATION AND STOCKPILE | CY | 9000 |  | 0 | EXCAVATE AND STOCKPILE FOR USE ON LOTS
52 |  | EXCAVATED MATERIAL (HAUL OFFSITE) | CY | 2000 |  | 0 | TRENCH SPOIL
53 |  | ROCK EXCAVATION (CHANNEL, SEWERS, & ROADS) | CY | 5000 |  | 0 | Rock Excavation
53a |  | LOT GRADING CUT | CY | 4251 |  | 0
53b |  | LOT GRADING FILL | CY | 33836 |  | 0 | CONTRACTOR SHALL USE MATERIALS CALLED OUT AS HAUL OFF OR STOCK PILE FOR LOT GRADING
GRADING SUBTOTAL | [5 empty] | 0
PAVEMENT, STRIPING AND SIGNAGE
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
54 | 205.4 | 7" HMAC PAVEMENT (WIEDERSTEIN RD ONLY) | SY | 7910 |  | 0
55 |  | 10" AGGREGATE BASE (WIEDERSTEIN RD ONLY) | SY | 9200 |  | 0
56 | 205.4 | 3" HMAC PAVEMENT (ALL BUT WIEDERSTEIN) | SY | 20930 |  | 0
57 |  | 10" AGGREGATE BASE (ALL BUT WIEDERSTEIN) | SY | 23950 |  | 0
58 |  | LIME TREATED SUBGRADE (6" COMPACTED DEPTH) | SY | 23950 |  | 0
59 |  | STREET STRIPING | LS | 1 |  | 0
60 | 500.4 | 6" CURB AND GUTTER | LF | 12930 |  | 0
61 |  | FLUSH CURB | LF | 5320 |  | 0
62 | 529 6032 | VALLEY GUTTER | LF | 820 |  | 0
63 | 502.1 | 4" CONCRETE SIDEWALK, 5' WIDE | SY | 660 |  | 0
64 | 502.1 | 6" CONCRETE SIDEWALK, 10' WIDE | SY | 2110 |  | 0
65 |  | 10' CONCRETE TRAIL | SY | 2130 |  | 0
66 | 531 2040 | CURB RAMP W/ DETECTABLE WARNING | EA | 25 |  | 0
67 | 531.3 | STOP SIGN | EA | 12 |  | 0
68 |  | EMERGENCY ACCESS SIGN | EA | 2 |  | 0
69 | 531.53 | EMERGENCY ACCESS GATE | EA | 2 |  | 0
70 |  | END OF STREET BARRICADES - TYPE 1 | EA | 3 |  | 0
71 | 531.6 | SPEED LIMIT SIGN | EA | 2 |  | 0
72 | 531.6 | PEDESTRIAN CROSSING SIGN | EA | 2 |  | 0
73 | 531.1 | STREET SIGN | EA | 14 |  | 0
74 |  | TRAFFIC CONTROL (SCHERTZ PARKWAY) | LS | 1 |  | 0
PAVEMENT, STRIPING AND SIGNAGE SUBTOTAL | [5 empty] | 0
EROSION CONTROL AND RESTORATION
ITEM | SPEC. NO. | DESCRIPTION | UNIT | QUANTITY | COST/UNIT ($) | TOTAL ($)
75 | 506-6038 | SEDIMENT CONTROL FENCE (INSTALL) | LF | 5145 |  | 0
76 | 506-6039 | SEDIMENT CONTROL FENCE (REMOVE) | LF | 5145 |  | 0
77 | 506-6001 | ROCK FILTER DAMS TYPE 1 (INSTALL) | LF | 310 |  | 0
78 | 506-6011 | ROCK FILTER DAMS (REMOVE) | LF | 310 |  | 0
79 | 540.1 | CURB INLET GRAVEL FILTERS | LF | 240 |  | 0
80 | 506-6020 | CONSTRUCTION EXIT TYPE 1 (INSTALL) | SY | 210 |  | 0
81 | 506-6024 | CONSTRUCTION EXIT (REMOVE) | SY | 210 |  | 0
82 |  | CONCRETE WASHOUT PIT | EA | 1 |  | 0
83 | 520.1 | HYDRO-MULCHING | AC | 6 |  | 0
EROSION CONTROL AND RESTORATION SUBTOTAL | [5 empty] | 0
CONSTRUCTION COST TOTAL …............................................................................................... | [5 empty] | 0
NOTES:
1) ELECTRIC AND OTHER DRY UTILITY COSTS NOT INCLUDED
2) TWO BRIDGES INCLUDING ALL APPURTENANCES IN FUTURE PHASE
3) PERIMETER MASONRY WALL IN FUTURE PHASE
4) TREE PROTECTION AND MITIGATION NOT INCLUDED
5) RETAINING WALLS FOR LOTS NOT INCLUDED
6) WOOD FENCING ON NORTH SIDE OF CHANNEL IN FUTRE PHASE
7) GRADING QUANTITIES FOR PUBLIC INFRASTRUCTURE ONLY
8) PAVEMENT QUANTITIES BASED ON NON-ROCK SECTIONS
9) SIDEWALKS TO BE BUILT BY LOT OWNERS ARE NOT INCLUDED