## Summary
2026-05-12
|  |  | Job No. | 205-29-05
BID PROPOSAL SCHEDULE
PARKLANDS II UNIT 4
BID SUMMARY
BIDDER'S NAME: _______________________________________
PARKLANDS II UNIT 4
| SEDIMENTATION AND EROSION CONTROL |  |  | $
| GRADING IMPROVEMENTS |  |  | $
| STREET IMPROVEMENTS |  |  | $
| SANITARY SEWER IMPROVEMENTS |  |  | $
| WATER IMPROVEMENTS |  |  | $
| DRAINAGE IMPROVEMENTS |  |  | $
|  |  | TOTAL BASE BID: | $
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
*** | Contractor shall provide proof of compaction testing as tested by a Geotechnical Engineer to comply with the Geotechnical report. Cost of first time testing to be paid by owner. Cost of required re-testing shall be paid by Contractor.
Bidders Initials
Date

## TPDES
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
SEDIMENTATION & EROSION CONTROL
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Stabilized Construction Entrance | EA | 1 |  | $ | $
2 | Concrete Washout Pit | EA | 1 |  | $ | $
3 | Silt Fence | LF | 3074.71 |  | $ | $
4 | Silt Fence (Phase 2) | LF | 12547.17 |  | $ | $
6 | Inlet Protection | LF | 52 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## GRADING
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
GRADING IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Clearing & Grubbing | AC | 10.54 |  | $ | $
2 | Lot Excavation | CY | 15521.66 |  | $ | $
3 | Lot Embankment | CY | 16879.15 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | All final lot grading shall be compacted in accordance with notes on the Grading Plan.
** | Contractor shall account for any shrinkage/swelling of soil material within bid price for excavation/embankment and import material
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
***** | Clearing and Grubbing is inclusive of streets, lot grading, and drainage
Bidders Initials
Date

## STREETS
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
STREETS IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Mobilization | LS | 1 |  | $ | $
2 | Excavation | CY | 12118.10 |  | $ | $
3 | Embankment | CY | 3628.85 |  | $ | $
4 | Clearing and Grubbing (ROW & ESMT) | ACRE | 7.36 |  | $ | $
5 | Remove Existing Flush Curb | LF | 114 |  | $ | $
6 | Remove Timber Guard Post | EACH | 37 |  | $ | $
7 | Remove Turn Around | SY | 3080.9 |  | $ | $
8 | 3" HMAC Type D | SY | 10117 |  | $ | $
9 | 2" HMAC Type D | SY | 5320 |  | $ | $
10 | 2" HMAC Type C | SY | 5320 |  | $ | $
11 | 8" Aggregate Base | SY | 11819 |  | $ | $
12 | 17.5" Aggregate Base | SY | 5956 |  | $ | $
13 | 6" Lime Stabilized Subgrade | SY | 11819 |  | $ | $
14 | 8" Lime Stabilized Subgrade | SY | 5956 |  | $ | $
15 | Geogrid Tensar Triax TX5 | SY | 17776 |  | $ | $
16 | Standard Concrete Curb & Gutter | LF | 9741 |  | $ | $
17 | Handicap Ramps | EA | 18 |  | $ | $
18 | Bi-directional Pavement markers | EA | 11 |  | $ | $
19 | 5' Sidewalk | LF | 2375 |  | $ | $
20 | 8' Sidewalk | LF | 258 |  | $ | $
21 | Timber guard post w/ markers | EA | 17 |  | $ | $
22 | Signage & Striping | LS | 1 |  | $ | $
23 | Flush Curb | LF | 2136 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## SEWER
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
SANITARY SEWER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Sanitary Sewer Pipe 8" PVC (SDR 26)
| 8" SDR 26 6' - 8' | LF | 997 |  | $ | $
| 8" SDR 26 8' - 10' | LF | 1016 |  | $ | $
| 8" SDR 26 10' - 12' | LF | 278.753 |  | $ | $
2 | Sanitary Sewer Pipe (160 PSI Rated)
| 8" SDR 26 6' - 8' | LF | 20 |  | $ | $
| 8" SDR 26 8' - 10' | LF | 40 |  | $ | $
| 16" Steel Casing | LF | 20 |  | $ | $
3 | Standard Manhole | EA | 10 |  | $ | $
4 | Extra Depth Manhole | VF | 22.58 |  | $ | $
5 | Manhole Ring Encasement | EA | 10 |  | $ | $
6 | 8" Cap | EA | 1 |  | $ | $
7 | Tie Into Existing | EA | 3 |  | $ | $
8 | 6" Vertical Stack | VF | 8.7 |  | $ | $
9 | 6" Sanitary Sewer Lateral (SDR-26) | LF | 1819 |  | $ | $
10 | Trench Excavation Protection | LF | 2351.753 |  | $ | $
11 | TV Video Sewer Line | LF | 2351.753 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Unit cost of 6" Sanitary Sewer Lateral shall include trench excavation protection.
** | Note: Refer quantities to the current City of Schertz Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with Schertz requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## WATER
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
WATER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Tie to Existing 12" PVC Pipe | EACH | 3 |  | $ | $
2 | Tie to Existing 8" PVC Pipe | EACH | 3 |  | $ | $
3 | 8" C-900 PVC Pipe | LF | 2995.0645 |  | $ | $
4 | 12" C-900 PVC Pipe | LF | 753 |  | $ | $
5 | 24" Steel Casing | LF | 27 |  | $ | $
6 | Cast Iron Fittings (M.J. Compact) | TON | 0.73 |  | $ | $
7 | 3/4" Single Short Service | EACH | 3 |  | $ | $
8 | 3/4" Single Long Service | EACH | 1 |  | $ | $
9 | 3/4" Dual Short Service | EACH | 13 |  | $ | $
10 | 3/4" Dual Long Service | EACH | 16 |  | $ | $
11 | 3/4" Irrigation Service | EACH | 2 |  | $ | $
12 | 8" Gate Valve & Boxes, M.J. | EACH | 11 |  | $ | $
13 | 12" Gate Valve & Boxes, M.J. | EACH | 1 |  | $ | $
14 | Fire Hydrant Assembly | EACH | 11 |  | $ | $
15 | 2" Blowoffs (Perm.) | EACH | 1 |  | $ | $
16 | Trench Excavation Safety Protection | LF | 3748.0645 |  | $ | $
17 | Hydrostatic Testing | LF | 3748.0645 |  | $ | $
18 | Machine Chlorination | LF | 3748.0645 |  | $ | $
19 | Restrained Joints | LS | 1 |  | $ | $
20 | Meter Boxes | EACH | 64 |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Note: Refer quantities to the current City of Schertz Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with City of Schertz requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
** | Obtaining Rights-of-Way permits for work within existing Rights-of-Way shall be the responsibility of the contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## DRAINAGE
[5 empty] | Job No. | 205-29-05
PARKLANDS II UNIT 4
BID PROPOSAL SCHEDULE
DRAINAGE IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
Drain "A"
1 | 5'x5' Junction Box | EACH | 1 |  | $ | $
2 | 15' Type C1 Inlet | EACH | 2 | 79.3 | $ | $
3 | 36" R.C.P. | LF | 161.01 |  | $ | $
4 | 24" R.C.P. | LF | 26.16 |  | $ | $
[5 empty] | Sub Total | $
Drain "B"
1 | Excavation | CY | 26.31 |  | $ | $
2 | Embankment | CY | 0.45 | 79.3 | $ | $
3 | 6" Concrete Rip Rap | SY | 56.2 |  | $ | $
4 | Sidewalk Box | CY | 8 |  | $ | $
5 | Pipe Handrail | LF | 17 |  | $ | $
[5 empty] | Sub Total | $
Note to Bidders: |  |  |  |  | TOTAL COST | $
* | The cost of Concrete Rip-Rap shall include toe-downs and 2" Gravel Cushion.
** | Trench Excavation Safety Protection shall be included in the unit price of linear footage of pipe.
*** | 6" Concrete Collars shall be incidental to the unit price of the CMP and/or RCP.
**** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
***** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## ADDITIVE ALT. (hidden)
#REF!
[5 empty] | Job No. | #REF!
BID PROPOSAL SCHEDULE
#REF!
ADDITIVE ALTERNATE
Additive Item:
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | 11.5" Flex Base | SY |  |  | $ | $
2 | Additional Street Excavation | CY |  |  | $ | $
3 | 6" Select Fill Sub Base ** | SY |  |  | $ | $
4 | Lot Embankment | CY |  |  | $ | $
5 | Credit for 11" Flex Base & 6" Lime * | SY |  |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Credit for Lime and Flex Base shall be the combined unit price from the base bid.
** | Select fill shall meet specifications outlined in the Intec geotechnical report dated January 5, 2017 (Project # S164365)
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be a difference of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date