## Public Bid - Onsite & Offsite
Public Bid Items
Parkside South Unit 1
Sitework, Street, Sewer, Water Improvements
Friday, April 10, 2026
BID DATE:____________________________
BIDDER:______________________________
The undersigned bidder declares that the only person or parties interested in this proposal as principals are those names herein, that this proposal has been prepared without collusion with any other person, firm, or corporation; that he has carefully examined the specifications and the site of the proposed work and therefore agrees that he will provide all the necessary machinery, tools, apparatus and other means of construction, and will do all the work and furnish all the materials called for in the specifications in the manner prescribed therein and according to the requirements of the Engineer as herein set forth, for the following prices. Contractor is responsible for identifying any cost items on the plans not listed on this Bid Sheet. Contractor shall be responsible to provide prices and quantities that represents the project drawings and specifications, even if different from quantities shown below.
| Summary |  |  | Subtotal | Per Lot
| SW3P, SITEWORK, AND DEMOLITION |  |  | 0 | 0
| STREET IMPROVEMENTS |  |  | 0 | 0
| DRAINAGE IMPROVEMENTS |  |  | 0 | 0
| SANITARY SEWER IMPROVEMENTS |  |  | 0 | 0
| WATER IMPROVEMENTS |  |  | 0 | 0
| MISCELLANEOUS IMPROVMENTS |  |  | 0 | 0
| Total |  |  | 0 | 0
Exclusions:
Dry Utilities - electric meters, light poles, transformers, etc.
Landscaping, planting, and irrigation installation
Water Meter Set Fees
Amenities
Impact Fees
Construction Staking will be performed at developers cost. HMT will provide control staking.
* | Includes Bid Bond, Warranty Assignments or Bonds, Per Guadalupe County, City of New Braunfels, GBRA, and SHSUD Requirements.
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
* | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
* | No separate payment shall be made for utility excavation. Excess material generated from excavation shall be processed and used to meet the fill requirements for the project or hauled off and disposed of by the contractor. Include costs in related bid items.
Bidders Initials
Date
SW3P, SITEWORK, AND DEMOLITION
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Excavation (Streets) | CY | 10197 |  | 0
2 | Embankment (Streets) | CY | 14341 |  | 0
3 | Exacavation (Residential Lots) | CY | 8663 |  | 0
4 | Embankment (Residential Lots) | CY | 63110 |  | 0
5 | Excavation (Drainage Lots) | CY | 66665 |  | 0
6 | Embankment (Drainage Lots) | CY | 954 |  | 0
7 | Silt Fence | LF | 6567 |  | 0
8 | Mobilization | LS | 1 |  | 0
9 | Stabilized Construction Entrance | EA | 1 |  | 0
10 | Concrete Washout Pits | EA | 1 |  | 0
11 | Filter Dike Inlet Protection | LF | 240 |  | 0
12 | Rock Berm | LF | 55 |  | 0
13 | Revegetation | SY | 66058 |  | 0
14 | Clear & Grub/Strip Top Soil | AC. | 41.5 |  | 0
15 | Demolish Existing Onsite Structures | LS | 1 |  | 0
|  |  |  | SUBTOTAL | 0
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 3" Type D HMAC (Local) | SY | 16965 |  | 0
2 | 12" Flex Base (Local) | SY | 18757 |  | 0
3 | 8" Lime Stabilized Subgrade (Local) | SY | 18757 |  | 0
4 | Concrete Curb & Gutter | LF | 10735 |  | 0
5 | Valley Gutter | EA | 9 |  | 0
6 | 4' Sidewalk | SY | 927 |  | 0
7 | Street Signage & Striping | LS | 1 |  | 0
8 | Mailbox Pad | EA | 6 |  | 0
9 | Bollards and Header Curb | EA | 4 |  | 0
10 | Sidewalk Ramps (with backstop curb) | EA | 31 |  | 0
11 | Demolition of Hammerheads from Parkside U2 (Approx 420 SY) | EA | 1 |  | 0
12 | Demolish and Remove Existing Bollards and Header Curbs | EA | 2 |  | 0
|  |  |  | SUBTOTAL | 0
DRAINAGE IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 15' Sidewalk Box | EA | 1 |  | 0
2 | 10' Curb Inlet | EA | 5 |  | 0
3 | 15' Curb Inlet | EA | 1 |  | 0
4 | 20' Curb Inlet | EA | 1 |  | 0
5 | 6' x 6' Junction Box | EA | 3 |  | 0
6 | Mitered Headwall | EA | 2 |  | 0
7 | Headwall (PW-1) | EA | 1 |  | 0
8 | Headwall (FW-0) | EA | 4 |  | 0
9 | 3' x 2' Box | LF | 158 |  | 0
10 | 4' x2' Box | LF | 157 |  | 0
11 | 5' x 2' Box Culvert | LF | 669 |  | 0
12 | 6' x 2' Box Culvert | LF | 170 |  | 0
13 | 7' x 2' Box Culvert | LF | 93 |  | 0
14 | Rock Rip Rap | SY | 355 |  | 0
15 | Concrete Rip Rap | SY | 71 |  | 0
16 | Pilot Channel | SY | 1990 |  | 0
17 | 5'x2' Brick Plug | EA | 2 |  | 0
18 | Demo Existing Outfall In Parkside | EA | 1 |  | 0
19 | 8" HDPE (Pond Outfall) | LF | 95 |  | 0
20 | 3'x2' Box (pond Outfall) | LF | 285 |  | 0
|  |  |  | SUBTOTAL | 0
SANITARY SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" SDR 26 D3034 (4'-8') (Includes Green/White ASTM D3034 SDR26) | LF | 974 |  | 0
2 | 8" SDR 26 D3034 (8'-10') (Includes Green/White ASTM D3034 SDR26) | LF | 199 |  | 0
3 | 8" SDR 26 D3034 (10'-12') (Includes Green/White ASTM D3034 SDR26) | LF | 197 |  | 0
4 | 8" SDR 26 D3034 (12'-14') (Includes Green/White ASTM D3034 SDR26) | LF | 1671 |  | 0
5 | 8" SDR 26 D3034 (14'+) (Includes Green/White ASTM D3034 SDR26) | LF | 1058 |  | 0
6 | 12" SDR 26 D3034 (10'-12') (Includes Green/White ASTM D3034 SDR26) | LF | 122 |  | 0
7 | 12" SDR 26 D3034 (12'-14') (Includes Green/White ASTM D3034 SDR26) | LF | 562 |  | 0
8 | 18" Steel Split Casing (Per GBRA Casing and Spacer detail) | LF | 74 |  | 0
9 | Standard Sanitary Manholes | EA | 16 |  | 0
10 | Extra Depth Manhole | VF | 81 |  | 0
11 | Vertical Stacks | VF | 1024 |  | 0
12 | Trench Excavation Protection | LF | 4783 |  | 0
13 | TV Inspection of Sewer Main | LF | 4783 |  | 0
14 | Mandrel & Vacuum Testing | LF | 4783 |  | 0
15 | Stubs with Cap | EA | 4 |  | 0
16 | Sanitary Sewer Laterals & Cleanouts | EA | 132 |  | 0
|  |  |  | SUBTOTAL | 0
Note: HMT found there to be 464 LF 8" Green, 40 LF 8" white, 42 LF 12" Green, and 40 LF 12" White
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" C909 Water Line | LF | 5016 |  | 0
2 | 8" Polywrapped DI Water Line | LF | 716 |  | 0
3 | Trech Excavation Protection/Machine Chlorination | LF | 5732 |  | 0
4 | 8" Gate Valve w/Box, M.J. | EA | 26 |  | 0
5 | Fire Hydrant Assembly | EA | 9 |  | 0
6 | 1" Single Short Water Service | EA | 72 |  | 0
7 | 1" Single Long Water Service | EA | 60 |  | 0
8 | 3/4" Domestic Meter Boxes | EA | 132 |  | 0
9 | 2" Temporary Blow-off (with flush valve) | EA | 4 |  | 0
10 | 8" Pipe Fittings | TN | 3.4 |  | 0
11 | 2" Sch 80 PVC Conduit at Long Service Leads Per Detail WA-35 | EA | 60 |  | 0
12 | Hydrostatic Testing | LS | 1 |  | 0
|  |  |  | SUBTOTAL | 0
MISCELLANEOUS IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 2-1/2" PVC COMM | LF | 10661 |  | 0
2 | 4" SCH - 40PVC | LF | 4628 |  | 0
|  |  |  | SUBTOTAL | 0
|  |  |  | CONSTRUCTION TOTAL | 0
|  |  |  | NUMBER OF LOTS | 132
|  |  |  | COST PER LOT | 0