## Public Bid - Onsite & Offsite
Public Bid Items
Parkside Unit 4
Sitework, Street, Sewer, Water Improvements
Thursday, November 20, 2024
BID DATE:____________________________
BIDDER:______________________________
The undersigned bidder declares that the only person or parties interested in this proposal as principals are those names herein, that this proposal has been prepared without collusion with any other person, firm, or corporation; that he has carefully examined the specifications and the site of the proposed work and therefore agrees that he will provide all the necessary machinery, tools, apparatus and other means of construction, and will do all the work and furnish all the materials called for in the specifications in the manner prescribed therein and according to the requirements of the Engineer as herein set forth, for the following prices. Contractor is responsible for identifying any cost items on the plans not listed on this Bid Sheet. Contractor shall be responsible to provide prices and quantities that represents the project drawings and specifications, even if different from quantities shown below.
| Summary |  |  | Subtotal | Per Lot
| SW3P & SITEWORK |  |  | 0 | 0
| STREET IMPROVEMENTS |  |  | 0 | 0
| DRAINAGE IMPROVEMENTS |  |  | 0 | 0
| SANITARY SEWER IMPROVEMENTS |  |  | 0 | 0
| WATER IMPROVEMENTS |  |  | 0 | 0
| TxDOT TRAFFIC SIGNAL |  |  | 0 | 0
| Total |  |  | 0 | 0
Exclusions:
Dry Utilities - electric meters, light poles, conduits, etc.
Landscaping, planting, and irrigation installation
Water Meter Set Fees
Amenities
Impact Fees
Construction Staking
Assumptions:
1.) This bid form only captures quantities "on-site" within Unit 4 and a Storm Drain for Unit 5.
SW3P & SITEWORK
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Excavation (Street and Drainage) | CY | 684 |  | 0
2 | Embankment (Street and Drainage) | CY | 11263 |  | 0
3 | Excavation (Residential Lots) | CY | 1732 |  | 0
4 | Embankment (Residential Lots) | CY | 4308 |  | 0
5 | Haul & Embank Stockpile from U5 | CY | 5902 |  | 0
6 | Embankment of Utility Spoils | CY | 1112 |  | 0
7 | Import Remaining Excess from Offsite | LS | 1 |  | 0
8 | Silt Fence | LF | 2870 |  | 0
9 | Mobilization | LS | 1 |  | 0
10 | Stabilized Construction Entrance | EA | 1 |  | 0
11 | Concrete Washout Pits | EA | 1 |  | 0
12 | Filter Dike Inlet Protection | LF | 60 |  | 0
13 | Rock Berm | LF | 68 |  | 0
14 | Revegetation | SY | 5434 |  | 0
15 | Sediementation Basin (3' Deep) | SY | 999 |  | 0
16 | Clear & Grub/Strip Top Soil | AC. | 20.4 |  | 0
|  |  |  | SUBTOTAL | 0
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 2" Type D HMAC (Local) | SY | 9815 |  | 0
2 | 10" Flex Base (Local) | SY | 10487 |  | 0
3 | 6" Lime Stabilized Subgrade (Local) | SY | 10487 |  | 0
4 | 2" Type D HMAC (Collector) | SY | 8742 |  | 0
5 | 14.5" Flex Base (Collector) | SY | 9634 |  | 0
6 | 6" Lime Stabilized Subgrade (Collector) | SY | 9634 |  | 0
7 | Concrete Curb & Gutter | LF | 9743 |  | 0
8 | Valley Gutter | EA | 8 |  | 0
9 | 4' Sidewalk | SY | 902 |  | 0
10 | 10' Sidewalk/ Hike and Bike | SY | 1157 |  | 0
11 | Street Signage & Striping (to include temporary road closure signage for construction) | LS | 1 |  | 0
12 | Mailbox Pad | EA | 5 |  | 0
13 | Bollards and Header Curb | EA | 1 |  | 0
14 | Sidewalk Ramps | EA | 42 |  | 0
|  |  |  | SUBTOTAL | 0
DRAINAGE IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Sidewalk Box | EA | 2 |  | 0
2 | 6'x 3' SBC | LF | 61 |  | 0
3 | Headwall | EA | 2.0944 |  | 0
4 | 25' Curb Inlet | EA | 1 |  | 0
5 | 4' x2' SBC | LF | 150 |  | 0
6 | End Treatment w/o Runners (SETSW-O) | EA | 3 |  | 0
7 | 15' Curb Inlet | EA | 4 |  | 0
8 | 24" RCP | LF | 28 |  | 0
9 | 5' x 2' SBC | LF | 295 |  | 0
10 | Rock RipRap | SY | 205 |  | 0
|  |  |  | SUBTOTAL | 0
SANITARY SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" SDR 26 D3034 (4'-8') | LF | 1343 |  | 0
2 | 8" SDR 26 D3034 (8'-10') | LF | 665 |  | 0
3 | 8" SDR 26 D3034 (10'-12') | LF | 506 |  | 0
4 | 8" SDR 26 D3034 (12'-14') | LF | 394 |  | 0
5 | 8" SDR 26 D3034 (14'+) | LF | 782 |  | 0
6 | Green ASTM D3034 SDR 26 | LF | 196 |  | 0
7 | White ASTM D3034 SDR 26 | LF | 100 |  | 0
8 | Standard Sanitary Manholes | EA | 13 |  | 0
9 | Extra Depth Manhole | VF | 53 |  | 0
10 | Trench Excavation Protection | LF | 3690 |  | 0
11 | TV Inspection of Sewer Main | LF | 3690 |  | 0
12 | Mandrel & Vacuum Testing | LF | 3690 |  | 0
13 | Sanitary Sewer Laterals & Cleanouts | EA | 97 |  | 0
|  |  |  | SUBTOTAL | 0
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Trech Excavation Protection | LF | 3557 |  | 0
2 | 12" C900 Water Line | LF | 354 |  | 0
3 | 12" x 8" Reducers | EA | 2 |  | 0
4 | 8" C900 Water Line | LF | 3203 |  | 0
5 | 8" Gate Valve w/Box, M.J. | EA | 19 |  | 0
6 | 12" Gate Valve w/Box, M.J. | EA | 3 |  | 0
7 | Fire Hydrant Assembly | EA | 7 |  | 0
8 | 1" Single Short Water Service | EA | 58 |  | 0
9 | 1" Single Long Water Service | EA | 26 |  | 0
10 | 1" Dual Short Water Service | EA | 6 |  | 0
11 | 1" Dual Long Water Service | EA | 2 |  | 0
12 | 3/4" Domestic Meter Boxes | EA | 100 |  | 0
13 | 2" Temporary Blow-off | EA | 1 |  | 0
14 | 12" Pipe Fittings | TN | 0.6 |  | 0
15 | 8" Pipe Fittings | TN | 1.1 |  | 0
16 | 2" SCH 80 PVC Conduit at Long Service Leads Per Detail WA-35 | EA | 28 |  | 0
|  |  |  | SUBTOTAL | 0
TxDOT TRAFFIC SIGNAL
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Drill Shaft (TRF Sig Pole) (30 in) (416) (6031) | LF | 11 |  | 0
2 | Drill Shaft (TRF Sig Pole) (26 in) (416) (6032) | LF | 39 |  | 0
3 | Mobilization (500) (6001) | LS | 1 |  | 0
4 | Barricades, Signs, and Traffic Handling (502) (6001) | MO | 3 |  | 0
5 | Conduit (PVC) (SCHD 40) (2") (618) (6023) | LF | 45 |  | 0
6 | Conduit (PVC) (SCHD 40) (3") (618) (6029) | LF | 130 |  | 0
7 | Conduit (PVC) (SCHD 40) (4") (618) (6033) | LF | 80 |  | 0
8 | Conduit (PVC) (SCHD 40) (4") (Bore) (610) (6034) | LF | 255 |  | 0
9 | Elec Conductor (No. 8) Insulated (620) (6008) | LF | 440 |  | 0
10 | Elec Conductor (No. 6) Bare (620) (6009) | LF | 510 |  | 0
11 | Elec Conductor (No. 6) Insulated (620) (6010) | LF | 90 |  | 0
12 | Ground Box TY D (162922) W/ Apron (624) (6010) | EA | 5 |  | 0
13 | Elec SRV TY D 120/240 070 (NS)SS (E) PS(U) (628) (6187) | EA | 1 |  | 0
14 | REFL PAV MARK TY (W) 8" (SLD) (100 MIL) (666) 6036) | LF | 100 |  | 0
15 | REFL PAV MARK TY (W) 24" (SLD) (100 MIL) (666) (6048) | LF | 96 |  | 0
16 | REFL PAV MARK TY (W) (ARROW) (100 MIL) (666) (6054) | EA | 3 |  | 0
17 | REFL PAV MARK TY (W) (WORD) (100 MIL) (666) (6078) | EA | 3 |  | 0
18 | REFL PAV MARK TY I-C (672) (6007) | EA | 5 |  | 0
19 | ELIM EXT PAV MARK & MRKS (4") (677) (6001) | LF | 240 |  | 0
20 | ELIM EXT PAV MARK & MRKS (ARROW) (677) (6008) | EA | 2 |  | 0
21 | ELIM EXT PAV MARK & MRKS (WORD) (677) (6012) | EA | 2 |  | 0
22 | PAV SURF PREP FOR MRK (8") (678) (6004) | LF | 100 |  | 0
23 | PAV SURF PREP FOR MRK (24") (678) (6008) | LF | 96 |  | 0
24 | PAV SURF PREP FOR MRK (ARROW) (678) (6009) | EA | 3 |  | 0
25 | PAV SURF PREP FOR MRK (WORD) (678) ( 6016) | EA | 3 |  | 0
26 | INSTALL HWY TRAF SIG (ISOLATED) (680) (6002) | EA | 1 |  | 0
27 | VEH SIG SEC (12") LED (GRN) (682) (6001) | EA | 8 |  | 0
28 | VEH SIG SEC (12") LED (GRN ARW) (682) (6002) | EA | 2 |  | 0
29 | VEH SIG SEC (12") LED (YEL) (682) (6003) | EA | 8 |  | 0
30 | VEH SIG SEC (12") LED (YEL ARW) (682) (6004) | EA | 4 |  | 0
31 | VEH SIG SEC (12") LED (RED) (682) (6005) | EA | 8 |  | 0
32 | VEH SIG SEC (12") LED (RED ARW) (682) (6006) | EA | 2 |  | 0
33 | PED SIG SEC (LED) COUNTDOWN (682) (6018) | EA | 2 |  | 0
34 | BACKPLATE W/REF BRDR (3 SEC) (VENT) ALUM (682) (6051) | EA | 8 |  | 0
35 | BACKPLATE W/REF BRDR (4 SEC) (VENT) ALUM (682) (6052) | EA | 2 |  | 0
36 | TRF SIG CBL (TY A) (14 AWG) (5 CONDR) (684) (6031) | LF | 370 |  | 0
37 | TRF SIG CBL (TY A) (14 AWG) (7 CONDR) (684) (6033) | LF | 128 |  | 0
38 | TRF SIG CBL (TY A) (14 AWG) (10 CONDR) (684) (6036) | LF | 225 |  | 0
39 | TRF SIG CBL (TY A) (14 AWG) (20 CONDR) (684) (6046) | LF | 605 |  | 0
40 | TRF SIG CBL (TY A) (12 AWG) (2 CONDR) (684) (6079) | LF | 235 |  | 0
41 | INS TRF SIG PL AM (S) 1 ARM (28') (686) (6029) | EA | 1 |  | 0
42 | INS TRF SIG PL AM (S) 1 ARM (40') (686) (6041) | EA | 2 |  | 0
43 | INS TRF SIG PL AM (S) 1 ARM (48') LUM (686) (6051) | EA | 1 |  | 0
44 | PEDESTAL POLE ASSEMBLY (687) (6001) | EA | 2 |  | 0
45 | PED DETECT PUSH BUTTON (APS) - POLARA (688) (6001) | EA | 2 |  | 0
46 | PED DETECTOR CONTROLLER UNIT - POLARA (688) (6003) | EA | 1 |  | 0
47 | BBU SYSTEM (EXTERNAL BATT CABINET) (6058) (6001) | EA | 1 |  | 0
48 | RVDS (PRESENCE DETECTION ONLY) (6292) (6001) | EA | 2 |  | 0
49 | RVDS (PRESENCE AND ADVANCE DET) (6292) (6003) | EA | 2 |  | 0
|  |  |  | SUBTOTAL | 0
|  |  |  | CONSTRUCTION TOTAL | 0
|  |  |  | NUMBER OF LOTS | 103
|  |  |  | COST PER LOT | 0