## Public Bid - Onsite & Offsite
Public Bid Items
Parkside Unit 6
Sitework, Street, Sewer, Water Improvements
Tuesday May 05, 2026
BID DATE:____________________________
BIDDER:______________________________
The undersigned bidder declares that the only person or parties interested in this proposal as principals are those names herein, that this proposal has been prepared without collusion with any other person, firm, or corporation; that he has carefully examined the specifications and the site of the proposed work and therefore agrees that he will provide all the necessary machinery, tools, apparatus and other means of construction, and will do all the work and furnish all the materials called for in the specifications in the manner prescribed therein and according to the requirements of the Engineer as herein set forth, for the following prices. Contractor is responsible for identifying any cost items on the plans not listed on this Bid Sheet. Contractor shall be responsible to provide prices and quantities that represents the project drawings and specifications, even if different from quantities shown below.
| Summary |  |  | Subtotal | Per Lot
| SW3P, SITEWORK, AND DEMOLITION |  |  | 0 | 0
| STREET IMPROVEMENTS |  |  | 0 | 0
| DRAINAGE IMPROVEMENTS |  |  | 0 | 0
| SANITARY SEWER IMPROVEMENTS |  |  | 0 | 0
| WATER IMPROVEMENTS |  |  | 0 | 0
| MISCELLANEOUS IMPROVMENTS |  |  | 0 | 0
| Total |  |  | 0 | 0
Exclusions:
Dry Utilities - electric meters, light poles, transformers, etc.
Landscaping, planting, and irrigation installation
Water Meter Set Fees
Amenities
Impact Fees
Construction Staking will be performed at developers cost. HMT will provide control staking.
* | Includes Bid Bond, Warranty Assignments or Bonds, Per Guadalupe County, City of New Braunfels, GBRA, and SHSUD Requirements.
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
* | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
* | No separate payment shall be made for utility excavation. Excess material generated from excavation shall be processed and used to meet the fill requirements for the project or hauled off and disposed of by the contractor. Include costs in related bid items.
Bidders Initials
Date
SW3P, SITEWORK, AND DEMOLITION
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Excavation (Streets) | CY | 1035 |  | 0
2 | Embankment (Streets) | CY | 10943 |  | 0
3 | Exacavation (Residential Lots) | CY | 15810 |  | 0
4 | Embankment (Residential Lots) | CY | 34319 |  | 0
5 | Excavation (Drainage Lots) | CY | 18242 |  | 0
6 | Embankment (Drainage Lots) | CY | 6016 |  | 0
7 | Soil Import for Fill | CY | 16191 |  | 0
8 | Silt Fence | LF | 3620 |  | 0
9 | Mobilization | LS | 1 |  | 0
10 | Stabilized Construction Entrance | EA | 1 |  | 0
11 | Concrete Washout Pits | EA | 1 |  | 0
12 | Filter Dike Inlet Protection | LF | 50 |  | 0
13 | Rock Berm | LF | 227 |  | 0
14 | Revegetation | SY | 31721 |  | 0
15 | Clear & Grub/Strip Top Soil | AC. | 29.6 |  | 0
16 | SWPPP Monitoring & Administration | LS | 1 |  | 0
17 | Maintenance Bond | LS | 1 |  | 0
|  |  |  | SUBTOTAL | 0
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 3" Type D HMAC (Local) | SY | 14767 |  | 0
2 | 12" Flex Base (Local) | SY | 17754 |  | 0
3 | 8" Lime Stabilized Subgrade (Local) | SY | 17754 |  | 0
4 | Concrete Curb & Gutter | LF | 9019 |  | 0
5 | Valley Gutter | EA | 8 |  | 0
6 | 4' Sidewalk | SY | 1785 |  | 0
7 | Street Signage & Striping | LS | 1 |  | 0
8 | Mailbox Pad | EA | 5 |  | 0
9 | Bollards and Header Curb | EA | 3 |  | 0
10 | Sidewalk Ramps | EA | 52 |  | 0
11 | Demolish and Remove Existing Bollards and Header Curbs | EA | 2 |  | 0
|  |  |  | SUBTOTAL | 0
DRAINAGE IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 15' Sidewalk Box | EA | 1 |  | 0
2 | 25' Sidewalk Box | EA | 1 |  | 0
3 | Headwall (PW-0) | EA | 2 |  | 0
4 | 5' x 2' Box Culvert | LF | 55 |  | 0
5 | Conc. U-Channel Bottom (6" Thick) (Includes Gravel Subgrade) | SY | 63 |  | 0
6 | Conc. U-Channel Walls (2) (6" Thick) | SY | 38 |  | 0
7 | Rock Rip Rap | SY | 303 |  | 0
8 | Concrete Rip Rap | SY | 142 |  | 0
9 | 2' Wide Triangular Pilot Channel (6" Thick) | SY | 106 |  | 0
10 | 4' Wide Pilot Channel (6" Thick) (Includes Gravel Subgrade) | SY | 389 |  | 0
|  |  |  | SUBTOTAL | 0
SANITARY SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" SDR 26 D3034 (4'-8') (Includes White ASTM D3034 SDR26) | LF | 1051 |  | 0
2 | 8" SDR 26 D3034 (8'-10') (Includes White ASTM D3034 SDR26) | LF | 1817 |  | 0
3 | 8" SDR 26 D3034 (10'-12') (Includes White ASTM D3034 SDR26) | LF | 745 |  | 0
4 | 8" SDR 26 D3034 (12'-14') (Includes White ASTM D3034 SDR26) | LF | 339 |  | 0
5 | Standard Sanitary Manholes | EA | 15 |  | 0
6 | Extra Depth Manhole | VF | 46 |  | 0
7 | Vertical Stacks | VF | 670 |  | 0
8 | Trench Excavation Protection | LF | 3952 |  | 0
9 | TV Inspection of Sewer Main | LF | 3952 |  | 0
10 | Mandrel & Vacuum Testing | LF | 3952 |  | 0
11 | Tie in to Existing WWTR Line | EA | 2
12 | Stubs with Caps | EA | 4 |  | 0
13 | Sanitary Sewer Laterals & Cleanouts | EA | 141 |  | 0
|  |  |  | SUBTOTAL | 0
Note: HMT found there to be 120 LF 8" white
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 8" C909 Water Line | LF | 4284 |  | 0
2 | 8" Polywrapped DI Water Line | LF | 659 |  | 0
3 | Trech Excavation Protection/Machine Chlorination | LF | 4943 |  | 0
4 | 8" Gate Valve w/Box, M.J. | EA | 28 |  | 0
5 | Fire Hydrant Assembly | EA | 9 |  | 0
6 | 1" Single Short Water Service | EA | 82 |  | 0
7 | 1" Single Long Water Service | EA | 31 |  | 0
8 | 1" Double Short Water Service | EA | 4 |  | 0
9 | 1" Double Long Water Service | EA | 10 |  | 0
10 | 3/4" Domestic Meter Boxes | EA | 141 |  | 0
11 | 2" Temporary Blow-off (with flush valve) | EA | 2 |  | 0
12 | 8" Pipe Fittings | TN | 1.9 |  | 0
13 | 2" Sch 80 PVC Conduit at Long Service Leads Per Detail WA-35 | EA | 41 |  | 0
14 | Hydrostatic Testing | LS | 1 |  | 0
|  |  |  | SUBTOTAL | 0
MISCELLANEOUS IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | 3" PVC Conduit | LF | 1150 |  | 0
2 | 4" SCH - 40PVC | LF | 2300 |  | 0
|  |  |  | SUBTOTAL | 0
Note: (2) -4 " PVC is installed assumed at every 3" crossing per plan
|  |  |  | CONSTRUCTION TOTAL | 0
|  |  |  | NUMBER OF LOTS | 141
|  |  |  | COST PER LOT | 0