## Unit 2
ROOSEVELT LANDING, UNIT 2
BID QUANTITIES
2024-02-16
SITE WORK
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Clearing and Grubbing | AC. | 20 |  | 0
2 | Stabilized Construction Entrance/Exit | L.S. | 1 |  | 0
3 | Silt Fence | L.F. | 3515 |  | 0
4 | Gravel Filter Bags | L.F. | 450 |  | 0
5 | Rock Filter Dam - Type II | L.F. | 40 |  | 0
6 | Construction Staging Area | L.S. | 1 |  | 0
7 | Concrete Washout Pit | L.S. | 1 |  | 0
8 | Lot Excavation | C.Y. | 30030 |  | 0
9 | Lot Embankment (79G requirement) | C.Y. | 25990 |  | 0
|  |  |  | TOTAL COST | 0
SANITARY SEWER IMPROVEMENTS
ITEM |  | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Tie into Existing Sanitary Sewer Main | EA. | 2 |  | 0
2 | Trench Excavation Safety Protection | L.F. | 2082 |  | 0
3 | 8" Sanitary Sewer Pipe, SDR-26 (6'-10') | L.F. | 2082 |  | 0
4 | Standard Sanitary Sewer Manhole | EA. | 6 |  | 0
5 | Reconstruct Existing Manhole | EA. | 4 |  | 0
6 | Extra Depth Manhole | V.F. | 9.6 |  | 0
7 | 6" Sanitary Sewer Laterals, SDR-26 | L.F. | 4364 |  | 0
8 | 8" Sewer Main Television Inspection | L.F. | 2082 |  | 0
|  |  |  | TOTAL COST | 0
ON-SITE WATER MAIN IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Water Main Tie-In | EA. | 4 |  | 0
2 | Trench Excavation Protection | L.F. | 3496 |  | 0
3 | 8" Pipe, C900 DR 18 PVC Class 235 (Includes Joint Restraints) | L.F. | 3341 |  | 0
4 | 12" Pipe, C900 DR 18 PVC Class 235 (Includes Joint Restraints) | L.F. | 155 |  | 0
5 | 8" Gate Valve, M.J. (Complete with Restraints) | EA. | 4 |  | 0
6 | 12" Gate Valve, M.J. (Complete with Restraints) | EA. | 5 |  | 0
7 | Standard Fire Hydrant (Complete with Tee, Valve, Bends and Restraints) | EA. | 4 |  | 0
8 | 2" Temporary Blow-Off | EA. | 5 |  | 0
9 | 3/4" Single Service with 5/8" Meter : Short | EA. | 60 |  | 0
10 | 3/4" Single Service with 5/8" Meter : Long | EA. | 61 |  | 0
11 | Irrigation Service with 3/4" Meter : Short | EA. | 1 |  | 0
12 | 12"x12" Cut-In Tee | EA. | 1 |  | 0
13 | D.I. Fittings (Restrained) | TON. | 1.8 |  | 0
14 | Hydrostatic Testing | EA. | 1 |  | 0
15 | Meter Boxes | EA. | 122 |  | 0
|  |  |  | TOTAL COST | 0
STREET IMPROVEMENTS (ONSITE)
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Remove Header Curb & Timber Post | L.F. | 119 |  | 0
2 | Street/Excavation | C.Y. | 16133 |  | 0
3 | Street/Embankment | C.Y. | 1384 |  | 0
4 | Lime Stabilization (6") (includes lime) | S.Y. | 11481 |  | 0
5 | Lime Stabilization (8") (includes lime) | S.Y. | 2043 |  | 0
6 | Flexible Base (8.5" Compacted) (Local A) | S.Y. | 11481 |  | 0
7 | Flexible Base (17.5" Compacted) (Local B) | S.Y. | 2043 |  | 0
8 | Prime Coat | GAL. | 2416 |  | 0
9 | Tack Coat | GAL. | 1208 |  | 0
10 | HMAC - Type D (2" Pavement Thickness) (Local A) | S.Y. | 10223 |  | 0
11 | HMAC - Type D (3" Pavement Thickness) (Local B) | S.Y. | 1855 |  | 0
12 | Machine Laid Curb | L.F. | 6922 |  | 0
13 | Header Curb | L.F. | 28 |  | 0
14 | Concrete Sidewalk (By Developer) | S.Y. | 585 |  | 0
15 | ADA Ramps (By Developer) | EA. | 16 |  | 0
16 | ADA Dual Directional Ramps (By Developer) | EA. | 4 |  | 0
17 | Stop Sign | EA. | 6 |  | 0
18 | Street Name Signs | EA. | 14 |  | 0
19 | End of Road Markers | EA. | 3 |  | 0
20 | 4 Inch Wide Yellow Line | L.F. | 264 |  | 0
21 | Pavement Marker (Type II A-A) | EA. | 16 |  | 0
22 | Blue Raised Pavement Marker | EA. | 4 |  | 0
23 | Bexar County Maintenance Signs | EA. | 2 |  | 0
24 | Timber Guard Posts | EA. | 5 |  | 0
|  |  |  | TOTAL COST | 0
DRAIN A
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Channel Excavation | C.Y. | 3359 |  | 0
2 | Concrete Pilot Channel | S.Y. | 247 |  | 0
3 | Revegetation | S.Y. | 1110 |  | 0
|  |  |  | TOTAL COST | 0
DRAIN F
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Channel Excavation | C.Y. | 1258 |  | 0
2 | 6" Concrete Rip-Rap | S.Y. | 250 |  | 0
3 | Elevated Sidewalk | C.Y. | 7 |  | 0
4 | Armor Curb Slot | L.F. | 20 |  | 0
5 | Sidewalk Pipe Railing | L.F. | 45.5 |  | 0
|  |  |  | TOTAL COST | 0
DRAIN G
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Channel Excavation | C.Y. | 172 |  | 0
2 | 6" Concrete Rip-Rap | S.Y. | 167 |  | 0
3 | Elevated Sidewalk | C.Y. | 5.6 |  | 0
4 | Sidewalk Pipe Railing | L.F. | 17 |  | 0
|  |  |  | TOTAL COST | 0
DRAIN H
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Channel Excavation | C.Y. | 15 |  | 0
2 | 6" Concrete Rip-Rap | S.Y. | 82 |  | 0
3 | Armor Curb Slot | L.F. | 2 |  | 0
4 | TxDot Sidewalk Bridge with Plate (2' wide) | L.S. | 1 |  | 0
|  |  |  | TOTAL COST | 0
ADDITIVE ITEM
SLEEVES FOR CPS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Conduit Bundle (2-6" PVC & 2-4" PVC) | L.F. | 123 |  | 0
2 | Conduit Bundle (1-6" PVC & 2-4" PVC) | L.F. | 1353 |  | 0
3 | Conduit Bundle (3-6" PVC & 2-4" PVC) | L.F. | 42 |  | 0
|  |  |  | TOTAL COST | 0
EXCESS MATERIAL PLACEMENT
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Clearing and Grubbing | AC. | 11 |  | 0
2 | Lot Embankment (79G requirement) Future Unit 3 Area | CY | 23593 |  | 0
|  |  |  | TOTAL COST | 0
DEMOLITION
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
1 | Remove Existing Driveways & Gates | LS | 1 |  | 0
|  |  |  | TOTAL COST | 0