## SCHLATHER RANCH
SCHLATHER RANCH SUBDIVISION
BID QUANTITIES - 107 LOTS
SITE IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Mobilization | L.S. | 1 |  |  | 0
2 | Site Clearing | AC. | 52 |  |  | 0
3 | Silt Fence | L.F. | 11365 |  |  | 0
4 | Gravel Bag Filters | L.F. | 1263 |  |  | 0
5 | Rock Berm | L.F. | 80 |  |  | 0
6 | Construction Staging Area | L.S. | 1 |  |  | 0
7 | Concrete Washout Pit | L.S. | 1 |  |  | 0
8 | Stabalized Construction Entrance | L.S. | 1 |  |  | 0
|  |  |  | TOTAL COST |  | 0
SANITARY SEWER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | TIE INTO EXISTING SANITARY SEWER MANHOLE | E.A. | 1 |  |  | 0
2 | TRENCH EXCAVATION SAFETY PROTECTION | L.F. | 13591 |  |  | 0
3 | 8" SANITARY SEWER PIPE, SDR-26 (0'-6') | L.F. | 400 |  |  | 0
4 | 8" SANITARY SEWER PIPE, SDR-26 (6'-10') | L.F. | 3988 |  |  | 0
5 | 8" SANITARY SEWER PIPE, SDR-26 (10'-14') | L.F. | 1961 |  | 0 | 0
6 | 8" SANITARY SEWER PIPE, SDR-26 (14'-18') | L.F. | 2207 |  | 0 | 0
7 | STANDARD SANITARY SEWER MANHOLE | EA. | 29 |  | 0 | 0
8 | DROP MANHOLE | EA. | 1 |  |  | 0
9 | EXTRA DEPTH MANHOLE | V.F. | 135.2 |  | 0 | 0
10 | VERTICAL STACK | V.F. | 383.4 |  | 0 | 0
11 | 6" SANITARY SEWER LATERALS, SDR-26 | L.F. | 5035 |  | 0 | 0
12 | CONCRETE ENCASEMENT | L.F. | 35 |  | 0 | 0
13 | ONE-WAY CLEANOUT | EA. | 107 |  | 0 | 0
14 | RE-COAT EXISTING MANHOLE | EA. | 1 |  |  | 0
15 | SEWER MAIN TELEVISION INSPECTION | L.F. | 8556 |  | 0 | 0
|  |  |  | TOTAL COST |  | 0
WATER IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Trench Excavation Protection | L.F. | 8352 |  |  | 0
2 | 8" Pipe, C900 DR 18 PVC Class 235 (Includes Joint Restraints) | L.F. | 8254 |  |  | 0
3 | 8" D.I. Pipe | L.F. | 98 |  |  | 0
4 | 18" Steel Casing | L.F. | 68 |  |  | 0
5 | 8" Gate Valve, M.J. w/ Box, Complete | EA. | 10 |  |  | 0
6 | 16" Gate Valve, M.J. w/ Box, Complete | EA. | 1 |  |  | 0
7 | 18" Gate Valve, M.J. w/ Box, Complete | EA. | 1 |  |  | 0
8 | Standard Fire Hydrant | EA. | 15 |  |  | 0
9 | 2" Permanent Blow-off | EA. | 2 |  |  | 0
10 | 2" Temporary Blow-off | EA. | 0 |  |  | 0
11 | 1" Single Service w/ 3/4" Dual Meters - Short | EA. | 60 |  |  | 0
12 | 1" Single Service w/ 3/4" Meter - Short | EA. | 10 |  |  | 0
13 | 1" Single Service w/ 3/4" Dual Meters - Long | EA. | 26 |  |  | 0
14 | 1" Single Service w/ 3/4" Meter - Long | EA. | 11 |  |  | 0
15 | D.I. Fittings | TON | 4 |  |  | 0
16 | Hydrostatic Testing | EA. | 1 |  |  | 0
17 | Chlorintion & Bacterial Testing | EA. | 1 |  |  | 0
18 | Pavement Repair & Weidner Rd Tie-in | L.S. | 1 |  |  | 0
19 | Meter Boxes | EA. | 107 |  |  | 0
|  |  |  | TOTAL COST |  | 0
STREET IMPROVEMENTS
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Street & Lot Excavation | C.Y. | 20236 |  |  | 0
2 | Street & Lot Embankment | C.Y. | 33506 |  |  | 0
3 | Saw Cut, Remove, and Replace Existing Pavement | L.F. | 315 |  |  | 0
4 | Lime Stabalized Subgrade (8.0" 42 lbs/sy) | SY | 33758 |  |  | 0
5 | Flexible Base (10" Compacted) | S.Y. | 29280 |  |  | 0
6 | Flexible Base (18.5" Compacted) | S.Y. | 4478 |  |  | 0
7 | Prime Coat | GAL | 6073 |  |  | 0
8 | Tack Coat | GAL | 3036.5 |  |  | 0
9 | HMAC, Type C (2" Thickness) | S.Y. | 3750 |  |  | 0
10 | HMAC, Type B (5" Thickness) | S.Y. | 85 |  |  | 0
11 | HMAC, Type D (2.0" Thickness) | S.Y. | 30365 |  |  | 0
12 | 7" Typical Curb & Gutter | L.F. | 17220 |  |  | 0
13 | 5' Concrete Sidewalks (By Developer) | S.Y. | 1830 |  |  | 0
14 | ADA Ramps (By Developer) | EA. | 20 |  |  | 0
15 | R1-1 Stop Sign, 30" x30" | EA. | 8 |  |  | 0
16 | Speed Limit Sign | EA. | 1 |  |  | 0
17 | Typical City of Cibolo Street Name Signs | EA. | 2 |  |  | 0
18 | 9" Private Street Name Signs | EA. | 16 |  |  | 0
19 | Pavement Marker (Type II)(Blue) | EA. | 15 |  |  | 0
|  |  |  | TOTAL COST |  | 0
DRAIN IMPROVEMENTS
Drain A
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Channel Excavation | C.Y. | 10 |  |  | 0
2 | Elevated Concrete Sidewalk | C.Y. | 7 |  |  | 0
3 | 6" Concrete Rip Rap | S.Y. | 40 |  |  | 0
4 | Sidewalk Pipe Railing | L.F. | 20 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Drain B
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Channel Excavation | C.Y. | 10 |  |  | 0
2 | Elevated Concrete Sidewalk | C.Y. | 7 |  |  | 0
3 | 6" Concrete Rip Rap | S.Y. | 60 |  |  | 0
4 | Sidewalk Pipe Railing | L.F. | 20 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Drain C
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Channel Excavation | C.Y. | 477 |  |  | 0
2 | 6" Concrete Rip Rap | S.Y. | 805 |  |  | 0
3 | 10' Type C Type II Inlet | EA. | 3 |  |  | 0
4 | 15' Type C Type II Inlet | EA. | 1 |  |  | 0
5 | 24" RCP | L.F. | 728.5 |  |  | 0
6 | Concerete Headwalls | C.Y. | 10 |  |  | 0
7 | Sidewalk Pipe Railing | L.F. | 53 |  |  | 0
8 | Revegetation | S.Y. | 1640 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Drain D
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Channel Excavation | C.Y. | 3340 |  |  | 0
2 | 6" Concrete Rip Rap | S.Y. | 850 |  |  | 0
3 | 4'x3' MBC | L.F. | 145 |  |  | 0
4 | Concerete Headwalls | C.Y. | 20 |  |  | 0
5 | Curb Inlet Culvert Knockouts | EA. | 2 |  |  | 0
6 | Sidewalk Pipe Railing | L.F. | 108 |  |  | 0
7 | Revegetation | S.Y. | 12000 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Detention Pond 1
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Pond Excavation | C.Y. | 6200 |  |  | 0
2 | Pond Embankment | C.Y. | 100 |  |  | 0
3 | 6' Concrete Pilot Channel | L.F. | 208 |  |  | 0
4 | Rock Gabian Mattress | S.Y. | 46 |  |  | 0
5 | Spread Footing Retaining Wall | F.F. | 6040 |  |  | 0
6 | Energy Dissipator Structure | L.S. | 1 |  |  | 0
7 | Revegetation | S.Y. | 13000 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Detention Pond 2
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | Pond Excavation | C.Y. | 14827 |  |  | 0
2 | Pond Embankment | C.Y. | 3866 |  |  | 0
3 | 6" Concrete Rip Rap | S.Y. | 65 |  |  | 0
4 | 6' Concrete Pilot Channel | L.F. | 61 |  |  | 0
5 | 12" CMP | L.F. | 53 |  |  | 0
6 | Rock Gabian Mattress | S.Y. | 75 |  |  | 0
7 | Energy Dissipator Structure | L.S. | 1 |  |  | 0
8 | Revegetation | S.Y. | 23000 |  |  | 0
|  |  |  | TOTAL COST |  | 0
Additve Alternates
ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT |  | AMOUNT
1 | 1" Schedule 40 PVC (Utility Conduit) | L.F. | 2300 |  |  | 0
2 | 2.5" Schedule 40 PVC (Utility Conduit) | L.F. | 21650 |  |  | 0
3 | 10' Pedestrian Path Sidewalk | S.Y. | 2815 |  |  | 0
4 | Phase II Silt Fence (Same as Phase I) | L.F. | 11365 |  |  | 0
|  |  |  | TOTAL COST |  | 0
SUMMARY:
|  |  |  | SITE IMPROVEMENTS |  | 0
|  |  |  | SANITARY SEWER IMPROVEMENTS |  | 0
|  |  |  | WATER IMPROVEMENTS |  | 0
|  |  |  | STREET IMPROVEMENTS |  | 0
|  |  |  | DRAIN IMPROVEMENTS |  | 0
|  |  |  | BID ADDITIVES |  | 0
|  |  |  | TOTAL CONSTRUCTION COST: |  | 0