## BID SUMMARY
[5 empty] | Date: | 2025-10-16
[5 empty] | Project Number: | 011.036
South Point Unit 6
Bid Form
BID SUMMARY
|  | ADMINISTRATION |  | $
|  | SW3P AND SITEWORK |  | $
|  | STREET IMPROVMENTS |  | $
|  | STORM DRAIN IMPROVEMENTS |  | $
|  | SANITARY SEWER IMPROVEMENTS |  | $
|  | WATER IMPROVEMENTS |  | $
|  | DRY UTILITIES/OPTIONAL ITEMS |  | $
|  | TOTAL BID: |  | $
|  |  | COST PER LOT | $
BID DATE:__________
BIDDER:______________________________
The undersigned bidder declares that the only person or parties interested in this proposal as principals are those names herein, that this proposal has been prepared without collusion with any other person, firm, or corporation; that he has carefully examined the specifications and the site of the proposed work and therefore agrees that he will provide all the necessary machinery, tools, apparatus and other means of construction, and will do all the work and furnish all the materials called for in the specifications in the manner prescribed therein and according to the requirements of the Engineer as herein set forth, for the following prices. Contractor is responsible for identifying and cost items on the plans not listed on this Bid Sheet.
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.
CONTRACTOR SHALL CONFIRM THE QUANTITIES SHOWN ON THE BID FORM MATCH THE INTENT OF THE WORK SHOWN IN THE CONSTRUCTION PLANS AND SPECIFICATIONS. NOTIFY THE ENGINEER AT LEAST FORTY-EIGHT (48) HOURS PRIOR TO THE BID DATE IF ANY QUANTITY IS FOUND IN ERROR. THERE WILL BE NO CHANGE ORDER ISSUED FOR ANY DISCREPANCIES.
ADMINISTRATION
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Contractor Staking and Asbuilt GIS Points | LS | 1 | 0 | 0
| 2 | Contractor Testing | LS | 1 | 0 | 0
| 3 | 2 Year Maintenance Bond | LS | 1 | 0 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | COST PER LOT | 0
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Excavation | CY | 35314.54 | 0 | 0
| 2 | Embankment | CY | 26684.95 | 0 | 0
| 3 | Stabilized Construction Entrance | EA | 1 | 0 | 0
| 4 | Concrete Washout Pit | EA | 1 | 0 | 0
| 5 | Silt Fence | LF | 1870 | 0 | 0
| 6 | Rock Berm | LF | 35 | 0 | 0
| 7 | Curb Inlet Protection (Filter Dike) | LF | 45 | 0 | 0
| 8 | Clearing and Grubbing | AC | 16.67 | 0 | 0
| 9 | Revegitation of Drainage Lots and Parkways | AC | 2 | 0 | 0
| * | Excavation quantity assumes 12,504 CY of spoils from Unit 5 is placed on Block 21 within Unit 6
[5 empty] | SUBTOTAL | 0
[5 empty] | COST PER LOT | 0
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" PVC Sanitary Sewer Pipe (6'-8') | LF | 1411 | 0 | 0
| 2 | 8" PVC Sanitary Sewer Pipe (8'-10') | LF | 566 | 0 | 0
| 3 | 8" PVC Sanitary Sewer Pipe (10'-12') | LF | 214 | 0 | 0
| 4 | 8" PVC Sanitary Sewer Pipe (12'-14') | LF | 266 | 0 | 0
| 5 | Standard Sanitary Manholes | EA | 9 | 0 | 0
| 6 | Trench Excavation Protection | LF | 2456 | 0 | 0
| 7 | TV Inspection of Sewer Main | LF | 2456 | 0 | 0
| 8 | Mandrel and Vacuum Testing | LS | 1 | 0 | 0
| 9 | Remove Temporary clean out & tie into sewer stub outs | EA | 2 | 0 | 0
| 10 | Sanitary Laterals | LF | 4430 | 0 | 0
| 11 | Vertical Stacks | VF | 51 | 0 | 0
| 12 | Temporary Clean Out | EA | 1 | 0 | 0
| 13 | Extra Depth Manholes (>6') | VF | 24 | 0 | 0
[5 empty] | SUBTOTAL | 0
| * | Contractor to verify that sewer laterals on block 21 lot 1 and block 17 lots 1, 2, and 3 were installed with South Point 5. Contractor to contact engineer if field conditions differ. |  |  | COST PER LOT | 0
| * | Service laterals shall extend to Utility Easement per lateral detail on Sheet C7.5
| ** | Contractor to provide vertical stacks as needed to ensure lateral is no more than 6 feet deep at the Utility Easement.
(4% Max Allowable Slope per lateral detail on Sheet C7.5)
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" AWWA C909 PC 235 | LF | 2915 | 0 | 0
| 2 | 24" PVC Casing at Street Crossings | LF | 180 | 0 | 0
| 3 | Tremch Excavation Protection | LF | 2915 | 0 | 0
| 4 | 8" Gate Valve MJ with box | EA | 10 | 0 | 0
| 5 | 1" Short Single Service with Casing | EA | 3 | 0 | 0
| 6 | 1" Long Single Service with Casing | EA | 1 | 0 | 0
| 7 | 1" Short Double Service with Casing | EA | 26 | 0 | 0
| 8 | 1" Long Double Service with Casing | EA | 18 | 0 | 0
| 9 | Meter Boxes | EA | 92 | 0 | 0
| 10 | Fire Hydrant Assembly with 6" Gate Valve | EA | 4 | 0 | 0
| 11 | Ductile Iron Fitting | TN | 2.87 | 0 | 0
| 12 | 2" Temporary Blowoff | EA | 1 | 0 | 0
| 13 | Tie-in to Existing Main | EA | 2 | 0 | 0
| 14 | Hydro Static Testing | EA | 1 | 0 | 0
| 15 | Machine Chlorination | LF | 2915 | 0 | 0
[5 empty] | SUBTOTAL | 0
| * | Contractor to verify that meter boxes and water services for block 21 lot 1, block 20 lot 1, and block 17 lots 1 and 2 were installed with South Point Unit 5. Contractor to contact engineer if field conditions differ. |  |  | COST PER LOT | 0
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
DRAIN A
| 1 | 36" Class III RCP | LF | 157 | 0 | 0
| 2 | 36" RH-15 End Treatment | EA | 1 | 0 | 0
| 3 | 30" Class III RCP | LF | 615 | 0 | 0
| 4 | 24" Class III RCP | LF | 195 | 0 | 0
| 3 | 6" DIA Rock Rip Rap | SY | 64 | 0 | 0
| 4 | 15' Curb Inlet | EA | 1 | 0 | 0
| 5 | 4'X4' Junction Box | EA | 2 | 0 | 0
| 6 | 10' Curb Inlet | EA | 1 | 0 | 0
| 7 | 6" Reinforced Concrete Rip Rap | SY | 16 | 0 | 0
| 8 | 5" Dia Rock Rip Rap Placed on Geotextiles | SY | 2 | 0 | 0
| 9 | Pipe Railing | LF | 12 | 0 | 0
| 10 | TxDOT PW Headwall with 3'x2' Opening | EA | 1 | 0 | 0
DRAIN B
| 1 | 24" Class III RCP | LF | 110 | 0 | 0
| 2 | 10' Curb Inlet | EA | 1 | 0 | 0
| 3 | 3'X3' Junction Box | EA | 1 | 0 | 0
DRAIN C
| 1 | 24" Class III RCP | LF | 22 | 0 | 0
| 2 | 10' Curb Inlet | EA | 1 | 0 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | COST PER LOT | 0
STREET IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 12" Ty 247 Aggregate Base (Local) | SY | 8890 | 0 | 0
| 2 | 15.5" Ty 247 Aggregate Base (Collector) | SY | 2787 | 0 | 0
| 3 | 3" HMAC Type "D" (Local) | SY | 7306 | 0 | 0
| 4 | 2" HMAC Type "D" (Collector) | SY | 2434 | 0 | 0
| 5 | 2" HMAC Type "C" (Collector) | SY | 2434 | 0 | 0
| 5 | 6" Lime Stabalized Subgrade (Local) | SY | 8890 | 0 | 0
| 6 | Concrete Valley Gutter | SY | 260 | 0 | 0
| 6 | 8" Lime Stabalized Subgrade (Collector) | SY | 2787 | 0 | 0
| 7 | Prime Coat (.2 gal/sy) | GAL | 2335 | 0 | 0
| 8 | Prime Coat (.1 gal/sy) | GAL | 1168 | 0 | 0
| 8 | Concrete Curb and Gutter | LF | 5595 | 0 | 0
| 9 | 4' Sidewalk | SY | 50 | 0 | 0
| 10 | ADA Ramps | EA | 24 | 0 | 0
| 11 | End of Road (5 Bollards and Markers with Header Curb) | EA | 1 | 0 | 0
| 12 | Signage Striping | LS | 1 | 0 | 0
| 13 | Mailbox Pad for 4 CBUs | EA | 2 | 0 | 0
| 14 | Remove Existing Bollards and Markers, Tie into Existing Road | EA | 3 | 0 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | COST PER LOT | 0
DRY UTILTIIES/OPTIONAL ITEMS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Haul off Spoils | CY | 8629.59 | 0 | 0
| 2 | (5) 2 1/2" PVC for GVEC | LF | 642 | 0 | 0
| 3 | (3) 2 1/2" PVC for GVEC | LF | 181 | 0 | 0
| 4 | (1) 6" PVC for Spectrum | LF | 823 | 0 | 0
| * | Contractor to extend conduit 2' past ROW line or Drainage Easement for each crossing
| ** | Item 4 accounts for 1 additional sleeve for spectrum at each crossing shown in the GVEC plan

## 1300.3316 Collector Street (hidden)
| BID PROPOSAL SUMMARY |  |  |  | 01.10.25
| Sky Ranch Unit 2A |  |  | Job No. | 337.078
1300.3316 STREET IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | UNIT PRICES | COST | Prepared by: | Reviewed by:
1 | 15" Flex Base (Collector) | SY | 6743 | 0 | 0 | JK |  |  | CG | 2747 | 6457
2 | 6" Lime Stabalized Subgrade | SY | 6743 | 0 | 0 | C2.01, also hammer head curb and gutter area?
3 | 3" HMAC Type "D" with Prime Coat (Collector) | SY | 5815 |  |  | 1163
4 | Prime Coat | GAL | 1163 | 0 | 0 | AE
5 | End of Road (Bollards and Markers) | EA | 2 | 0 | 0 | AE
6 | Concrete Curb and Gutter | LF | 2747 | 0 | 0 | AE |  | SIDEWALK | HMAC COLECTOR |  |  | hike/bike | FLEX
7 | 4' Sidewalk | SY | 241 | 0 | 0 | AE |  | 20747.1665 | 41795.3077 |  |  | 24524 | 48533
8 | 5" Concrete Pavement | SY | 2725 |  |  |  |  | 2305.2407 | 10537.5257 |  |  | 2724.8889 | 12150
9 | 4-7" Hike & Bike Trail Aggregate | SY | 2725 |  |  |  |  | 2505.2407 |  |  |  |  | 60683
10 | ADA Ramps | EA | 16 | 0 | 0 | AE |  |  | 52332.8334 |  |  |  | 6742.5556
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | UNIT PRICES | COST | Prepared by: | Reviewed by: |  | 5814.7593 |  | 6373 | 4 BENCHES
11 | Signage Striping | LS | 1 | 0 | 0 | AE |  | 22650.4111 |  | 12187.7593
12 | R.O.W. Clearing and Grubbing | SY | 1582 | 0 | 0 | AE |  | 2516.7123 |  | 12599
13 | R.O.W. Revegetation | SY | 1582 | 0 | 0 | AE
|  |  |  | TOTAL COST | 0
* | Prime coat shall be included in costs of related bid items
** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
** | Street sections provided above are directly from the City of New Braunfels "One & Two Family Residential Local" detail. The Geotechnical Engineer has provided alternate options involving geogrid and lime stabilization that result in reduced base sections. Please note that even if instructed to use an alternate street section, that all requirements in the City of New Braunfels detail shall be met, including, but not limited to, the base being extended 1 foot beyond the back of curb with a 6" minimum thickness.
Bidders Initials
Date