## Summary
2026-07-01
|  |  | Job No. | 391-10-21
BID PROPOSAL SCHEDULE
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
BID SUMMARY
BIDDER'S NAME: _______________________________________
**PROJECT NAME**
| SEDIMENTATION AND EROSION CONTROL |  |  | 0
| GRADING IMPROVEMENTS |  |  | 0
| STREET IMPROVEMENTS |  |  | 0
| SANITARY SEWER IMPROVEMENTS |  |  | 0
| WATER IMPROVEMENTS |  |  | 0
| DRAINAGE IMPROVEMENTS |  |  | $
| MISC. IMPROVEMENS |  |  | $
|  |  | TOTAL BASE BID: | 0
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## TPDES
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
BID PROPOSAL SCHEDULE
SEDIMENTATION & EROSION CONTROL
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Stabilized Construction Entrance | EA | 2 |  |  | 0
2 | Concrete Washout Pit | EA | 1 |  |  | 0
3 | Silt Fence | LF | 3543 |  |  | 0
4 | Post-Construction Silt Fence | LF | 655 |  |  | 0
5 | High Service Rock Berm | LF | 67 |  |  | 0
5 | Type 4 Sack Gabions | LF | 53 |  |  | 0
6 | Inlet Protection | LF | 106 |  |  | 0
[5 empty] | TOTAL COST | 0
Note to Bidders:
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## GRADING
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
| BID PROPOSAL SCHEDULE | [5 empty] | 71 | CUT
[7 empty] | 16363 | FILL
| GRADING | [5 empty] | -16292 | IMPORT
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Clearing & Grubbing | AC | 5.7 |  |  | 0
2 | Lot Excavation | CY | 71 |  |  | 0
3 | Lot Embankment | CY | 16363 |  |  | 0
[5 empty] | TOTAL COST | 0
Note to Bidders:
* | All final lot grading shall be compacted in accordance with notes on the Grading Plan.
** | Excess Material will be stockpiled onsite at a location TBD.
*** | Contractor shall account for any shrinkage/swelling of soil material within bid price for excavation/embankment and import material
**** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
***** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
****** | Clearing and Grubbing is inclusive of streets, lot grading, and drainage
Bidders Initials
Date

## STREETS
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
| BID PROPOSAL SCHEDULE STREET IMPROVEMENTS | [5 empty] | 1056 | CUT
[7 empty] | 7350 | FILL
| STREET IMPROVEMENTS | [5 empty] | -6294 | IMPORT
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | MOBILIZATION | LS | 1 |  | $ | $
2 | EXCAVATION | CY | 749 |  | $ | $
3 | EMBANKMENT | CY | 6805 |  | $ | $
4 | CLEARING AND GRUBBING | ACRE | 3.74 |  | $ | $
5 | 3" HMAC TYPE D | SY | 11517 |  | $ | $
6 | 17.5" AGGREGATE BASE (TYPE A, GRADE 1) | SY | 726 |  | $ | $
7 | 8" LIME STABILIZATION | SY | 11517 |  | $ | $
8 | 19.5" AGGREGATE BASE | SY | 10791 |  | $ | $
9 | CONCRETE CURB | LF | 4596 |  | $ | $
10 | HEADER CURB | LF | 44 |  | $ | $
11 | REMOVE HEADER CURB | LF | 84 |  | $ | $
12 | TIMBER GUARD POSTS | EA | 5 |  | $ | $
13 | TIE INTO EXISTING PAVEMENT | EA | 3 |  | $ | $
14 | 4' SIDEWALK | SY | 79 |  | $ | $
15 | 6' SIDEWALK | SY | 2933 |  | $ | $
16 | STRIPING | LS | 1 |  | $ | $
17 | SIGNAGE | LS | 1 |  | $ | $
[5 empty] | SUB-TOTAL | 0
LEFT TURN LANE
18 | REMOVE EXISTING CURB | LF | 727 |  | $ | $
19 | REMOVE EXISTING STRIPING | LF | 823 |  | $ | $
20 | REMOVE EXISTING STREET LIGHT | EA | 1 |  | $ | $
21 | EXCAVATION | CY | 307 |  | $ | $
23 | CONCRETE CURB | LF | 753 |  | $ | $
24 | NARROW MEDIAN | SY | 33 |  | $ | $
25 | RE-VEGETATION | SY | 50 |  | $ | $
26 | 2.0" HMAC TYPE "D" | SY | 447 |  | $ | $
27 | 12" HMAC TYP "B" | SY | 447 |  | $ | $
28 | 6" MOISTURE CONDITIONED SUBGRADE | SY | 447 |  | $ | $
29 | STRIPING | LF | 750 |  | $ | $
30 | TRAFFIC CONTROL BARRICADES | EA | 1 |  | $ | $
[5 empty] | SUB-TOTAL | 0
OFFSITE SIDEWALK IMPROVEMENTS
23 | EMBANKMENT | CY | 545 |  | $ | $
24 | 8' SIDEWALK | SY | 545 |  | $ | $
25 | CONCRETE CURB | LF | 611 |  | $ | $
26 | DEMO CONCRETE DRIVEWAY | SY | 34 |  | $ | $
[5 empty] | SUB-TOTAL | 0
[5 empty] | TOTAL COST | 0
Note to Bidders:
* | All Sidewalk Ramps to be constructed by the contractor.
** | Obtaining Rights-of-Way permits for work within existing Rights-of-Way shall be the responsibility of the contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
***** | Clearing and Grubbing for Streets, ROW and PUE is included with Grading Quantities |  |  |  | Bidders Initials
Date

## SEWER
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
BID PROPOSAL SCHEDULE
SANITARY SEWER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | Sanitary Sewer Pipe 8" PVC (SDR 26)
| 8" SDR 26 0'-6' | LF | 337 | 471 | $ | $
| 8" SDR 26 6'-8' | LF | 147 | 148 | $ | $
| 8" SDR 26 8'-10' | LF | 470 | 470 | $ | $
| 8" SDR 26 10'-12' | LF | 353 | 353 | $ | $
| 8" SDR 26 12'-14' | LF | 636 | 760 | $ | $
Sanitary Sewer Pipe 8" 160 PSI
| 8" SDR 26 (160 PSI Rated) 12'-14' | LF | 20 |  | $ | $
2 | Standard Manhole | EA | 7 |  | $ | $
3 | Extra Depth Manhole | VF | 46 |  | $ | $
4 | Manhole Ring Encasement | EA | 7 |  | $ | $
5 | Tie Into Existing Manhole | EA | 1 |  | $ | $
6 | 6" Vertical Stack | VF | 69 |  | $ | $
7 | 6" Sanitary Sewer Lateral (SDR-26) | LF | 936 |  | $ | $
8 | Trench Excavation Protection | LF | 1963 |  | $ | $
9 | TV Video Sewer Line | LF | 1963 |  | $ | $
10 | 24" Steel Casing | LF | 60 |  | $ | $
[5 empty] | TOTAL COST | 0
Note to Bidders:
* | Unit cost of 6" Sanitary Sewer Lateral shall include trench excavation protection.
** | Note: Refer quantities to the current City of Seguin Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with Seguin requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## WATER
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
BID PROPOSAL SCHEDULE
WATER IMPROVEMENTS
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 2394 |  | $ | $
2 | HYDROSTATIC TESTING | LF | 2394 |  | $ | $
3 | MACHINE CHOLORINATION | LF | 2394 |  | $ | $
4 | 8" C-900 (CLASS 235 DR 18) PVC PIPE | LF | 2394 |  | $ | $
5 | CAST IRON FITTINGS (M.J. COMPACT) | TON | 0.85 |  | $ | $
6 | 8" GATE VALVE & BOXES, M.J. | EACH | 7 |  | $ | $
7 | 20" BUTTERFLY VALVES & BOXES, M.J. | EACH | 2 |  | $ | $
8 | 1" DUAL SHORT SERVICE W/ 5/8" METER | EACH | 24 |  | $ | $
9 | 1" IRRIGATION SERVICE W/1" METER | EACH | 1 |  | $ | $
10 | FIRE HYDRANT ASSEMBLY | EACH | 5 |  | $ | $
11 | REMOVE FIRE HYDRANT ASSEMBLY | EACH | 1 |  | $ | $
12 | RELOCATE FIRE HYDRANT ASSEMBLY | EACH | 2 |  | $ | $
13 | 2" BLOWOFFS (TEMP.) | EACH | 3 |  | $ | $
14 | 2" BLOWOFFS (PERM.) | EACH | 1 |  | $ | $
15 | 24" STEEL CASTING | EACH | 122 |  | $ | $
16 | 8" WATER TIE-IN | EACH | 2 |  | $ | $
17 | 20" WATER TIE-IN | EACH | 1 |  | $ | $
18 | METER BOXES | EACH | 49 |  | $ | $
[5 empty] | TOTAL COST | 0
Note to Bidders:
* | Note: Refer quantities to the current Springs Hill WSC Standard Specifications for Construction. Contractor shall provide proof of trench compaction test results as tested by a Geotechnical Engineer, to comply with Springs Hill requirements. Cost of first time testing to be paid by owner. Cost of required retesting shall be paid by Contractor.
** | Obtaining Rights-of-Way permits for work within existing Rights-of-Way shall be the responsibility of the contractor.
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## DRAINAGE
VIDA SAN ANTONIO PHASE 3 WEST-EAST MPCD
[5 empty] | Job No. | 391-10-21
| BID PROPOSAL SCHEDULE | [5 empty] | 168 | CUT
[7 empty] | 88 | FILL
| DRAINAGE IMPROVEMENTS | [5 empty] | 80 | IMPORT
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
Drain "A"
1 | 7'X3' M.B.C. | LF | 150 |  | $ | $
2 | Headwall | CY | 11.2 |  | $ | $
3 | 6" Concrete Rip-Rap | SY | 158.6 |  | $ | $
4 | Drain Clearing | AC | 0.09 | 79.3 | $ | $
5 | Re-vegetation | SY | 259.2 |  | $ | $
6 | Pipe Handrail | LF | 102 |  | $ | $
7 | Drainage Excavation | CY | 68 | 60.7 | $ | $
8 | 18" Bull Rock | SY | 22.4 | 60.7 | $ | $
9 | Demo Rip-Rap | SY | 48.5556 |  | $ | $
[5 empty] | Sub Total | $
Drain "B"
1 | 8'X4' M.B.C. | LF | 204 |  | $ | $
2 | Headwall | CY | 5.6 |  | $ | $
3 | 6" Concrete Rip-Rap | SY | 126.3 |  | $ | $
4 | Pipe Handrail | LF | 102 | 79.3 | $ | $
5 | 18" Bull Rock | SY | 15.1 |  | $ | $
6 | Drainage Excavation | CY | 89 |  | $ | $
7 | Demo Rip-Rap | SY | 144.7778 | 60.7 | $ | $
[5 empty] | Sub Total | $
Drain "C"
1 | 10' L.F Type "C" Curb Inlet | EA | 2 |  | $ | $
2 | 3'X2' S.B.C. | LF | 27 |  | $ | $
3 | 6'X2' S.B.C. | LF | 20 |  | $ | $
4 | Headwall | CY | 1.3 |  | $ | $
5 | 6" Concrete Rip-Rap | SY | 58.2 | 79.3 | $ | $
6 | Drain Clearing | AC | 0.1 |  | $ | $
7 | Re-vegetation | SY | 627.7 |  | $ | $
8 | Pipe Handrail | LF | 35 | 60.7 | $ | $
9 | 18" Bull Rock | SY | 13.7 | 60.7 | $ | $
10 | 10'X10' Junction Box | EA | 1 | 60.7 | $ | $
11 | Drainage Excavation | CY | 11 | 60.7 | $ | $
12 | Drainage Embankment | CY | 88 | 60.7 | $ | $
13 | Concrete Collars | EA | 5 |  | $ | $
[5 empty] | Sub Total | $
Drain "D"
1 | 6'X2' S.B.C. | LF | 182 |  | $ | $
2 | 10'X10' Junction Box | EA | 2 |  | $ | $
3 | 4-Way Inlet | EA | 1 |  | $ | $
4 | Concrete Collars | EA | 5 |  | $ | $
[5 empty] | Sub Total | $
Drain "E"
1 | 15' L.F Type "C" Curb Inlet | EA | 1 |  | $ | $
2 | 5'X2' S.B.C. | LF | 20 |  | $ | $
3 | 3'X2' S.B.C | LF | 736 | 79.3 | $ | $
4 | 6'X2' S.B.C. | LF | 182 |  | $ | $
5 | 10'X10' Junction Box | EA | 1 | 60.7 | $ | $
6 | 5'X5' Junction Box | EA | 2 | 60.7 | $ | $
7 | 7'x7' Junction Box | EA | 1 | 60.7 | $ | $
8 | Concrete Collars | EA | 9 | 60.7 | $ | $
[5 empty] | Sub Total | $
Drain "F"
1 | 15' L.F. Type "C" Curb Inlet | EA | 1 |  | $ | $
2 | 3'X2' S.B.C | LF | 20 |  | $ | $
3 | Concrete Collars | EA | 2 |  | $ | $
[5 empty] | Sub Total | $
Drain "G"
1 | 15' L.F. Type "C" Curb Inlet | EA | 2 |  | $ | $
2 | 24" R.C.P | LF | 41 |  | $ | $
3 | Concrete Collars | EA | 4 |  | $ | $
[5 empty] | Sub Total | $
Offsite Improvements
Drain "H"
1 | 10' L.F. Type "C" Curb Inlet | EA | 1 |  | $ | $
2 | Concrete Collars | EA | 1 |  | $ | $
3 | Demo Existing Rip-Rap and Grate Inlet | SY | 22 |  | $ | $
4 | Demo Existing 24" R.C.P. | LF | 10 |  | $ | $
[5 empty] | Sub Total | $
Note to Bidders: |  |  |  |  | TOTAL COST | $
* | The cost of Concrete Rip-Rap shall include toe-downs and 2" Gravel Cushion.
** | Trench Excavation Safety Protection shall be included in the unit price of linear footage of pipe.
*** | 6" Concrete Collars shall be incidental to the unit price of the CMP and/or RCP.
**** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
***** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## MISC. IMPROVEMENTS
2025-09-29
|  |  |  | Job No. | 1198-01-01
| BID PROPOSAL SCHEDULE |  |  |  |  | 1295 | CUT
| Legacy at La Vida (Enclave) |  |  |  |  | 23801 | FILL
| MISC. IMPROVEMENTS |  |  |  |  | -22506 | IMPORT
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | UNIT PRICES | COST
1 | IMPORT MATERIAL | CY | 22506 | $ | $
2 | Wall | SY | 12 | $ | $
3 | 1 ~ 6" SCH 80 CONDUITS | LF | 152 | $ | $
4 | 2 ~ 4" SCH 40 CONDUITS | LF | 316 | $ | $
5 | PAYMENT & PERFORMANCE BOND | LS | 1 | $ | $
|  |  |  | TOTAL COST | $
Note to Bidders:
* | Conduit line items are just to acquire Unit Price. Actual quantities will be pending municipalities final design.
* | All Conduit to be Schedule 80
* | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be a difference of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
* | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date

## ADDITIVE ALT. (hidden)
#REF!
[5 empty] | Job No. | #REF!
BID PROPOSAL SCHEDULE
#REF!
ADDITIVE ALTERNATE
Additive Item:
NO. | DESCRIPTION | UNIT OF MEASURE | APPROX. QUANTITIES | CONTRACTOR QUANTITIES | UNIT PRICES | COST
1 | 11.5" Flex Base | SY |  |  | $ | $
2 | Additional Street Excavation | CY |  |  | $ | $
3 | 6" Select Fill Sub Base ** | SY |  |  | $ | $
4 | Lot Embankment | CY |  |  | $ | $
5 | Credit for 11" Flex Base & 6" Lime * | SY |  |  | $ | $
[5 empty] | TOTAL COST | $
Note to Bidders:
* | Credit for Lime and Flex Base shall be the combined unit price from the base bid.
** | Select fill shall meet specifications outlined in the Intec geotechnical report dated January 5, 2017 (Project # S164365)
*** | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within three percent (3%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be a difference of more than three percent (3%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
**** | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
Bidders Initials
Date