## "PROJECT"BID FORM
VERAMENDI LIFT STATION
BID FORM
Date
BIDDER'S FULL NAME
Address
City, State, Zip
|  | Milestone #1-Substantial Completion (days): |  |  | BASE BID AMOUNT: | #REF!
Milestone #2-Final Completion (days):
1 | The Undersigned proposes to furnish all labor, services, materials, tools and necessary equipment for the construction of various improvements and to perform the work required at the locations set out by the Plans and Specifications, in strict accordance with the Contract Documents.
2 | In submitting this Bid, it is understood that this Bid may not be altered or withdrawn for a minimum of 90 calendar days, and that the Owner has reserved the right to reject any and all Bids.
3 | The Undersigned certifies that this Bid is made in good faith, without collusion or connection with any other person, persons, partnership, company, firm, association, or corporation offering Bids on this work, for the following sum or prices to wit:
SIGNATURES
Authorized Signing Officer, Title
SIGNATURES
Authorized Signing Officer, Title
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE |  | AMOUNT
Lift Station Items
| 1 | Trench Safety System, Complete in Place | LF | 632 | 0 |  | 0
| 2 | Stripping and Site Preparation of Sparsely Vegetated Areas as Needed (Unusable Cleared Material to be Chipped and Hauled Offsite), As Directed by Engineer and When Authorized by Owner, Complete in Place | LS | 1 | 0 |  | 0
| 3 | 8 ft Diameter Precast Concrete Wet Well and Concrete Slab | EA | 1 | 0 |  | 0
| 4 | Piping and Valving | LS | 1 | 0 |  | 0
| 5 | Submersible Non-Clog Pumps | EA | 2 | 0 |  | 0
| 6 | Electrical Service and Wiring with Pump Control Panel and SCADA | LS | 1 | 0 |  | 0
| 7 | Electrical Panel Concrete Foundation Pad, Complete in Place | SF | 144 | 0 |  | 0
| 8 | ¾-Inch Freeze-Proof Potable Water Service with Hose Bib and Vacuum Breaker, Backflow Preventer and Meter, Complete in Place | EA | 1 | 0 |  | 0
| 9 | Dewatering as needed for Installation of Wet Well, When Authorized by Owner, Complete in Place | LS | 1 | 0 |  | 0
| 10 | 6-Inch Plug Valve with Valve box, Complete in Place | EA | 2 | 0 |  | 0
| 11 | City of New Braunfels Sanitary Sewer Precast Concrete Manhole w/ Drop Inlet (4-Foot Diameter), Complete in Place | EA | 1 | 0 |  | 0
| 12 | 8-Inch ASTM D3040 SDR 26 Polyvinyl Chloride (PVC) Wastewater Line with Tracer tape, All Depths, Complete in Place | LF | 291 | 0 |  | 0
| 13 | 10-Inch ASTM D3040 SDR 26 Polyvinyl Chloride (PVC) Wastewater Line with Tracer tape, All Depths, Complete in Place | LF | 28 | 0 |  | 0
| 14 | 1-Inch Water Line ASTM B88 Type K Annealed Seamless Copper Tubing, Complete in Place | LF | 313 | 0 |  | 0
| 15 | 8'-0" Fencecrete Fence, Complete in Place | LF | 295 | 0 |  | 0
| 16 | Davit Crane and Manual Hoist | EA | 1 | 0 |  | 0
| 17 | Emergency Generator and Pad, Complete in Place | LS | 1 | 0 |  | 0
| 18 | 20'-0" Automatic Sliding Facility Gate | EA | 1 | 0 |  | 0
| 19 | 6" Concrete Filled Removable Bollard, Complete in Place | EA | 29 | 0 |  | 0
| 20 | 6" Concrete Filled Bollard W/ D-Bolt Anchors, Complete in Place | EA | 1 | 0 |  | 0
| 21 | Excavation | CY | 184 | 0 |  | 0
| 22 | Gravel Access Road, 8" Flexible Base Material | SY | 498 | 0 |  | 0
|  |  |  | Subtotal |  |  | 0
Force Main
| 24 | Trench Safety System, Complete in Place | LF | 781.5 | 0 |  | 0
| 25 | 6-Inch AWWA C900 DR 25 Polyvinyl Chloride (PVC) Force Main, With Trace Tape, All Depths, Complete in Place | LF | 781.5 | 0 |  | 0
|  | Subtotal |  |  |  |  | 0
Storm Water Pollution Prevention Plan Items
| 26 | TPDES | LS | 1 | 0 |  | 0
| 27 | Revegetation (Hydromulch) | SY | 1550 | 0 |  | 0
|  | Subtotal |  |  |  |  | 0
|  | VERAMENDI LIFT STATION - CONTRACT AMOUNT: |  |  |  |  | 0