## BID FORM
UNIT
ITEM | DESCRIPTION | UNIT | QTY | PRICE | AMOUNT
STREET IMPROVEMENTS
1 | Mobilization | LS | 1 | $__________ | $__________
2 | Clearing & Grubbing (Disturbed Area) | AC | 11.7 | $__________ | $__________
3 | Earthwork
| a. Excavation | CY | 5755 | $__________ | $__________
| b. Embankment | CY | 11680 | $__________ | $__________
| c. Import (Truck Haul) | CY | 5925 | $__________ | $__________
4 | Local A Street (50' ROW)
| a. 3.0" Type D Asphalt (Local A) | SY | 6977 | $__________ | $__________
| b. 12.0" Flexible Base (Local A) | SY | 6977 | $__________ | $__________
| c. 8.0" Lime Stabilized Subgrade (23 lb/sy) (Local A) | SY | 6977 | $__________ | $__________
5 | Local B Street (60' ROW)
| a. 2.0" Type D Asphalt (Local B) | SY | 1734 | $__________ | $__________
| b. 2.0" Type C Asphalt (Local B) | SY | 1734 | $__________ | $__________
| c. 16.0" Flexible Base (Local B) | SY | 1734 | $__________ | $__________
| d. 8.0" Lime Stabilized Subgrade (23 lb/sy) (Local B) | SY | 1734 | $__________ | $__________
6 | Retaining Walls (Gravity) (Modular Block) (≤ 4 ft) | FF | 840 | $__________ | $__________
7 | 7" Concrete Curb | LF | 4320 | $__________ | $__________
8 | 4' Concrete Sidewalk | SY | 132 | $__________ | $__________
9 | 6' Concrete Sidewalk | SY | 1009 | $__________ | $__________
10 | Wheel Chair Ramp (Developer) | EA | 11 | $__________ | $__________
11 | Signage & Traffic Control | LS | 1 | $__________ | $__________
12 | Remove Ex. Curb, Sidewalk, & Pavement (Cable Ranch Rd & Vista West Dr) | LS | 1 | $__________ | $__________
13 | Existing Tree Protection Fencing (See Tree Plan) | LS | 1 | $__________ | $__________
14 | TPDES (Stage I) | LS | 1 | $__________ | $__________
15 | TPDES (Stage II) (Silt Fence) | LF | 4222 | $__________ | $__________
16 | CPS Energy Sleeves/Conduits
a. Minor Street Crossing (Electric & Telecom)
| 1-6" Conduit, 2-4" Conduit (18 ea) | LF | 1048 | $__________ | $__________
b. Major Street Crossing (Electric & Telecom)
| 2-6" Conduit, 2-4" Conduit (2 ea) | LF | 100 | $__________ | $__________
c. Developer Crossing
| 3-4" Conduit (2 ea) | LF | 140 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
DRAINAGE IMPROVEMENTS
ONSITE (Drain "A & B")
1 | Reinforced Concrete Class 'A'
| a. (3) - 2' Sidewalk Drain w/ Checkered Plate | EA | 1 | $__________ | $__________
2 | 6" Concrete Rip Rap | SY | 150 | $__________ | $__________
3 | Pipe Handrail | LF | 12 | $__________ | $__________
4 | Revegetation (Sod/Seed) | SY | 127 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
OFFSITE (Drain "C & D" - Vista West Dr)
1 | Reinforced Concrete Class 'A' |  |  | $__________ | $__________
| a. 15' Curb Inlet (Type C) | EA | 1 | $__________ | $__________
| b. 25' Curb Inlet (Type C) | EA | 1 | $__________ | $__________
| c. Modify Existing Curb Inlet (Drain C) | LS | 1 | $__________ | $__________
2 | Junction Box |  |  | $__________ | $__________
| a. Modify Existing Junction Box (Drain C) | LS | 1 | $__________ | $__________
| b. Modify Existing Junction Box (Drain D) | LS | 1 | $__________ | $__________
3 | 3'x3' SBC | LF | 27 | $__________ | $__________
4 | 4'x3' SBC | LF | 27 | $__________ | $__________
5 | Concrete Collars | EA | 8 | $__________ | $__________
6 | Remove Existing Drainage Pipes & Tie-In Proposed System | LS | 1 | $__________ | $__________
7 | Remove & Replace Pavement (±40 LF Wide) (2 Locations) | LS | 1 | $__________ | $__________
8 | Remove & Replace Existing Sidewalk (4 Locations) | SY | 32 | $__________ | $__________
9 | Traffic Control (Vista West Dr) | LS | 1 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
SANITARY SEWER IMPROVEMENTS
1 | 8" Sanitary Sewer Pipe (SDR 26)
| a. (6'-8') | LF | 1149 | $__________ | $__________
| b. (8'-10') | LF | 760 | $__________ | $__________
| c. (10'-12') | LF | 996 | $__________ | $__________
| d. (12'-14') | LF | 73 | $__________ | $__________
2 | Standard Sanitary Sewer Manhole | EA | 10 | $__________ | $__________
3 | Sanitary Sewer Doghouse Manhole (Complete) | EA | 1 | $__________ | $__________
4 | Standard Manhole Extra Depth | VF | 37 | $__________ | $__________
5 | Tie Into Existing Manhole | EA | 1 | $__________ | $__________
6 | Remove & Replace Pavement (±50 LF Wide) (w/ Flowable Trench Fill) | LS | 1 | $__________ | $__________
7 | Concrete Ring Encasement | EA | 3 | $__________ | $__________
8 | 8" x 6" Wyes | EA | 90 | $__________ | $__________
9 | 6" Sanitary Sewer Lateral (SDR-26) | LF | 4089 | $__________ | $__________
10 | 6" Vertical Stacks | VF | 37 | $__________ | $__________
11 | Trench Excavation Protection | LF | 2978 | $__________ | $__________
12 | TV Video Sewer Line | LF | 2978 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
WATER IMPROVEMENTS
1 | 2" HDPE C-200, DR 9 | LF | 334 | $__________ | $__________
2 | 8" PVC C-900, DR 18, Class 235 | LF | 2054 | $__________ | $__________
3 | 8" Gate Valve, MJ w/ Valve Box | EA | 9 | $__________ | $__________
4 | 12" PVC C-900, DR 18, Class 235 | LF | 157 | $__________ | $__________
5 | 12" Gate Valve, MJ w/ Valve Box | EA | 2 | $__________ | $__________
6 | 12" x 8" Cut-In Tee (Complete) (Cable Ranch Rd) | EA | 1 | $__________ | $__________
7 | 8" x 8" Cut-In Tee (Complete) (Vista W Drive) | EA | 1 | $__________ | $__________
8 | Standard Fire Hydrant Assembly | EA | 4 | $__________ | $__________
9 | D.I. Fittings (Restrained) | TON | 2.6 | $__________ | $__________
10 | ¾" Single Service, Short with 5/8" Meter | EA | 58 | $__________ | $__________
11 | ¾" Single Service, Long with 5/8" Meter | EA | 40 | $__________ | $__________
12 | 1" Single Service, Long with 1" Meter (Irrigation) | EA | 2 | $__________ | $__________
13 | 2" Blowoff Assembly (Permanent) | EA | 1 | $__________ | $__________
14 | 2" Blowoff Assembly (Temporary) | EA | 2 | $__________ | $__________
15 | Joint Restraints | LS | 1 | $__________ | $__________
16 | Remove & Replace Pavement (±50 LF Wide) (w/ Flowable Trench Fill) | LS | 1 | $__________ | $__________
17 | Hydrostatic Pressure Test | EA | 3 | $__________ | $__________
18 | Trench Excavation Protection | LF | 2545 | $__________ | $__________
19 | Chlorination | LF | 2545 | $__________ | $__________
20 | Meter Box | EA | 100 | $__________ | $__________
|  |  |  | SUBTOTAL | $__________
|  |  |  | TOTAL | $__________
Notes:
1 | Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within five percent (5%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantity is found to be in error of more than five percent (5%), the Contractor shall notify the Engineer forty-eight (48) hours prior to signing the contract.
2 | Bids shall include all Unit Price costs as indicated by the Contract Documents and Bid Form. The bid price submitted by the Contractor shall be the sum of the unit prices times the estimated quantity of each item shown in the bid form. However, the Contractor shall guarantee himself of the accuracy of the quantities shown in the bid form. The quantities shown are estimates only and indicate only the magnitude of the project and a basis for bid comparison. Any discrepancies in quantity or work necessary to fulfill the intent of the plans shall be included, whether a bid item is included or not. Any work required for which a bid item is not shown shall be considered subsidiary to other work items.
3 | All construction staking will be performed by the contractor. Pape-Dawson Engineers will set survey control, dry utility staking and final pins for the project.
4 | Contractor to restore the existing offsite area to existing or better conditions. This includes all disturbed surface within the ROW and/or neighbooring property.