## Cost Estimate
Wurzbach Duplex
NO. | DESCRIPTION | TOTAL QUANTITY |  | UNIT COST | TOTAL COST | COST PER UNIT
STREETS/SITE
1 | CLEARING | 3 | AC |  | 0 | 0
2 | CUT | 408 | CY |  | 0 | 0
3 | EMBANKMENT | 6939 | CY |  | 0 | 0
4 | IMPORT | 6531 | CY |  | 0 | 0
5 | RETAINING WALLS | 600 | SF |  | 0 | 0
6 | 2" TYPE D HMAC | 430 | SY |  | 0 | 0
7 | 3" TYPE D HMAC | 3160 | SY |  | 0 | 0
8 | 7" FLEX BASE (TYPE A, GRADE 1) | 430 | SY |  | 0 | 0
9 | 9" FLEX BASE (TYPE A, GRADE 1) | 3160 | SY |  | 0 | 0
10 | 8" COMPACTED SUBGRADE | 3590 | SY |  | 0 | 0
11 | STANDARD CURB | 2313 | LF |  | 0 | 0
12 | SILT FENCE | 1200 | LF |  | 0 | 0
13 | STABILIZED CONSTRUCTION ENTRANCE | 1 | LS |  | 0 | 0
[5 empty] | 0 | 0
DRAINAGE
1 | 24" RCP | 911 | LF |  | 0 | 0
2 | 10' TYPE C1 CURB INLET | 1 | EA |  | 0 | 0
3 | 4'x4'x4' JUNCTION BOX | 3 | EA |  | 0 | 0
4 | TRENCH EXCAVATION PROTECTION | 911 | LF |  | 0 | 0
5 | 24" SAFETY END TREATMENT | 1 | EA |  | 0 | 0
[5 empty] | 0 | 0
NO. | DESCRIPTION | TOTAL QUANTITY |  | UNIT COST | TOTAL COST | COST PER LOT
SEWER
1 | 8" SS Main (0'-6') - SDR 26 - PUBLIC | 189 | LF |  | 0 | 0
2 | 8" SS Main - SDR 26 - PRIVATE | 860 | LF |  | 0 | 0
3 | 6" SANITARY SEWER LATERAL | 620 | LF |  | 0 | 0
4 | 8"X6" WYE | 35 | EA |  | 0 | 0
5 | STANDARD MANHOLE - PUBLIC | 3 | EA |  | 0 | 0
6 | STANDARD MANHOLE - PRIVATE | 3 |  |  | 0 | 0
7 | TRENCH EXCAVATION PROTECTION | 1669 | LF |  | 0 | 0
8 | TV VIDEO SEWER MAIN | 189 | LF |  | 0 | 0
[5 empty] | 0 | 0
WATER
1 | 8" PVC PIPE (PUBLIC) | 990 | LF |  | 0 | 0
2 | 8" GATE VALVE | 3 | EA |  | 0 | 0
3 | 6" GATE VALVE | 3 | EA |  | 0 | 0
4 | 6" VALVE BOX, COMPLETE | 3 | EA |  | 0 | 0
5 | STANDARD FIRE HYDRANT | 1 | EA |  | 0 | 0
6 | 2" TEMPORARY BLOWOFF | 2 | EA |  | 0 | 0
7 | FITTINGS | 0.5 | TON |  | 0 | 0
8 | 8"X8" TIE-IN | 2 | EA |  | 0 | 0
9 | 1" SERVICE (1" METER) | 1 | EA |  | 0 | 0
10 | 1.5" SERVICE (1.5" METER) | 1 | EA |  | 0 | 0
11 | 2" SERVICE (2" METER) | 2 | EA |  | 0 | 0
12 | METER BOX | 4 | EA |  | 0 | 0
13 | 2" PVC PIPE | 850 | LF |  | 0 | 0
14 | 1" PVC PIPE | 590 | LF |  | 0 | 0
15 | HYDROSTATIC TESTING | 1 | LS |  | 0 | 0
[5 empty] | 0 | 0
| TOTAL: |  |  |  | 0 | 0