## BID FORM SUMMARY
ZIGMOND TRACT (UNIT 1) - BID FORM |  | UNIT 1
1 | Demolition & Site Clearing - (Code 05465) | 0
2 | Lot Grading/ Structural Fill/ Retaining Walls - (Codes 05440, 05420, 05610) | 0
3 | Onsite and Offsite Street Improvements - (Codes 10000, 10005) | 0
4 | Sewer Improvements - (Code 06000) | 0
5 | Storm Drainage Improvements and Detention Pond Improvements - (Codes 08000, 07004) | 0
6 | Water Improvements - (Code 07000) | 0
7 | Dry Utilities and Improvements - (Code 11000) | 0
8 | Miscellaneous Work Including P&P Bond, Surveying, Testing, TPDES/Erosion Control - (Codes 04920, 03038, 03024, 10146) | 0
Mobilization |  | 0
Total Construction Cost |  | 0
NOTES:
· Contractor is responsible to performing an existing topographic survey to verify the existing ground surface provided by Cude Engineers in this bid. Time is of the essence, and sufficient allocation of time and resources to complete such verification prior to submittal of bid proposal is required. No change orders for dirt quantities related to existing ground will be issued after bids are received. It is the responsibility of the Contractor to verify the data provided and adjust the bid accordingly.
· Contractor is to perform an independent quantity take-off prior to signing the contract, to verify that the quantities given in the bid proposal are within five percent (5%) of the actual quantities required to complete the construction represented by the plans and specifications. If any quantities are found to be in error of more than five percent (5%), the Contractor shall notify the Engineer at least forty-eight (48) hours prior to submitting the bid proposal.
· All quantities will be measured in the units shown on the Proposal and Contractor shall include all items of construction in the Unit Costs provided on the Proposal even though all may not be specifically shown thereon. Bidder’s attention is directed to the fact that any quantities given in any portion of these Contract Documents, including the proposal, are estimated only, and that variations may be expected between the amount of completed work and the amount estimated. The estimated quantities are given for use in comparing the proposals, and to give the bidders an idea of the magnitude of the Contract.
· Bidders are required to inspect the site and to verify all quantities from the construction plans, other material supplied with bid documents as applicable and site inspections. If bidders find a discrepancy in the estimated quantity provided, bidder shall bid their estimated quantity instead. Bidders shall also add any line items to proposal, if needed, to construct the plans provided. Bidders are required to inform themselves of any field conditions that could affect the execution of the work being performed. Once bid proposals are received it will be understood that the Contractor agrees that no change order requests will be allowed to be submitted to the Owner unless a plan revision is issued.
· The Contractor’s signature on the contract shall imply that the Contractor accepts the proposal quantities as accurate (within 5%) and shall not make claims for payments for additional quantities unless the scope of work changes.
· Contractor is to verify existing material on site used to fill the units included in this bid is acceptable to be used. No change orders will be accepted regarding the condition of the existing material used to fill.
· Any substitutions for or when items proposed differ in any way from those specified, Bidders are required to state exactly what they intend to furnish and have approval from Engineer and Owner. Otherwise, they shall be required to furnish the items as specified.
· The Engineer does not guarantee the performance of, and shall have no responsibility for, the acts or omissions of any Contractor, Subcontractor, Supplier or any other entity furnishing materials or performing any work on the project. Engineer shall not be responsible for the means, methods, techniques, sequences or procedures of construction selected by the Contractor(s) or the safety precautions and programs incident to the work of the Contractor(s).
· The responsibility shall be upon the Contractor to provide and maintain at his own expense an adequate supply of water for his use for construction and domestic consumption. Any connections and piping that the Contractor deems necessary shall be installed at his expense and at locations approved by the Water Purveyor. Before final acceptance, all temporary connections and piping installed shall be removed in a manner satisfactory to the Engineer.
· All electric current required by the Contractor shall be furnished at his own expense. All necessary meters, switches, connections and wiring shall be installed at his expense and at locations approved by the Electric Company. Before final acceptance, all meters, switches, connections and wiring installed by the Contractor shall be removed in a manner satisfactory to the Engineer.
· Contractor agrees that it will, as part of the award of this contract, obtain and provide to Owner all interim and final field inspection approvals, all interim and final completion approvals or certificate by governing utility and governmental authorities in writing. The applicable warranty period shall follow required governmental requirements for the jurisdiction the project is located in. Contractor agrees to provide plan of record documents within 30 days of substantial completion of project.

## BID FORM
Zigmond Tract- Unit 1 (129 lots)
2025-10-13
OPC Prepared by Cude Engineers
Item | Description | Quantity | Unit | Unit Price | Total
1 | Demolition & Site Clearing - (Code 05465)
A | CLEARING (UNIT) | 62.5 | AC |  | 0
B | CLEARING (CLOMR) | 35 | AC |  | 0
C | DEMO EXISTING FENCE | 5313 | LF |  | 0
D | DEMO EXISTING OHE | 1220 | LF |  | 0
E | DEMO EXISTING WATER SERVICE | 2 | EA |  | 0
F | DEMO EXISTING SEPTIC SERVICE | 1 | LS |  | 0
G | DEMO EXISTING STRUCTURES | 1 | LS |  | 0
H | DEMO EXISTING 18" CMP CULVERT AND DRIVEWAY | 1 | LS |  | 0
I | DEMO EXISTING MISC. CONCRETE | 1 | LS |  | 0
*HAUL OFF OF DEBRIS SUBSIDARY TO DEMOLITION PAY ITEMS.
| SUBTOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
2 | Lot Grading/ Structural Fill/ Retaining Walls - (Codes 05440, 05420, 05610)
A | SITE EXCAVATION | 464600 | CY |  | 0
B | SITE EMBANKMENT | 377000 | CY |  | 0
F |  |  |  |  | 0
G |  |  |  |  | 0
H |  |  |  |  | 0
I |  |  |  |  | 0
J |  |  |  |  | 0
K |  |  |  |  | 0
L |  |  |  |  | 0
M |  |  |  |  | 0
N |  |  |  |  | 0
O |  |  |  |  | 0
P |  |  |  |  | 0
Q |  |  |  |  | 0
R |  |  |  |  | 0
S |  |  |  |  | 0
T |  |  |  |  | 0
U |  |  |  |  | 0
V |  |  |  |  | 0
W |  |  |  |  | 0
X |  |  |  |  | 0
Y |  |  |  |  | 0
Z |  |  |  |  | 0
| SUBTOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
3 | Onsite and Offsite Street Improvements - (Codes 10000, 10005)
ON-SITE STREET IMPROVEMENTS
A | STREET EXCAVATION | 800 | CY |  | 0
B | STREET EMBANKMENT | 85300 | CY |  | 0
C | 8" LTS (44#/SY) | 22217 | SY |  | 0
D | 10" FLEXIBLE BASE (LOCAL A) | 9333 | S.Y. |  | 0
E | 2" HMAC, TYPE D (LOCAL A) | 9333 | S.Y. |  | 0
F | 18.5" FLEXIBLE BASE (LOCAL B) | 12884 | S.Y. |  | 0
G | 1.5" HMAC, TYPE D (LOCAL B) | 12884 | S.Y. |  | 0
H | 2.5" HMAC, TYPE C (LOCAL B) | 12884 | S.Y. |  | 0
I | PRIME COAT | 7020.2 | GAL. |  | 0
J | TACK COAT | 3510.1 | GAL. |  | 0
K | CONCRETE CURB | 11500 | LF |  | 0
L | CONCRETE SIDEWALKS (DEVELOPER RESPONSIBILITY) | 1201 | S.Y. |  | 0
M | SIDEWALK RAMPS | 20 | EA |  | 0
N | HEADER CURB AND GUARD POSTS | 150 | L.F. |  | 0
O | R1-1 STOP SIGN (30")(HIGH INTENSITY) | 14 | EA |  | 0
P | 9 INCH [229mm] STREET NAME, BLOCK NUMBER (VARIES x9")(HIGH INTENSITY) | 30 | EA |  | 0
Q | OM-4P END OF ROAC MARKER (18"x18") (HIGH INTENSITY) | 10 | EA. |  | 0
R | PAVEMENT MARKER (BLUE) | 10 | EA. |  | 0
| ON-SITE STREET IMPROVEMENTS SUBTOTAL: |  |  |  | 0
OFF-SITE STREET IMPROVEMENTS
NB LTL
A | SEAL COAT (Existing Pavement) | 2342 | SY |  | 0
B | Traffic Control | 1 | LS |  | 0
C | 24" Yellow Diagonals | 270 | SY |  | 0
D | 8" Solid White Striping | 320 | LF |  | 0
E | 8" Broken White Striping | 100 | LF |  | 0
F | 4" SOLID Yellow Striping | 591 | LF |  | 0
G | Yellow Thermoplatic Median Nose Marker | 5 | SF |  | 0
H | "ONLY" and "ARROW" words | 3 | EA |  | 0
I | Type 1-C Pavement Markers | 11 | EA |  | 0
J | 4" SOLID WHITE STRIPING | 891 | LF |  | 0
K | 2" HMAC TPYE D | 642 | SY |  | 0
L | 12" Flex Base (TY II) | 642 | SY |  | 0
SB RTL
M | Traffic Control | 1 | LS |  | 0
N | 8" Solid White Striping | 160 | LF |  | 0
O | "ONLY" and "ARROW" words | 3 | EA |  | 0
P | 12" Flex Base (TY II) | 235 | SY |  | 0
Q | 2" HMAC (TPYE D) | 235 | SY |  | 0
R | 4" SOLID YELLOW STRIPING | 229 | LFL |  | 0
S | 8" BROKEN STRIPING | 30 | LF |  | 0
| OFF-SITE STREET IMPROVEMENTS SUBTOTAL: |  |  |  | 0
| SUBTOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
4 | Sewer Improvements - (Code 06000) |  |  |  | 0
| ON-SITE SANITARY SEWER IMPROVEMENTS |  |  |  | 0
A | 8" SEWER PIPE (6-10') | 1655 | LF |  | 0
B | 12" SEWER PIPE (6-10') | 3020 | LF |  | 0
C | 15" SEWER PIPE (6-10') | 551 | LF |  | 0
D | 6" SEWER LATERAL | 5038 | LF |  | 0
E | STANDARD MANHOLE | 23 | EA |  | 0
F | EXTRA DEPTH MANHOLE | 92 | LF |  | 0
G | WYES | 121 | VF |  | 0
H | TELEVISE SEWER MAIN | 5226 | EA |  | 0
I | TRENCH PROTECTION | 5226 | EA |  | 0
| ON-SITE SANITARY SEWER IMPROVEMENTS SUBTOTAL: |  |  |  | 0
OFF-SITE SANITARY SEWER IMPROVEMENTS
J | 15" SEWER PIPE (10-14') | 495 | LF |  | 0
K | 15" SEWER PIPE (14-18') | 729 | LF |  | 0
L | STANDARD MANHOLE (DOGHOUSE)* | 1 | EA |  | 0
M | STANDARD MANHOLE | 3 | EA |  | 0
N | EXTRA DEPTH MANHOLE | 34 | VF |  | 0
O | TELEVISE SEWER MAIN | 1224 | EA |  | 0
P | TRENCH PROTECTION | 1224 | LF |  | 0
Q | WYES | 50 | VF |  | 0
R | VERTICAL STACK | 200 | LF |  | 0
S | 6" SEWER LATERAL | 1843 | LF |  | 0
*SA SEWER BYPASS SUBSIDARY TO PAY ITEM
| OFF-SITE SANITARY SEWER IMPROVEMENTS SUBTOTAL: |  |  |  | 0
| SUBTOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
5 | Storm Drainage Improvements and Detention Pond Improvements - (Codes 08000, 07004)
FLOODPLAIN IMPROVEMENTS
A | HYDROMULCHING/REVEGETATION | 281325 | SY |  | 0
B | FURNISHING AND PLACING TOP SOIL (4") | 281325 | SY |  | 0
C | 12" D50 ROCK RUBBLE | 1315 | SY |  | 0
D | TEMPORARY ROAD W/ LOW FLOW 24" HDPE CULVERT (WOTUS CROSSING) | 1 | LS |  | 0
*CONTRACTOR TO TEST DIG BORROW PIT AREA IDENTIFED IN CLOMR PLANS TO VERIFY WATER TABLE.
| FLOODPLAIN IMPROVEMENTS SUBTOTAL: |  |  |  | 0
DRAIN A
A | 5" CONCRETE RIP-RAP | 80 | SY |  | 0
B | SIDEWALK PIPE RAILING (CoSA) | 468 | LF |  | 0
C | 12" D50 ROCK RUBBLE | 42 | SY |  | 0
D | STRUCTURAL RETAINING WALL | 2390 | FF |  | 0
| DRAIN A SUBTOTAL: |  |  |  | 0
DRAIN B
A | 15' CURB INLET | 1 | EA |  | 0
B | 24" HDPE | 150 | LF |  | 0
C | CONCRETE COLLAR | 1 | EA |  | 0
D | 5" CONCRETE RIP-RAP | 32 | SY |  | 0
E | 12" D50 ROCK RUBBLE | 19 | SY |  | 0
| DRAIN B SUBTOTAL: |  |  |  | 0
DRAIN C
A | 15' CURB INLET | 1 | EA |  | 0
B | CONCRETE COLLAR | 1 | EA |  | 0
C | 5" CONCRETE RIP-RAP | 41 | SY |  | 0
D | 12" D50 ROCK RUBBLE | 22.5 | SY |  | 0
E | 24" HDPE | 153 | LF |  | 0
| DRAIN C SUBTOTAL: |  |  |  | 0
DRAIN D
A | 15' CURB INLET | 1 | EA |  | 0
B | CONCRETE COLLAR | 1 | EA |  | 0
C | 5" CONCRETE RIP-RAP | 38 | SY |  | 0
D | 12" D50 ROCK RUBBLE | 22.5 | SY |  | 0
E | CONCRETE (MISC.) | 1 | CY |  | 0
F | 24" HDPE | 165 | LF |  | 0
| DRAIN D SUBTOTAL: |  |  |  | 0
DRAIN E
A | 10' CURB INLET | 1 | EA |  | 0
B | CONCRETE COLLAR | 1 | EA |  | 0
C | 5" CONCRETE RIP-RAP | 38 | SY |  | 0
D | 12" D50 ROCK RUBBLE | 22 | SY |  | 0
E | 24" HDPE | 155 | LF |  | 0
| DRAIN E SUBTOTAL: |  |  |  | 0
DRAIN F
A | 20' CURB INLET | 1 | EA |  | 0
B | HEADWALL | 44.5 | CY |  | 0
C | PRECAST REINFORCED CONCRETE BOX CULVERTS (5' x 2') | 195 | LF |  | 0
D | 5" CONCRETE RIP-RAP | 37 | SY |  | 0
E | 12" D50 ROCK RUBBLE | 50 | SY |  | 0
| DRAIN F SUBTOTAL: |  |  |  | 0
DRAIN H
A | 15' CURB INLET | 1 | EA |  | 0
B | 7'x4' SBC (CAST IN PLACE) BRIDGE CLASS STRUCTURE | 555 | LF |  | 0
C | HEADWALL | 119 | CY |  | 0
D | MBGF (TXDOT TL2) | 267 | LF |  | 0
E | 5" CONCRETE RIP-RAP | 160 | SY |  | 0
F | 12" D50 ROCK RUBBLE | 239 | SY |  | 0
| DRAIN H SUBTOTAL: |  |  |  | 0
DRAIN J
A | CONCRETE U-CHANNEL | 336 | SY |  | 0
| DRAIN J SUBTOTAL: |  |  |  | 0
DRAIN K
A | 20' CURB INLET | 1 | EA |  | 0
B | CONCRETE COLLAR | 1 | EA |  | 0
C | 5" CONCRETE RIP-RAP | 31 | SY |  | 0
D | 30" HDPE | 85 | LF |  | 0
| DRAIN K SUBTOTAL: |  |  |  | 0
| STORM DRAINAGE TOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
6 | Water Improvements - (Code 07000)
8" Water Main Improvements
A | TRENCH PROTECTION | 3374 | LF |  | 0
C | 8" WATER PIPE (C900) | 3023 | LF |  | 0
D | 2" WATER PIPE (HDPE) | 351 | LF |  | 0
E | 1" SINGLE WATER SERVICE - SHORT | 96 | EA |  | 0
F | 1" SINGLE WATER SERVICE - LONG | 33 | EA |  | 0
G | 1" IRRIGATION SERVICE | 4 | EA |  | 0
H | 8" GATE VALVE & VALVE BOX COMPLE, MJ | 19 | EA |  | 0
I | 12" GATE VALVE & VALVE BOX COMPLE, MJ | 14 | EA |  | 0
J | METER BOXES & TEMPLATES | 133 | EA |  | 0
K | STANDARD FIRE HYDRANT ASSEMBLY | 11 | EA |  | 0
L | CAST IRON FITTINGS | 5.4 | TON |  | 0
M | HYDROSTATIC TESTING AND CHLORINATION (HTH METHOD) | 1 | LS |  | 0
N | 2" PERMANENT BLOWOFF | 6 | EA |  | 0
O | 24" STEEL CASING | 89 | LF |  | 0
P | 2" GATE VALVE | 3 | EA |  | 0
Q | 3" PVC CASING (SCHEDULE 80) | 180 | LF |  | 0
| ON-SITE WATER IMPROVEMENTS SUBTOTAL: |  |  |  | 0
12" Water Main Improvements
A | TRENCH PROTECTION | 6230 | LF |  | 0
B | 12" WATER PIPE (C900) | 6230 | LF |  | 0
C | 1" SINGLE WATER SERVICE - SHORT | 10 | EA |  | 0
D | STANDARD FIRE HYDRANT ASSEMBLY | 4 | EA |  | 0
E | CAST IRON FITTINGS | 6.9 | TON |  | 0
F | HYDROSTATIC TESTING AND CHLORINATION (HTH METHOD) | 1 | LS |  | 0
G | 2" PERMANENT (Temporary) | 2 | EA |  | 0
H | ASPHALT DRIVEWAY RECONSTRUCTION | 16 | SY |  | 0
I | CONCRETE DRIVEWAY RECONSTRUCTION | 13 | SY |  | 0
J | TIE INTO EXISTING 12" WATER MAIN | 1 | LS |  | 0
K | TRENCH REPAIR | 30 | SY |  | 0
L | 24" STEEL CASING | 69 | LF |  | 0
| OFF-SITE WATER IMPROVEMENTS SUBTOTAL: |  |  |  | 0
| WATER TOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
7 | Dry Utilities and Improvements - (Code 11000)
A | 4" SCHEDULE 40 PVC (TELECOM) | 6924 | LF |  | 0
B | 6" SCHEDULE 80 PVC | 2302 | LF |  | 0
C | 4" SCHEDULE 40 PVC (IRRIGATION) | 345 | LF |  | 0
D | CPS 12' ALL WEATHER ACCESS (6" COMPACTED ROAD BASE) | 2585 | SY |  | 0
NOTE:
QUANTITIES PROVIDED FOR "DRY UTILITY IMPROVEMENTS" ARE BASED OFF PRELIMINARY DESIGN, A FINAL DESIGN OF ELECTRICAL AND STREET LIGHT LAYOUT WILL BE FURNISHED BY CPS.
| DRY UTILITIES SUBTOTAL: |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
8 | Miscellaneous Work Including P&P Bond, Surveying, Testing, TPDES/Erosion Control - (Codes 04920, 03038, 03024, 10146)
A | TPDES / EROSION CONTROL (CLOMR) | 1 | LS |  | 0
B | TPDES / EROSION CONTROL (WORK W/in ABBOT ROAD ROW) | 1 | LS |  | 0
C | TPDES / EROSION CONTROL (UNIT 1 CONSTRUCTION) | 1 | LS |  | 0
D | TREE PROTECTION | 1 | LS |  | 0
E | REVEGETATION OF DRAINAGE AREA/OPEN SPACE | 68360 | SY |  | 0
F | Temporary Irrigation | 1 | LS |  | 0
G | Construction Staking (everything except Dry Utilities) | 1 | LS |  | 0
H | Construction Testing | 1 | LS |  | 0
| MISCELLANEOUS WORK SUBTOTAL: |  |  |  | 0
9 | Bid Alternate (12" Water Main Improvements)
A | TRENCH PROTECTION | 6230 | LF |  | 0
B | 8" WATER PIPE (C900) | 6230 | LF |  | 0
C | 1" SINGLE WATER SERVICE - SHORT | 10 | EA |  | 0
D | STANDARD FIRE HYDRANT ASSEMBLY | 4 | EA |  | 0
E | CAST IRON FITTINGS | 6.9 | TON |  | 0
F | HYDROSTATIC TESTING AND CHLORINATION (HTH METHOD) | 1 | LS |  | 0
G | 2" PERMANENT (Temporary) | 2 | EA |  | 0
H | ASPHALT DRIVEWAY RECONSTRUCTION | 16 | SY |  | 0
I | CONCRETE DRIVEWAY RECONSTRUCTION | 13 | SY |  | 0
J | TIE INTO EXISTING 12" WATER MAIN | 1 | LS |  | 0
K | TRENCH REPAIR | 30 | SY |  | 0
L | 24" STEEL CASING | 69 | LF |  | 0
| Bid Alternate (12" Water Main Improvements): |  |  |  | 0
Item | Description | Quantity | Unit | Unit Price | Total
10 | Bid Alternates (Misc.)
A | ProGanics DUAL (Application Rate of 3,500 lb/Acre) | 72.25 | Ac |  | 0
B | Profile Aquafix (Application Rate of 10 GAL/Acre) | 72.25 | Ac |  | 0
C | 6' WOOD FENCE (IN LIEU OF DRAIN A PIPE RAILING) | 343 | LF |  | 0